## Sheet1
| filename_x | Corrected_Splitting | Splitting | Diad1_Combofit_Cent | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | name_for_matching | filename_y | date | Month | Day | power (mW) | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Spectral Center | Ne_Correction | Date and Time | Date and Time - offset | unix_timestamp | duration_s | start_time_P | end_time_P | median_pressure | mad_pressure | median_temp | mad_temp
29 | FDCA1 | 104.933 | 104.8878 | 1281.0123 | 12255.7009 | 1281.0123 | 34297.7936 | 1.002 | 12.4668 | 0.76506 | 2.0041 | Flagged Warnings: | 1385.9002 | 23649.0287 | 1385.9001 | 64468.4417 | 0.96778 |  | 19.4805 | 0.77627 | 1.9356 | Flagged Warnings: | 1260.9175 | 4249.5345 | 3.0061 | 1407.2361 | 5964.761 | 2.7637 | 1368.5926 | 729.4056 | 0.48338 | 1387.6218 | 6693.6419 | 14.8211 | 1282.2792 | 4658.4605 | 13.9002 | FDCA1 | FDCA1.txt | August 27, 2021 | August | 27 |  | 10 | 3 | 5 | ['0h', '0m', '32s'] | 5:11:44 PM | 61904 | 1325 | 1.0004 | 2021-08-27 17:12 | 2021-08-27 17:08 | 1630084064 | 32 | 2021-08-27 17:08 | 2021-08-27 17:08 | 34.1272 | 0.00070953 | 32.0112 | 0.0015869
30 | FDCA2 | 104.9397 | 104.8945 | 1281.0076 | 12251.0855 | 1281.0075 | 34228.8089 | 1.0027 | 12.8212 | 0.76122 | 2.0054 | Flagged Warnings: | 1385.9021 | 23676.705 | 1385.902 | 64449.7516 | 0.96904 |  | 19.486 | 0.77 | 1.9381 | Flagged Warnings: | 1260.9146 | 4364.1519 | 3.0097 | 1407.2808 | 5824.775 | 2.7449 | 1368.7578 | 713.7887 | 0.48401 | 1387.9332 | 6833.3293 | 14.8951 | 1282.8426 | 4430.735 | 12.4009 | FDCA2 | FDCA2.txt | August 27, 2021 | August | 27 |  | 10 | 3 | 5 | ['0h', '0m', '32s'] | 5:14:57 PM | 62097 | 1325 | 1.0004 | 2021-08-27 17:15 | 2021-08-27 17:11 | 1630084257 | 32 | 2021-08-27 17:11 | 2021-08-27 17:11 | 34.1173 | 0.00068144 | 32.0312 | 0.0010357
31 | FDCA3 | 104.9413 | 104.8961 | 1281.0093 | 12163.8709 | 1281.0092 | 34261.4208 | 1.0065 | 13.6982 | 0.7694 | 2.0131 | Flagged Warnings: | 1385.9054 | 23465.7053 | 1385.9054 | 63841.26 | 0.96787 |  | 19.2031 | 0.77162 | 1.9357 | Flagged Warnings: | 1260.8863 | 4288.5904 | 3.0194 | 1407.2699 | 5844.6343 | 2.8155 | 1368.7094 | 704.6576 | 0.4834 | 1387.6078 | 6692.4327 | 14.738 | 1282.5516 | 4364.5127 | 13.2591 | FDCA3 | FDCA3.txt | August 27, 2021 | August | 27 |  | 10 | 3 | 5 | ['0h', '0m', '32s'] | 5:18:32 PM | 62312 | 1325 | 1.0004 | 2021-08-27 17:19 | 2021-08-27 17:15 | 1630084472 | 32 | 2021-08-27 17:15 | 2021-08-27 17:15 | 34.1232 | 0.00079128 | 32.0459 | 0.0010719
32 | FDCA4 | 104.6904 | 104.6453 | 1281.4452 | 10872.1193 | 1281.4452 | 30424.7466 | 1.0038 | 11.0725 | 0.75595 | 2.0076 | Flagged Warnings: | 1386.0905 | 20908.9906 | 1386.0905 | 54901.1579 | 0.94435 |  | 16.5445 | 0.74429 | 1.8887 | Flagged Warnings: | 1261.3489 | 3909.7192 | 3.0063 | 1407.4593 | 5225.9743 | 2.4331 | 1368.7759 | 636.6138 | 0.4718 | 1387.2542 | 5694.3761 | 15.6595 | 1284.1534 | 3436.3676 | 14.0925 | FDCA4 | FDCA4.txt | August 27, 2021 | August | 27 |  | 10 | 3 | 5 | ['0h', '0m', '32s'] | 5:26:44 PM | 62804 | 1325 | 1.0004 | 2021-08-27 17:27 | 2021-08-27 17:23 | 1630084964 | 32 | 2021-08-27 17:23 | 2021-08-27 17:23 | 19.9949 | 0.00044174 | 32.0459 | 0.0013657
33 | FDCA5 | 104.6818 | 104.6368 | 1281.4499 | 10901.4976 | 1281.4498 | 30444.0874 | 1.0028 | 10.6451 | 0.75273 | 2.0057 | Flagged Warnings: | 1386.0867 | 21009.1412 | 1386.0866 | 54995.5463 | 0.94145 |  | 17.3848 | 0.74412 | 1.8829 | Flagged Warnings: | 1261.4184 | 3858.5368 | 3.0035 | 1407.4699 | 5307.0299 | 2.4509 | 1368.7887 | 653.7106 | 0.4704 | 1387.4467 | 5539.7459 | 15.3323 | 1283.7942 | 3386.9195 | 14.3678 | FDCA5 | FDCA5.txt | August 27, 2021 | August | 27 |  | 10 | 3 | 5 | ['0h', '0m', '32s'] | 5:30:45 PM | 63045 | 1325 | 1.0004 | 2021-08-27 17:31 | 2021-08-27 17:27 | 1630085205 | 32 | 2021-08-27 17:27 | 2021-08-27 17:27 | 19.9878 | 0.00067093 | 32.0723 | 0.0012302
34 | FDCA6 | 104.6886 | 104.6436 | 1281.4436 | 10948.5183 | 1281.4436 | 30322.7857 | 0.99374 | 11.7007 | 0.7566 | 1.9875 | Flagged Warnings: | 1386.0872 | 21045.7352 | 1386.0871 | 55041.8441 | 0.93744 |  | 16.573 | 0.75216 | 1.8749 | Flagged Warnings: | 1261.3467 | 3960.4733 | 2.9767 | 1407.4851 | 5514.7321 | 2.4856 | 1368.7792 | 614.4376 | 0.4684 | 1386.5254 | 5562.1482 | 15.4234 | 1284.1761 | 3559.0007 | 13.6336 | FDCA6 | FDCA6.txt | August 27, 2021 | August | 27 |  | 10 | 3 | 5 | ['0h', '0m', '32s'] | 5:33:55 PM | 63235 | 1325 | 1.0004 | 2021-08-27 17:34 | 2021-08-27 17:30 | 1630085395 | 32 | 2021-08-27 17:30 | 2021-08-27 17:30 | 19.9976 | 0.00060761 | 32.0898 | 0.00092316
35 | FDCA7 | 104.3708 | 104.3259 | 1282.0737 | 5463.2146 | 1282.0738 | 15677.3338 | 1.0588 | 6.8595 | 0.6853 | 2.1176 | Flagged Warnings: | 1386.3997 | 10973.6369 | 1386.3997 | 27553.5227 | 0.90353 |  | 8.3805 | 0.73897 | 1.8071 | Flagged Warnings: | 1261.9421 | 1790.3863 | 2.4539 | 1407.7767 | 2961.1307 | 2.1747 | 1368.8431 | 345.2224 | 0.45058 | 1385.1935 | 2391.844 | 16.7563 | 1282.9507 | 1845.0527 | 17.8627 | FDCA7 | FDCA7.txt | August 27, 2021 | August | 27 |  | 10 | 3 | 5 | ['0h', '0m', '32s'] | 5:45:17 PM | 63917 | 1325 | 1.0004 | 2021-08-27 17:45 | 2021-08-27 17:41 | 1630086077 | 32 | 2021-08-27 17:41 | 2021-08-27 17:42 | 11.0185 | 0.00048009 | 32.1611 | 0.0012798
36 | FDCA8 | 104.3792 | 104.3343 | 1282.0693 | 5018.6063 | 1282.0693 | 14388.658 | 1.0574 | 5.9397 | 0.68572 | 2.1148 | Flagged Warnings: | 1386.4037 | 10135.46 | 1386.4036 | 25476.6654 | 0.90673 |  | 7.1825 | 0.73278 | 1.8135 | Flagged Warnings: | 1262.0056 | 1681.2458 | 2.423 | 1407.7943 | 2638.729 | 2.1224 | 1368.8353 | 309.4893 | 0.45205 | 1385.6786 | 2173.4599 | 16.968 | 1283.1605 | 1579.3114 | 17.2063 | FDCA8 | FDCA8.txt | August 27, 2021 | August | 27 |  | 10 | 3 | 5 | ['0h', '0m', '32s'] | 5:48:26 PM | 64106 | 1325 | 1.0004 | 2021-08-27 17:48 | 2021-08-27 17:44 | 1630086266 | 32 | 2021-08-27 17:44 | 2021-08-27 17:45 | 11.0206 | 0.00068697 | 32.1875 | 0.0016098
37 | FDCA9 | 104.3748 | 104.33 | 1282.0732 | 4385.7292 | 1282.0732 | 12552.136 | 1.0493 | 5.486 | 0.69991 | 2.0986 | Flagged Warnings: | 1386.4032 | 8802.1614 | 1386.4032 | 22082.2794 | 0.89986 |  | 6.6695 | 0.74624 | 1.7997 | Flagged Warnings: | 1262.0266 | 1468.9004 | 2.5058 | 1407.8092 | 2361.172 | 2.167 | 1368.8369 | 271.8298 | 0.44869 | 1385.2244 | 1892.0757 | 16.9404 | 1283.6314 | 1441.8783 | 18.1623 | FDCA9 | FDCA9.txt | August 27, 2021 | August | 27 |  | 10 | 3 | 5 | ['0h', '0m', '32s'] | 5:59:02 PM | 64742 | 1325 | 1.0004 | 2021-08-27 17:59 | 2021-08-27 17:55 | 1630086902 | 32 | 2021-08-27 17:55 | 2021-08-27 17:56 | 11.0135 | 0.0006323 | 32.2158 | 0.00066948
6 | FDCA10 | 104.1276 | 104.083 | 1282.568 | 1625.193 | 1282.568 | 5043.7813 | 1.1259 | 4.3524 | 0.70889 | 2.2518 | Flagged Warnings: | 1386.651 | 3423.6838 | 1386.651 | 8376.2313 | 0.90112 |  | 3.6932 | 0.68387 | 1.8022 | Flagged Warnings: | 1262.5153 | 761.31 | 2.9842 | 1408.1249 | 777.2297 | 1.8138 | 1368.9376 | 112.2358 | 0.44964 | 1387.8827 | 1009.0908 | 21.0942 |  |  |  | FDCA10 | FDCA10.txt | August 27, 2021 | August | 27 |  | 10 | 3 | 5 | ['0h', '0m', '32s'] | 6:47:15 PM | 67635 | 1325 | 1.0004 | 2021-08-27 18:47 | 2021-08-27 18:43 | 1630089795 | 32 | 2021-08-27 18:43 | 2021-08-27 18:44 | 8.9792 | 0.00056441 | 32.5439 | 0.0012093
7 | FDCA11 | 104.1528 | 104.1081 | 1282.5503 | 1632.9317 | 1282.5503 | 5059.2455 | 1.136 | 5.0077 | 0.68382 | 2.272 | Flagged Warnings: | 1386.6585 | 3400.2666 | 1386.6584 | 8352.5405 | 0.90896 |  | 3.6924 | 0.67292 | 1.8179 | Flagged Warnings: | 1262.6011 | 813.2516 | 3.2858 | 1408.0861 | 858.3692 | 1.8544 | 1368.9218 | 97.6079 | 0.45345 | 1386.1361 | 983.3421 | 20.553 |  |  |  | FDCA11 | FDCA11.txt | August 27, 2021 | August | 27 |  | 10 | 3 | 5 | ['0h', '0m', '32s'] | 6:50:39 PM | 67839 | 1325 | 1.0004 | 2021-08-27 18:51 | 2021-08-27 18:47 | 1630089999 | 32 | 2021-08-27 18:47 | 2021-08-27 18:47 | 8.9825 | 0.00077057 | 32.5576 | 0.00099182
8 | FDCA12 | 104.1494 | 104.1048 | 1282.556 | 1613.8331 | 1282.5561 | 5010.5593 | 1.1337 | 3.9553 | 0.69295 | 2.2674 | Flagged Warnings: | 1386.6609 | 3399.3375 | 1386.6608 | 8314.5989 | 0.89644 |  | 3.7132 | 0.69579 | 1.7929 | Flagged Warnings: | 1262.5499 | 700.0763 | 2.8533 | 1408.1184 | 822.9689 | 1.7899 | 1368.9666 | 118.5675 | 0.44735 | 1387.757 | 942.1855 | 20.0507 |  |  |  | FDCA12 | FDCA12.txt | August 27, 2021 | August | 27 |  | 10 | 3 | 5 | ['0h', '0m', '32s'] | 6:54:34 PM | 68074 | 1325 | 1.0004 | 2021-08-27 18:55 | 2021-08-27 18:51 | 1630090234 | 32 | 2021-08-27 18:51 | 2021-08-27 18:51 | 8.9792 | 0.00059244 | 32.5557 | 0.00062561
9 | FDCA13 | 104.0201 | 103.9755 | 1282.8404 | 1140.3871 | 1282.8404 | 3583.727 | 1.1798 | 3.1901 | 0.62515 | 2.3596 | Flagged Warnings: | 1386.816 | 2398.5246 | 1386.816 | 5866.8604 | 0.91107 |  | 2.8024 | 0.65628 | 1.8221 | Flagged Warnings: | 1262.8526 | 512.73 | 2.7124 | 1408.2578 | 546.7349 | 1.6584 | 1369.0394 | 65.1989 | 0.45397 | 1389.4162 | 722.3677 | 21.871 |  |  |  | FDCA13 | FDCA13.txt | August 27, 2021 | August | 27 |  | 10 | 3 | 5 | ['0h', '0m', '32s'] | 7:02:14 PM | 68534 | 1325 | 1.0004 | 2021-08-27 19:02 | 2021-08-27 18:58 | 1630090694 | 32 | 2021-08-27 18:58 | 2021-08-27 18:59 | 8.6082 | 0.00036985 | 32.6797 | 0.0020638
10 | FDCA14 | 104.0021 | 103.9575 | 1282.8566 | 1121.9033 | 1282.8567 | 3554.8917 | 1.1851 | 3.2216 | 0.63496 | 2.3702 | Flagged Warnings: | 1386.8142 | 2386.2751 | 1386.8142 | 5795.93 | 0.89559 |  | 2.9857 | 0.67913 | 1.7912 | Flagged Warnings: | 1262.9196 | 550.925 | 3.0319 | 1408.2127 | 578.7126 | 1.8115 | 1369.0765 | 74.4419 | 0.44635 | 1387.524 | 606.7253 | 21.5527 |  |  |  | FDCA14 | FDCA14.txt | August 27, 2021 | August | 27 |  | 10 | 3 | 5 | ['0h', '0m', '32s'] | 7:05:32 PM | 68732 | 1325 | 1.0004 | 2021-08-27 19:06 | 2021-08-27 19:02 | 1630090892 | 32 | 2021-08-27 19:02 | 2021-08-27 19:02 | 8.6086 | 0.00043743 | 32.7217 | 0.0015335
11 | FDCA15 | 104.0208 | 103.9762 | 1282.8374 | 1107.7134 | 1282.8375 | 3505.5322 | 1.1823 | 3.2766 | 0.6372 | 2.3647 | Flagged Warnings: | 1386.8137 | 2371.7045 | 1386.8137 | 5731.4188 | 0.89135 |  | 3.1331 | 0.67815 | 1.7827 | Flagged Warnings: | 1262.7202 | 505.9255 | 2.7553 | 1408.271 | 594.7932 | 1.7766 | 1369.0048 | 66.9362 | 0.44453 | 1388.0291 | 604.545 | 22.145 |  |  |  | FDCA15 | FDCA15.txt | August 27, 2021 | August | 27 |  | 10 | 3 | 5 | ['0h', '0m', '32s'] | 7:09:36 PM | 68976 | 1325 | 1.0004 | 2021-08-27 19:10 | 2021-08-27 19:06 | 1630091136 | 32 | 2021-08-27 19:06 | 2021-08-27 19:06 | 8.6088 | 0.00057692 | 32.751 | 0.0010366
12 | FDCA16 | 103.8512 | 103.8067 | 1283.1977 | 735.7975 | 1283.1977 | 2363.0214 | 1.226 | 2.3806 | 0.5834 | 2.4519 | Flagged Warnings: | 1387.0045 | 1629.5309 | 1387.0044 | 3859.0391 | 0.88645 |  | 2.1982 | 0.64231 | 1.7729 | Flagged Warnings: | 1263.1487 | 332.0926 | 2.6323 | 1408.3668 | 397.5963 | 1.6484 | 1369.0382 | 52.1238 | 0.44154 | 1388.513 | 421.7888 | 22.0482 |  |  |  | FDCA16 | FDCA16.txt | August 27, 2021 | August | 27 |  | 10 | 3 | 5 | ['0h', '0m', '32s'] | 7:24:37 PM | 69877 | 1325 | 1.0004 | 2021-08-27 19:25 | 2021-08-27 19:21 | 1630092037 | 32 | 2021-08-27 19:21 | 2021-08-27 19:21 | 8.4115 | 0.00060043 | 32.8906 | 0.0014725
13 | FDCA17 | 103.8497 | 103.8052 | 1283.1979 | 733.2447 | 1283.1979 | 2340.2964 | 1.1968 | 2.2367 | 0.62747 | 2.3936 | Flagged Warnings: | 1387.0032 | 1581.3833 | 1387.0032 | 3770.7124 | 0.89129 |  | 2.5032 | 0.6464 | 1.7826 | Flagged Warnings: | 1263.1928 | 292.977 | 2.2185 | 1408.4886 | 375.5482 | 1.4896 | 1369.0067 | 49.163 | 0.44401 | 1390.0297 | 440.5505 | 22.2002 |  |  |  | FDCA17 | FDCA17.txt | August 27, 2021 | August | 27 |  | 10 | 3 | 5 | ['0h', '0m', '32s'] | 7:28:05 PM | 70085 | 1325 | 1.0004 | 2021-08-27 19:28 | 2021-08-27 19:24 | 1630092245 | 32 | 2021-08-27 19:24 | 2021-08-27 19:25 | 8.4136 | 0.00043204 | 32.918 | 0.0011299
14 | FDCA18 | 103.8442 | 103.7997 | 1283.2063 | 757.6243 | 1283.2063 | 2403.8489 | 1.1993 | 2.5311 | 0.60815 | 2.3985 | Flagged Warnings: | 1387.0061 | 1645.0984 | 1387.0061 | 3917.5462 | 0.90406 |  | 2.4624 | 0.60905 | 1.8081 | Flagged Warnings: | 1263.0689 | 348.229 | 2.4761 | 1408.3028 | 382.3146 | 1.663 | 1369.0576 | 45.5047 | 0.45039 | 1387.9308 | 464.5641 | 20.8815 |  |  |  | FDCA18 | FDCA18.txt | August 27, 2021 | August | 27 |  | 10 | 3 | 5 | ['0h', '0m', '32s'] | 7:32:07 PM | 70327 | 1325 | 1.0004 | 2021-08-27 19:32 | 2021-08-27 19:28 | 1630092487 | 32 | 2021-08-27 19:28 | 2021-08-27 19:29 | 8.4106 | 0.00073565 | 32.9336 | 0.00086403
15 | FDCA19 | 103.6499 | 103.6055 | 1283.6593 | 1056.2132 | 1283.6593 | 3192.7086 | 1.132 | 6.3845 | 0.63807 | 2.264 | Flagged Warnings: | 1387.2648 | 2217.3455 | 1387.2648 | 4957.8743 | 0.84894 |  | 3.3346 | 0.60632 | 1.6979 | Flagged Warnings: |  |  |  | 1408.6672 | 501.3756 | 1.2716 | 1369.395 | 68.7504 | 0.42336 | 1389.2427 | 523.06 | 21.1679 |  |  |  | FDCA19 | FDCA19.txt | August 27, 2021 | August | 27 |  | 15 | 3 | 5 | ['0h', '0m', '47s'] | 7:44:28 PM | 71068 | 1325 | 1.0004 | 2021-08-27 19:44 | 2021-08-27 19:40 | 1630093228 | 47 | 2021-08-27 19:40 | 2021-08-27 19:41 | 8.1994 | 0.00050619 | 32.9258 | 0.00096286
16 | FDCA20 | 103.6565 | 103.6121 | 1283.6535 | 1012.1581 | 1283.6536 | 3091.2988 | 1.1575 | 3.4712 | 0.60103 | 2.3151 | Flagged Warnings: | 1387.2656 | 2158.9577 | 1387.2657 | 4845.8652 | 0.8496 |  | 4.3431 | 0.6148 | 1.6992 | Flagged Warnings: | 1263.5755 | 434.1087 | 2.2301 | 1408.6722 | 507.8579 | 1.4484 |  |  |  | 1381.9767 | 562.8368 | 21.1876 |  |  |  | FDCA20 | FDCA20.txt | August 27, 2021 | August | 27 |  | 15 | 3 | 5 | ['0h', '0m', '47s'] | 7:49:04 PM | 71344 | 1325 | 1.0004 | 2021-08-27 19:49 | 2021-08-27 19:45 | 1630093504 | 47 | 2021-08-27 19:45 | 2021-08-27 19:46 | 8.2058 | 0.00062282 | 32.9346 | 0.00093987
17 | FDCA21 | 103.6619 | 103.6175 | 1283.65 | 1029.7032 | 1283.65 | 3100.8255 | 1.1337 | 3.7643 | 0.618 | 2.2673 | Flagged Warnings: | 1387.2676 | 2129.794 | 1387.2675 | 4843.1123 | 0.86689 |  | 3.287 | 0.59637 | 1.7338 | Flagged Warnings: | 1263.5501 | 448.6493 | 2.4407 | 1408.616 | 474.0936 | 1.513 | 1369.4203 | 66.3422 | 0.43228 | 1388.367 | 521.0088 | 21.6142 |  |  |  | FDCA21 | FDCA21.txt | August 27, 2021 | August | 27 |  | 15 | 3 | 5 | ['0h', '0m', '47s'] | 7:52:42 PM | 71562 | 1325 | 1.0004 | 2021-08-27 19:53 | 2021-08-27 19:49 | 1630093722 | 47 | 2021-08-27 19:49 | 2021-08-27 19:49 | 8.2103 | 0.0007242 | 32.9414 | 0.00087444
18 | FDCA22 | 103.6551 | 103.6108 | 1283.646 | 1042.1462 | 1283.6461 | 3113.2514 | 1.1152 | 3.1872 | 0.63836 | 2.2304 | Flagged Warnings: | 1387.2569 | 2177.2673 | 1387.2569 | 4904.5626 | 0.8658 |  | 3.5498 | 0.57637 | 1.7316 | Flagged Warnings: | 1263.5584 | 408.8856 | 2.1614 | 1408.6864 | 463.5538 | 1.3175 | 1369.3732 | 60.8 | 0.43178 | 1388.5485 | 561.3097 | 21.5891 |  |  |  | FDCA22 | FDCA22.txt | August 27, 2021 | August | 27 |  | 15 | 3 | 5 | ['0h', '0m', '47s'] | 7:56:33 PM | 71793 | 1325 | 1.0004 | 2021-08-27 19:57 | 2021-08-27 19:53 | 1630093953 | 47 | 2021-08-27 19:53 | 2021-08-27 19:53 | 8.2159 | 0.00056597 | 32.9492 | 0.0008267
19 | FDCA23 | 103.1078 | 103.0637 | 1284.9289 | 1287.1418 | 1284.9289 | 2492.4121 | 0.74203 | 2.4724 | 0.57183 | 1.4841 | Flagged Warnings: | 1387.9927 | 2339.6043 | 1387.9926 | 3782.0461 | 0.63816 |  | 3.2912 | 0.50119 | 1.2763 | Flagged Warnings: | 1264.7231 | 286.2361 | 0.99655 | 1409.3579 | 390.3689 | 0.7977 | 1369.9477 | 56.873 | 0.31761 | 1394.7458 | 232.5643 | 15.8806 |  |  |  | FDCA23 | FDCA23.txt | August 27, 2021 | August | 27 |  | 20 | 3 | 5 | ['0h', '1m', '2s'] | 8:03:11 PM | 72191 | 1325 | 1.0004 | 2021-08-27 20:03 | 2021-08-27 19:59 | 1630094351 | 62 | 2021-08-27 19:59 | 2021-08-27 20:00 | 6.0257 | 0.00039037 | 32.5029 | 0.011428
20 | FDCA24 | 103.1097 | 103.0656 | 1284.9328 | 1307.3038 | 1284.9329 | 2536.7007 | 0.74291 | 2.6047 | 0.57413 | 1.4858 | Flagged Warnings: | 1387.9984 | 2402.1785 | 1387.9985 | 3878.2519 | 0.63405 |  | 2.9122 | 0.51407 | 1.2681 | Flagged Warnings: | 1264.785 | 298.9084 | 1.0823 | 1409.3488 | 420.1181 | 0.83704 | 1369.895 | 45.6572 | 0.31561 | 1380.7458 | 216.9821 | 15.7806 |  |  |  | FDCA24 | FDCA24.txt | August 27, 2021 | August | 27 |  | 20 | 3 | 5 | ['0h', '1m', '2s'] | 8:08:27 PM | 72507 | 1325 | 1.0004 | 2021-08-27 20:08 | 2021-08-27 20:04 | 1630094667 | 62 | 2021-08-27 20:04 | 2021-08-27 20:05 | 6.0257 | 0.00033345 | 32.3477 | 0.004897
21 | FDCA25 | 103.094 | 103.0499 | 1284.9496 | 1328.8631 | 1284.9497 | 2575.4344 | 0.74366 | 2.596 | 0.56849 | 1.4873 | Flagged Warnings: | 1387.9996 | 2472.9347 | 1387.9996 | 4004.055 | 0.63662 |  | 3.2149 | 0.51082 | 1.2732 | Flagged Warnings: | 1264.768 | 291.3382 | 1.0372 | 1409.3228 | 436.4258 | 0.86799 | 1369.8605 | 58.4759 | 0.31693 | 1380.7458 | 212.284 | 15.8467 |  |  |  | FDCA25 | FDCA25.txt | August 27, 2021 | August | 27 |  | 20 | 3 | 5 | ['0h', '1m', '2s'] | 8:12:53 PM | 72773 | 1325 | 1.0004 | 2021-08-27 20:13 | 2021-08-27 20:09 | 1630094933 | 62 | 2021-08-27 20:09 | 2021-08-27 20:10 | 6.0256 | 0.00036776 | 32.2871 | 0.0026662
22 | FDCA26 | 103.1163 | 103.0722 | 1284.9292 | 1412.546 | 1284.9292 | 2711.2213 | 0.73405 | 2.806 | 0.57687 | 1.4681 | Flagged Warnings: | 1388.0014 | 2531.2909 | 1388.0015 | 4080.79 | 0.6299 |  | 3.6894 | 0.52809 | 1.2598 | Flagged Warnings: | 1264.6936 | 301.2242 | 1.045 | 1409.3221 | 446.2328 | 0.85202 | 1368.3926 | 10.5662 | 0.31337 | 1380.7458 | 262.5818 | 15.6687 |  |  |  | FDCA26 | FDCA26.txt | August 27, 2021 | August | 27 |  | 20 | 3 | 5 | ['0h', '1m', '2s'] | 8:16:54 PM | 73014 | 1325 | 1.0004 | 2021-08-27 20:17 | 2021-08-27 20:13 | 1630095174 | 62 | 2021-08-27 20:13 | 2021-08-27 20:14 | 6.0255 | 0.00033555 | 32.2471 | 0.0025359
23 | FDCA27 | 102.9354 | 102.8915 | 1285.3724 | 1049.9873 | 1285.3725 | 1716.6951 | 0.65167 | 2.2656 | 0.47016 | 1.3033 | Flagged Warnings: | 1388.264 | 1783.4204 | 1388.264 | 2527.5241 | 0.59325 |  | 2.7785 | 0.34232 | 1.1865 | Flagged Warnings: | 1265.1858 | 198.4473 | 0.84215 | 1409.5297 | 272.3389 | 0.64576 | 1369.9845 | 39.2341 | 0.29645 | 1395.2757 | 120.7722 | 14.8226 |  |  |  | FDCA27 | FDCA27.txt | August 27, 2021 | August | 27 |  | 20 | 3 | 5 | ['0h', '1m', '2s'] | 8:33:01 PM | 73981 | 1325 | 1.0004 | 2021-08-27 20:33 | 2021-08-27 20:29 | 1630096141 | 62 | 2021-08-27 20:29 | 2021-08-27 20:30 | 3.9948 | 0.00040243 | 32.0498 | 0.0030918
24 | FDCA28 | 102.9357 | 102.8917 | 1285.3649 | 1024.4958 | 1285.365 | 1657.4289 | 0.65461 | 2.3203 | 0.43014 | 1.3092 | Flagged Warnings: | 1388.2566 | 1730.5261 | 1388.2567 | 2458.1264 | 0.59051 |  | 2.7445 | 0.36189 | 1.181 | Flagged Warnings: | 1265.1557 | 179.9733 | 0.73158 | 1409.5824 | 260.2449 | 0.66614 |  |  |  | 1381.2757 | 133.001 | 14.7546 |  |  |  | FDCA28 | FDCA28.txt | August 27, 2021 | August | 27 |  | 20 | 3 | 5 | ['0h', '1m', '2s'] | 8:37:42 PM | 74262 | 1325 | 1.0004 | 2021-08-27 20:38 | 2021-08-27 20:34 | 1630096422 | 62 | 2021-08-27 20:34 | 2021-08-27 20:35 | 3.9974 | 0.00034814 | 32.0908 | 0.0014501
25 | FDCA29 | 102.9277 | 102.8838 | 1285.3793 | 980.3459 | 1285.3793 | 1591.1377 | 0.65169 | 2.1399 | 0.45068 | 1.3034 | Flagged Warnings: | 1388.263 | 1695.9963 | 1388.2631 | 2386.6474 | 0.57919 |  | 2.3846 | 0.38886 | 1.1584 | Flagged Warnings: | 1265.1246 | 172.9208 | 0.76924 | 1409.5581 | 262.6186 | 0.64642 | 1370.9426 | 10.4358 | 0.28946 | 1381.2757 | 120.1917 | 14.4731 |  |  |  | FDCA29 | FDCA29.txt | August 27, 2021 | August | 27 |  | 20 | 3 | 5 | ['0h', '1m', '2s'] | 8:41:42 PM | 74502 | 1325 | 1.0004 | 2021-08-27 20:42 | 2021-08-27 20:38 | 1630096662 | 62 | 2021-08-27 20:38 | 2021-08-27 20:39 | 3.9992 | 0.00031222 | 32.1025 | 0.0010157
26 | FDCA30 | 102.8013 | 102.7574 | 1285.6946 | 757.9477 | 1285.6946 | 1039.6228 | 0.57286 | 1.8471 | 0.34392 | 1.1457 | Flagged Warnings: | 1388.4521 | 1224.6277 | 1388.4521 | 1554.2367 | 0.52555 |  | 2.443 | 0.36756 | 1.0511 | Flagged Warnings: | 1265.4578 | 80.7684 | 0.66265 | 1409.7147 | 162.2761 | 0.56657 | 1369.9905 | 24.531 | 0.2625 | 1381.2757 | 2.0025 | 13.1254 |  |  |  | FDCA30 | FDCA30.txt | August 27, 2021 | August | 27 |  | 30 | 5 | 5 | ['0h', '2m', '32s'] | 8:47:40 PM | 74860 | 1325 | 1.0004 | 2021-08-27 20:48 | 2021-08-27 20:44 | 1630097020 | 152 | 2021-08-27 20:44 | 2021-08-27 20:46 | 2.0127 | 0.0010043 | 32.1006 | 0.00094647
27 | FDCA31 | 102.8035 | 102.7596 | 1285.6925 | 721.5544 | 1285.6926 | 982.3802 | 0.57198 | 1.7361 | 0.32764 | 1.144 | Flagged Warnings: | 1388.4522 | 1175.155 | 1388.4522 | 1488.449 | 0.53466 |  | 1.8561 | 0.31458 | 1.0693 | Flagged Warnings: | 1265.4232 | 82.4635 | 0.6463 | 1409.6973 | 160.5216 | 0.58459 | 1370.1256 | 17.823 | 0.26707 | 1381.2757 | 1.756 | 13.3536 |  |  |  | FDCA31 | FDCA31.txt | August 27, 2021 | August | 27 |  | 30 | 5 | 5 | ['0h', '2m', '32s'] | 8:55:03 PM | 75303 | 1325 | 1.0004 | 2021-08-27 20:55 | 2021-08-27 20:51 | 1630097463 | 152 | 2021-08-27 20:51 | 2021-08-27 20:54 | 2.0076 | 0.00052592 | 32.1152 | 0.001104
28 | FDCA32 | 102.8058 | 102.762 | 1285.6912 | 714.3385 | 1285.6912 | 994.4248 | 0.58007 | 4.8573 | 0.35032 | 1.1601 | Flagged Warnings: | 1388.4532 | 1153.9777 | 1388.4532 | 1468.1808 | 0.53501 |  | 2.0857 | 0.3252 | 1.07 | Flagged Warnings: | 1265.4188 | 85.855 | 0.63479 | 1409.7453 | 154.7248 | 0.6004 | 1369.9712 | 21.257 | 0.18887 | 1382.2619 | 1.916 | 13.3623 |  |  |  | FDCA32 | FDCA32.txt | August 27, 2021 | August | 27 |  | 30 | 5 | 5 | ['0h', '2m', '32s'] | 9:00:21 PM | 75621 | 1325 | 1.0004 | 2021-08-27 21:00 | 2021-08-27 20:56 | 1630097781 | 152 | 2021-08-27 20:56 | 2021-08-27 20:59 | 2.0112 | 0.00046905 | 32.1162 | 0.00088121
0 | FDCA33 | 102.7407 | 102.6969 | 1285.8857 | 131.2449 | 1285.8857 | 142.9481 | 0.51338 | 4.5855 | 2.1386e-09 | 1.0268 | Flagged Warnings: | 1388.5826 | 209.8907 | 1388.5826 | 242.6277 | 0.50607 |  | 2.3326 | 0.2104 | 1.0121 | Flagged Warnings: | [15 empty] | FDCA33 | FDCA33.txt | August 27, 2021 | August | 27 |  | 45 | 5 | 5 | ['0h', '3m', '47s'] | 9:13:50 PM | 76430 | 1325 | 1.0004 | 2021-08-27 21:14 | 2021-08-27 21:10 | 1630098590 | 227 | 2021-08-27 21:10 | 2021-08-27 21:14 | 0.28159 | 0.00052965 | 32.1191 | 0.0010559
1 | FDCA34 | 102.7238 | 102.68 | 1285.902 | 105.6317 | 1285.902 | 127.8042 | 0.56745 | 1.9678 | 6.3607e-12 | 1.1349 | Flagged Warnings: | 1388.5821 | 175.4864 | 1388.5821 | 197.6361 | 0.49535 |  | 2.4902 | 0.19874 | 0.99071 | Flagged Warnings: | [15 empty] | FDCA34 | FDCA34.txt | August 27, 2021 | August | 27 |  | 45 | 5 | 5 | ['0h', '3m', '47s'] | 9:20:59 PM | 76859 | 1325 | 1.0004 | 2021-08-27 21:21 | 2021-08-27 21:17 | 1630099019 | 227 | 2021-08-27 21:17 | 2021-08-27 21:21 | 0.28447 | 0.00044544 | 32.1191 | 0.00098321
2 | FDCA35 | 102.6927 | 102.6489 | 1285.9032 | 75.0006 | 1285.9032 | 96.6021 | 0.60284 | 1.9951 | 6.1347e-11 | 1.2057 | Flagged Warnings: | 1388.5521 | 120.6941 | 1388.5521 | 136.2428 | 0.53058 |  | 2.1556 | 6.8584e-09 | 1.0612 | Flagged Warnings: | [15 empty] | FDCA35 | FDCA35.txt | August 27, 2021 | August | 27 |  | 45 | 5 | 5 | ['0h', '3m', '47s'] | 9:31:48 PM | 77508 | 1325 | 1.0004 | 2021-08-27 21:32 | 2021-08-27 21:28 | 1630099668 | 227 | 2021-08-27 21:28 | 2021-08-27 21:32 | 0.28819 | 0.0004353 | 32.1084 | 0.0037901
3 | FDCA36 | 104.523 | 104.4785 | 1285.8391 | 208.9176 | 1285.8391 | 261.9228 | 0.59784 | 4.6483 | 2.8998e-07 | 1.1957 | Flagged Warnings: | 1390.3176 | 370.9455 | 1390.3176 | 293.4359 | 0.25323 |  | 9.9017 | 1 | 0.50647 | Flagged Warnings: | [15 empty] | FDCA36 | FDCA36.txt | August 27, 2021 | August | 27 |  | 45 | 3 | 5 | ['0h', '2m', '17s'] | 9:38:52 PM | 77932 | 1325 | 1.0004 | 2021-08-27 21:39 | 2021-08-27 21:35 | 1630100092 | 137 | 2021-08-27 21:35 | 2021-08-27 21:37 | 0.99891 | 0.00031326 | 32.083 | 0.0024405
4 | FDCA37 | 102.7777 | 102.7339 | 1285.8001 | 222.161 | 1285.8001 | 266.9301 | 0.55376 | 3.2068 | 0.054269 | 1.1075 | Flagged Warnings: | 1388.534 | 325.0857 | 1388.534 | 388.8005 | 0.54738 |  | 2.8711 | 0.077951 | 1.0948 | Flagged Warnings: | [15 empty] | FDCA37 | FDCA37.txt | August 27, 2021 | August | 27 |  | 45 | 3 | 5 | ['0h', '2m', '17s'] | 9:44:16 PM | 78256 | 1325 | 1.0004 | 2021-08-27 21:44 | 2021-08-27 21:40 | 1630100416 | 137 | 2021-08-27 21:40 | 2021-08-27 21:43 | 1.001 | 0.00063042 | 32.0664 | 0.0019832
5 | FDCA38 | 102.7572 | 102.7134 | 1285.8318 | 201.7287 | 1285.8318 | 252.8256 | 0.57882 | 2.3768 | 0.055945 | 1.1576 | Flagged Warnings: | 1388.5452 | 318.0478 | 1388.5452 | 374.2633 | 0.53204 |  | 2.6287 | 0.1162 | 1.0641 | Flagged Warnings: | [15 empty] | FDCA38 | FDCA38.txt | August 27, 2021 | August | 27 |  | 45 | 5 | 5 | ['0h', '3m', '47s'] | 9:50:07 PM | 78607 | 1325 | 1.0004 | 2021-08-27 21:50 | 2021-08-27 21:46 | 1630100767 | 227 | 2021-08-27 21:46 | 2021-08-27 21:50 | 1.0061 | 0.00046944 | 32.0479 | 0.0021233