## Sheet1
| Unnamed: 0 | filename_x | Splitting | Diad1_Combofit_Cent | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | name_for_matching | Name_for_Secondary_Phases | filename_y | date | Month | Day | power (mW) | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Spectral Center | filename | Peak_Cent_SO2 | Peak_Area_SO2 | Peak_Height_SO2 | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Carb_Diad_Ratio | SO2_Diad_Ratio
0 | 0 | K21-59-FI#1_CRR_DiadFit | 103.0582 | 1286.0351 | 592.2657 | 1286.0351 | 607.8416 | 0.43374 | 3.6921 | 0.30986 | 0.86748 | Flagged Warnings: | 1389.0934 | 968.2088 | 1389.0934 | 904.3471 | 0.3955 |  | 3.7436 | 0.3079 | 0.791 | Flagged Warnings: | [15 empty] | K21-59-FI#1 | K21-59-FI#1 | K21-59-FI#1.txt | October 28, 2022 | October | 28 |  | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:09:55 PM | 43795 | 1325.004 | K21-59-FI#1.txt | 1151.1606 | 57.0321 | 26.5391 |  |  |  |  | 0.037715
1 | 0 | K21-59-FI#2 | 103.0107 | 1286.1575 | 227.6699 | 1286.1575 | 201.5857 | 0.40945 | 3.3721 | 0.041447 | 0.81889 | Flagged Warnings: | 1389.1682 | 374.1385 | 1389.1682 | 344.0598 | 0.38815 |  | 3.6227 | 0.31896 | 0.77631 | Flagged Warnings: | [15 empty] | K21-59-FI#2 | K21-59-FI#2 | K21-59-FI#2.txt | October 28, 2022 | October | 28 |  | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:19:53 PM | 44393 | 1325.004
2 | 0 | K21-59-FI#3_CRR_DiadFit | 103.0463 | 1286.0741 | 570.4088 | 1286.0741 | 582.2966 | 0.42221 | 3.7679 | 0.37007 | 0.84442 | Flagged Warnings: | 1389.1204 | 888.6858 | 1389.1204 | 839.6197 | 0.39963 |  | 3.9225 | 0.31026 | 0.79926 | Flagged Warnings: | [15 empty] | K21-59-FI#3 | K21-59-FI#3 | K21-59-FI#3.txt | October 28, 2022 | October | 28 |  | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:32:26 PM | 45146 | 1325.004
3 | 0 | K21-61-FI#1-rep1_CRR_DiadFit | 103.3103 | 1285.4318 | 65.9621 | 1285.4318 | 81.9272 | 0.57769 | 3.1457 | 1.1116e-10 | 1.1554 | Flagged Warnings: | 1388.7421 | 129.4479 | 1388.7421 | 167.5656 | 0.47906 |  | 2.391 | 0.66593 | 0.95812 | Flagged Warnings: | [15 empty] | K21-61-FI#1-rep1 | K21-61-FI#1-rep1 | K21-61-FI#1-rep1.txt | October 28, 2022 | October | 28 |  | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:45:44 PM | 45944 | 1325.004
4 | 0 | K21-61-FI#1-rep2_CRR_DiadFit | 103.3046 | 1285.4358 | 607.8097 | 1285.4358 | 895.8526 | 0.56825 | 3.8917 | 0.55629 | 1.1365 | Flagged Warnings: | 1388.7404 | 1147.747 | 1388.7404 | 1426.2058 | 0.48109 |  | 4.0561 | 0.54869 | 0.96218 | Flagged Warnings: | [15 empty] | K21-61-FI#1-rep2 | K21-61-FI#1-rep2 | K21-61-FI#1-rep2.txt | October 28, 2022 | October | 28 |  | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:50:47 PM | 46247 | 1325.004 | K21-61-FI#1-rep2.txt |  |  |  | 1090.8896 | 868.2432 | 43.0346 | 0.37391
5 | 0 | K21-63-FI#1_CRR_DiadFit | 103.3411 | 1285.3108 | 125.5499 | 1285.3108 | 210.7357 | 0.63146 | 1.8405 | 0.622 | 1.2629 | Flagged Warnings: | 1388.6518 | 235.7511 | 1388.6518 | 317.8538 | 0.53134 |  | 1.7677 | 0.50552 | 1.0627 | Flagged Warnings: | [15 empty] | K21-63-FI#1 | K21-63-FI#1 | K21-63-FI#1.txt | October 28, 2022 | October | 28 |  | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:18:52 PM | 51532 | 1325.004 | K21-63-FI#1.txt | 1150.5918 | 81.8665 | 56.1513 |  |  |  |  | 0.15488
6 | 0 | K21-64-FI#2_CRR_DiadFit | 103.301 | 1285.4076 | 519.6086 | 1285.4076 | 812.1829 | 0.56338 | 3.8541 | 0.72439 | 1.1268 | Flagged Warnings: | 1388.7086 | 938.3907 | 1388.7086 | 1219.11 | 0.50756 |  | 3.6743 | 0.52503 | 1.0151 | Flagged Warnings: | [15 empty] | K21-64-FI#2 | K21-64-FI#2 | K21-64-FI#2.txt | October 28, 2022 | October | 28 |  | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:41:12 PM | 52872 | 1325.004 | K21-64-FI#2.txt | 1150.6428 | 374.1557 | 235.8833 |  |  |  |  | 0.1842
7 | 0 | K21-64-FI#8_CRR_DiadFit | 103.2889 | 1285.3928 | 158.6482 | 1285.3928 | 249.5984 | 0.61973 | 1.4859 | 0.50252 | 1.2395 | Flagged Warnings: | 1388.6817 | 296.1307 | 1388.6817 | 390.8444 | 0.51447 |  | 1.9341 | 0.53161 | 1.0289 | Flagged Warnings: | [15 empty] | K21-64-FI#8 | K21-64-FI#8 | K21-64-FI#8.txt | October 28, 2022 | October | 28 |  | 45 | 5 | 50 | ['0h', '3m', '46s'] | 5:05:53 PM | 61553 | 1325.004 | K21-64-FI#8.txt | 1150.5967 | 119.215 | 74.2444 |  |  |  |  | 0.18614
8 | 0 | K21-61-FI#2 | 103.3001 | 1285.47 | 988.9449 | 1285.4701 | 1433.1068 | 0.55266 | 2.9183 | 0.58349 | 1.1053 | Flagged Warnings: | 1388.7703 | 1865.0501 | 1388.7702 | 2295.9579 | 0.48004 |  | 2.9819 | 0.52702 | 0.96008 | Flagged Warnings: | 1265.2024 | 102.3324 | 0.8018 | 1410.1177 | 255.614 | 0.60828 | 1371.2007 | 24.9586 | 0.23966 | [6 empty] | K21-61-FI#2 | K21-61-FI#2 | K21-61-FI#2.txt | October 28, 2022 | October | 28 |  | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:08:21 PM | 47301 | 1325.004
9 | 0 | K21-61-FI#3 | 103.3338 | 1285.4092 | 815.5836 | 1285.4093 | 1225.3301 | 0.55697 | 2.3399 | 0.65399 | 1.1139 | Flagged Warnings: | 1388.7432 | 1535.0911 | 1388.7431 | 1950.4096 | 0.49204 |  | 2.7041 | 0.54478 | 0.98407 | Flagged Warnings: | 1265.2418 | 101.2477 | 0.74631 | 1410.0774 | 223.3562 | 0.68759 | 1370.3627 | 25.2547 | 0.24572 | [6 empty] | K21-61-FI#3 | K21-61-FI#3 | K21-61-FI#3.txt | October 28, 2022 | October | 28 |  | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:27:18 PM | 48438 | 1325.004
10 | 0 | K21-64-FI#1_CRR_DiadFit | 103.3069 | 1285.4016 | 894.5765 | 1285.4017 | 1408.0355 | 0.58731 | 2.7303 | 0.638 | 1.1746 | Flagged Warnings: | 1388.7086 | 1646.2737 | 1388.7086 | 2156.2757 | 0.50434 |  | 2.5392 | 0.55934 | 1.0087 | Flagged Warnings: | 1265.1179 | 118.4898 | 0.89506 | 1410.0299 | 240.4895 | 0.65108 | 1370.3143 | 34.7224 | 0.25197 | [6 empty] | K21-64-FI#1 | K21-64-FI#1 | K21-64-FI#1.txt | October 28, 2022 | October | 28 |  | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:37:00 PM | 52620 | 1325.004 | K21-64-FI#1.txt | 1150.6515 | 690.3475 | 437.8 |  |  |  |  | 0.19368
11 | 0 | K21-64-FI#3_CRR_DiadFit | 103.301 | 1285.381 | 1350.0987 | 1285.381 | 2155.0548 | 0.5862 | 2.6061 | 0.67707 | 1.1724 | Flagged Warnings: | 1388.6821 | 2473.7583 | 1388.682 | 3286.5089 | 0.51323 |  | 3.3204 | 0.55106 | 1.0265 | Flagged Warnings: | 1265.1417 | 225.1357 | 0.75352 | 1410.0237 | 359.9617 | 0.65284 | 1370.3015 | 50.586 | 0.25646 | [6 empty] | K21-64-FI#3 | K21-64-FI#3 | K21-64-FI#3.txt | October 28, 2022 | October | 28 |  | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:52:14 PM | 53534 | 1325.004 | K21-64-FI#3.txt | 1150.614 | 1181.4436 | 738.9206 |  |  |  |  | 0.21711
12 | 0 | K21-64-FI#4 | 103.2525 | 1285.587 | 858.6196 | 1285.587 | 1179.5101 | 0.53105 | 1.9972 | 0.54932 | 1.0621 | Flagged Warnings: | 1388.8396 | 1547.8342 | 1388.8395 | 1820.055 | 0.46061 |  | 2.0045 | 0.51526 | 0.92123 | Flagged Warnings: | 1265.3366 | 128.6834 | 0.7151 | 1410.1454 | 203.1087 | 0.60805 | 1370.6779 | 25.562 | 0.22979 | [6 empty] | K21-64-FI#4 | K21-64-FI#4 | K21-64-FI#4.txt | October 28, 2022 | October | 28 |  | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:57:30 PM | 53850 | 1325.004
13 | 0 | K21-64-FI#5_CRR_DiadFit | 103.306 | 1285.3738 | 997.8808 | 1285.3738 | 1565.9005 | 0.59087 | 3.1781 | 0.61555 | 1.1817 | Flagged Warnings: | 1388.6799 | 1878.1182 | 1388.6799 | 2487.2892 | 0.51281 |  | 3.1317 | 0.54506 | 1.0256 | Flagged Warnings: | 1265.1097 | 140.0726 | 0.85055 | 1410.0093 | 275.8165 | 0.67284 | 1369.1798 | 10.7838 | 0.25627 | [6 empty] | K21-64-FI#5 | K21-64-FI#5 | K21-64-FI#5.txt | October 28, 2022 | October | 28 |  | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:51:01 PM | 60661 | 1325.004 | K21-64-FI#5.txt | 1150.6097 | 840.5438 | 506.8418 |  |  |  |  | 0.20738
14 | 0 | K21-64-FI#6_CRR_DiadFit | 103.3032 | 1285.3626 | 741.9061 | 1285.3626 | 1177.8805 | 0.59338 | 2.5486 | 0.63388 | 1.1868 | Flagged Warnings: | 1388.6659 | 1383.7429 | 1388.6658 | 1829.1287 | 0.51459 |  | 2.6193 | 0.53135 | 1.0292 | Flagged Warnings: | 1265.0392 | 81.4713 | 0.74898 | 1410.0034 | 199.365 | 0.70526 | 1371.2248 | 14.8424 | 0.25717 | [6 empty] | K21-64-FI#6 | K21-64-FI#6 | K21-64-FI#6.txt | October 28, 2022 | October | 28 |  | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:55:53 PM | 60953 | 1325.004 | K21-64-FI#6.txt | 1150.5926 | 656.5916 | 404.7334 |  |  |  |  | 0.21835
15 | 0 | K21-64-FI#7_CRR_DiadFit | 103.3077 | 1285.3416 | 1184.5626 | 1285.3417 | 1945.2453 | 0.605 | 2.9828 | 0.66936 | 1.21 | Flagged Warnings: | 1388.6495 | 2189.8464 | 1388.6494 | 2924.6827 | 0.51142 |  | 3.5331 | 0.57346 | 1.0228 | Flagged Warnings: | 1265.101 | 219.4993 | 0.86158 | 1410.0098 | 342.5938 | 0.66467 | 1370.2884 | 44.8156 | 0.25559 | [6 empty] | K21-64-FI#7 | K21-64-FI#7 | K21-64-FI#7.txt | October 28, 2022 | October | 28 |  | 45 | 5 | 50 | ['0h', '3m', '46s'] | 5:00:34 PM | 61234 | 1325.004 | K21-64-FI#7.txt | 1150.5714 | 1175.3673 | 735.479 |  |  |  |  | 0.24135