## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_SO2 | Peak_Area_SO2 | Peak_Height_SO2 | Model_name_x | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name_y | Carb_Diad_Ratio | SO2_Diad_Ratio | time | preferred_values | lower_values | upper_values
0 | K21-59-FI#1 | 0.033938 | 0.0041968 | 0.0016128 | 0.0038746 | 102.8359 | 0.0040703 | 0.00063396 | 0.0040294 | 12.078 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.033938 | 0.0041968 | 0.036988 | 0.0028989 | -0.22769 | 0.0037246 | SupCrit | 103.0579 | 0.0040294 | 1286.0354 | 0.003584 | 591.7924 | 1286.0354 | 605.4474 | 0.43426 | 2.9472 | 0.29886 | 0.86853 | Flagged Warnings: | 1389.0934 | 0.0018413 | 968.2271 | 1389.0934 | 909.0395 | 0.3953 | 0 | 2.4899 | 0.32159 | 0.79059 | Flagged Warnings: | 1265.6499 | 45.8888 | 0.4814 | 1410.3936 | 102.2159 | 0.43885 | [9 empty] | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:09:55 PM | 43795 | 1151.271 | 49.7943 | 26.9971 | Spline | [5 empty] | 0.032879 | 43795 | 0.99785 | 0.99784 | 0.99785
1 | K21-59-FI#2 | 0.015192 | 0.0060674 | 0.0046194 | 0.0039339 | 102.7886 | 0.011658 | 0.00062721 | 0.011666 | 12.068 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.015192 | 0.0060674 | 0.018423 | 0.0051725 | -0.26458 | 0.0093649 | SupCrit | 103.0113 | 0.011666 | 1286.1575 | 0.0099243 | 227.6553 | 1286.1575 | 198.5862 | 0.40972 | 3.2105 | 0.00013857 | 0.81944 | Flagged Warnings: | 1389.1689 | 0.0061328 | 374.5294 | 1389.1688 | 348.0072 | 0.38728 | 0 | 2.9583 | 0.34956 | 0.77457 | Flagged Warnings: | 1265.8394 | 19.8084 | 0.49056 | 1410.5075 | 57.0275 | 0.30189 | [9 empty] | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:19:53 PM | 44393 | [10 empty] | 44393 | 0.99784 | 0.99783 | 0.99784
2 | K21-59-FI#3 | 0.028621 | 0.0041926 | 0.0015647 | 0.0038897 | 102.8225 | 0.003949 | 0.00061995 | 0.0039085 | 12.064 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.028621 | 0.0041926 | 0.031717 | 0.002874 | -0.23811 | 0.0036575 | SupCrit | 103.0462 | 0.0039085 | 1286.0742 | 0.0033984 | 570.2331 | 1286.0743 | 580.8993 | 0.42249 | 2.8813 | 0.36319 | 0.84497 | Flagged Warnings: | 1389.1205 | 0.0019306 | 888.7282 | 1389.1205 | 842.5951 | 0.39952 | 0 | 2.6339 | 0.31921 | 0.79904 | Flagged Warnings: | 1265.7165 | 50.3568 | 0.46828 | 1410.4667 | 103.4733 | 0.43559 | [9 empty] | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:32:26 PM | 45146 | [10 empty] | 45146 | 0.99783 | 0.99782 | 0.99783
3 | K21-61-FI#1-rep1 | 0.13343 | 0.013251 | 0.012678 | 0.0038546 | 103.087 | 0.031996 | 0.00061447 | 0.03206 | 12.046 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13343 | 0.013251 | 0.13666 | 0.01307 | -0.039921 | 0.023147 | SupCrit | 103.3123 | 0.03206 | 1285.4312 | 0.029402 | 66.2266 | 1285.4312 | 80.427 | 0.57044 | 3.3346 | 2.4779e-07 | 1.1409 | Flagged Warnings: | 1388.7435 | 0.01278 | 130.2861 | 1388.7434 | 171.0767 | 0.47513 | 0 | 2.2677 | 0.71262 | 0.95025 | Flagged Warnings: | 1264.489 | 1.0287 | 0.19335 | 1410.1393 | 19.9096 | 0.47951 | [9 empty] | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:45:44 PM | 45944 | [10 empty] | 45944 | 0.99782 | 0.99781 | 0.99783
6 | K21-61-FI#1-rep2 | 0.13003 | 0.004052 | 0.0012728 | 0.003847 | 103.0784 | 0.0032122 | 0.00061197 | 0.0031603 | 12.03 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13003 | 0.004052 | 0.13321 | 0.0027098 | -0.04612 | 0.0029993 | SupCrit | 103.304 | 0.0031603 | 1285.436 | 0.0028427 | 605.8111 | 1285.4361 | 888.1546 | 0.56995 | 2.7267 | 0.5347 | 1.1399 | Flagged Warnings: | 1388.74 | 0.0013808 | 1146.1314 | 1388.7401 | 1417.1015 | 0.48213 | 0 | 2.3038 | 0.5334 | 0.96427 | Flagged Warnings: | 1265.2731 | 60.5447 | 0.72495 | 1410.0809 | 165.3336 | 0.58034 |  |  |  | 1381.6916 | 100.9417 | 11.9749 |  |  |  | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:50:47 PM | 46247 |  |  |  |  | 1089.2192 | 763.4596 | 50.1833 | Spline | 0.33118 |  | 46247 | 0.99782 | 0.99781 | 0.99782
7 | K21-61-FI#2 | 0.12791 | 0.003938 | 0.00086201 | 0.0038425 | 103.0731 | 0.0021755 | 0.00060447 | 0.0020944 | 12.039 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12791 | 0.003938 | 0.13107 | 0.0025388 | -0.049985 | 0.0024682 | SupCrit | 103.2998 | 0.0020944 | 1285.4698 | 0.001928 | 990.7461 | 1285.4698 | 1441.0053 | 0.552 | 2.8944 | 0.59578 | 1.104 | Flagged Warnings: | 1388.7696 | 0.00081817 | 1856.6643 | 1388.7696 | 2265.8407 | 0.48287 | 0 | 2.3578 | 0.49392 | 0.96574 | Flagged Warnings: | 1265.2017 | 111.9498 | 0.78949 | 1410.1184 | 252.8165 | 0.60717 | 1370.6633 | 34.1341 | 0.23965 | 1381.7303 | 119.6476 | 11.983 |  |  |  | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:08:21 PM | 47301 | [10 empty] | 47301 | 0.99781 | 0.9978 | 0.99781
8 | K21-61-FI#3 | 0.14088 | 0.0039852 | 0.00093782 | 0.0038733 | 103.1058 | 0.0023668 | 0.00059848 | 0.0022949 | 12.052 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14088 | 0.0039852 | 0.14422 | 0.0025639 | -0.026401 | 0.0025397 | SupCrit | 103.3337 | 0.0022949 | 1285.409 | 0.0019739 | 818.181 | 1285.4091 | 1234.184 | 0.55533 | 2.3638 | 0.67106 | 1.1107 | Flagged Warnings: | 1388.7427 | 0.0011707 | 1532.2958 | 1388.7427 | 1936.3931 | 0.49314 | 0 | 2.6693 | 0.52791 | 0.98628 | Flagged Warnings: | 1265.2428 | 111.5724 | 0.75643 | 1410.0779 | 221.6573 | 0.68422 | 1370.5862 | 22.7911 | 0.24571 | 1382.5112 | 56.7598 | 12.2859 |  |  |  | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:27:18 PM | 48438 | [10 empty] | 48438 | 0.99779 | 0.99779 | 0.9978
4 | K21-63-FI#1 | 0.14291 | 0.0056824 | 0.0041527 | 0.0038788 | 103.1109 | 0.01048 | 0.00059195 | 0.010487 | 12.043 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14291 | 0.0056824 | 0.14628 | 0.0048452 | -0.022731 | 0.0077367 | SupCrit | 103.3412 | 0.010487 | 1285.311 | 0.009343 | 125.7603 | 1285.311 | 212.8683 | 0.63039 | 1.5961 | 0.6427 | 1.2608 | Flagged Warnings: | 1388.6523 | 0.0047626 | 235.989 | 1388.6522 | 322.1908 | 0.53111 | 0 | 1.4198 | 0.53332 | 1.0622 | Flagged Warnings: | 1265.2141 | 19.9912 | 0.47536 | 1409.8332 | 45.5192 | 0.79318 | [9 empty] | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:18:52 PM | 51532 | 1150.6516 | 74.0998 | 53.0388 | Spline | [5 empty] | 0.13849 | 51532 | 0.99777 | 0.99777 | 0.99778
9 | K21-64-FI#1 | 0.12898 | 0.0039963 | 0.0010901 | 0.0038447 | 103.0758 | 0.002751 | 0.00059308 | 0.0026923 | 12.041 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12898 | 0.0039963 | 0.13215 | 0.0026269 | -0.048027 | 0.0027511 | SupCrit | 103.3066 | 0.0026923 | 1285.4016 | 0.0024057 | 894.4253 | 1285.4017 | 1407.4798 | 0.58739 | 3.185 | 0.63707 | 1.1748 | Flagged Warnings: | 1388.7082 | 0.0012088 | 1644.3422 | 1388.7083 | 2140.6104 | 0.50496 | 0 | 2.4158 | 0.54345 | 1.0099 | Flagged Warnings: | 1265.1179 | 116.7718 | 0.89775 | 1410.0302 | 238.1782 | 0.65227 | 1370.3269 | 31.1913 | 0.25188 | 1381.6586 | 68.3936 | 12.5984 |  |  |  | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:37:00 PM | 52620 | 1150.6811 | 623.9834 | 433.1186 | Spline | [5 empty] | 0.17586 | 52620 | 0.99777 | 0.99776 | 0.99777
10 | K21-64-FI#2 | 0.12678 | 0.0041384 | 0.0015424 | 0.0038402 | 103.0702 | 0.0038927 | 0.00059362 | 0.0038558 | 12.044 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12678 | 0.0041384 | 0.12992 | 0.0028499 | -0.052052 | 0.0034016 | SupCrit | 103.3011 | 0.0038558 | 1285.4075 | 0.0034649 | 522.3146 | 1285.4075 | 822.3224 | 0.55999 | 2.4643 | 0.75343 | 1.12 | Flagged Warnings: | 1388.7086 | 0.0016917 | 939.2338 | 1388.7087 | 1218.1877 | 0.50767 | 0 | 2.1567 | 0.52309 | 1.0153 | Flagged Warnings: | 1265.1974 | 93.2932 | 0.88792 | 1410.0364 | 139.9623 | 0.67339 | 1369.7473 | 8.6734 | 0.253 | 1381.6641 | 77.3749 | 12.6498 |  |  |  | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:41:12 PM | 52872 | 1150.6811 | 342.3364 | 232.5738 | Spline | [5 empty] | 0.16777 | 52872 | 0.99776 | 0.99776 | 0.99777
11 | K21-64-FI#3 | 0.12647 | 0.0039289 | 0.00083295 | 0.0038396 | 103.0694 | 0.0021021 | 0.00059562 | 0.0020205 | 12.051 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12647 | 0.0039289 | 0.12962 | 0.0025292 | -0.052609 | 0.0024366 | SupCrit | 103.3007 | 0.0020205 | 1285.3809 | 0.0017366 | 1351.5572 | 1285.381 | 2160.427 | 0.58561 | 3.1109 | 0.68293 | 1.1712 | Flagged Warnings: | 1388.6816 | 0.0010328 | 2471.1072 | 1388.6817 | 3255.0643 | 0.5137 | 0 | 2.9491 | 0.53073 | 1.0274 | Flagged Warnings: | 1265.1404 | 230.634 | 0.7723 | 1410.0241 | 354.9782 | 0.65438 | 1370.3038 | 47.1513 | 0.25646 | 1381.6366 | 139.6423 | 12.8231 |  |  |  | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:52:14 PM | 53534 | 1150.6516 | 1075.7331 | 718.8957 | Spline | [5 empty] | 0.19864 | 53534 | 0.99776 | 0.99776 | 0.99777
12 | K21-64-FI#4 | 0.10738 | 0.0039058 | 0.00085511 | 0.003811 | 103.0213 | 0.0021581 | 0.00059653 | 0.0020786 | 12.06 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10738 | 0.0039058 | 0.11035 | 0.0025409 | -0.087779 | 0.0024887 | SupCrit | 103.2525 | 0.0020786 | 1285.587 | 0.0018914 | 858.2545 | 1285.5871 | 1177.0048 | 0.53105 | 2.1735 | 0.54495 | 1.0621 | Flagged Warnings: | 1388.8395 | 0.00086209 | 1543.5102 | 1388.8396 | 1810.162 | 0.46236 | 0 | 2.1793 | 0.50036 | 0.92472 | Flagged Warnings: | 1265.3366 | 125.0317 | 0.71672 | 1410.1457 | 202.3501 | 0.60845 | 1369.0911 | 4.3275 | 0.22979 | 1381.8566 | 37.3433 | 11.4896 |  |  |  | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:57:30 PM | 53850 | [10 empty] | 53850 | 0.99776 | 0.99775 | 0.99777
13 | K21-64-FI#5 | 0.12817 | 0.0039722 | 0.0010048 | 0.003843 | 103.0737 | 0.0025359 | 0.00065811 | 0.0024545 | 12.072 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12817 | 0.0039722 | 0.13134 | 0.002592 | -0.049504 | 0.002642 | SupCrit | 103.3056 | 0.0024545 | 1285.3738 | 0.0022036 | 1000.3757 | 1285.3738 | 1575.1373 | 0.58949 | 3.1759 | 0.62979 | 1.179 | Flagged Warnings: | 1388.6794 | 0.0010811 | 1874.9643 | 1388.6795 | 2443.4785 | 0.51327 | 0 | 2.6538 | 0.50913 | 1.0265 | Flagged Warnings: | 1265.1124 | 151.2963 | 0.83205 | 1410.0092 | 275.6386 | 0.67356 | 1370.3092 | 36.5692 | 0.25627 | 1385.3377 | 90.3976 | 5.1254 |  |  |  | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:51:01 PM | 60661 | 1150.6516 | 764.7156 | 491.4817 | Spline | [5 empty] | 0.19029 | 60661 | 0.99776 | 0.99775 | 0.99776
14 | K21-64-FI#6 | 0.12715 | 0.0040237 | 0.0011989 | 0.003841 | 103.0711 | 0.0030257 | 0.00066208 | 0.002959 | 12.071 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12715 | 0.0040237 | 0.1303 | 0.0026753 | -0.051377 | 0.0029014 | SupCrit | 103.303 | 0.002959 | 1285.3626 | 0.0026502 | 742.5474 | 1285.3627 | 1180.274 | 0.59289 | 2.7684 | 0.63881 | 1.1858 | Flagged Warnings: | 1388.6656 | 0.0013161 | 1382.9996 | 1388.6656 | 1818.5056 | 0.51481 | 0 | 2.4062 | 0.519 | 1.0296 | Flagged Warnings: | 1265.0391 | 82.8949 | 0.74739 | 1410.0037 | 197.4755 | 0.70581 | 1370.2643 | 27.5249 | 0.25717 | 1381.626 | 46.9074 | 12.8587 |  |  |  | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:55:53 PM | 60953 | 1150.6516 | 596.5268 | 388.5547 | Spline | [5 empty] | 0.19892 | 60953 | 0.99776 | 0.99775 | 0.99776
15 | K21-64-FI#7 | 0.12899 | 0.0039713 | 0.00099472 | 0.0038447 | 103.0758 | 0.0025104 | 0.00066604 | 0.0024259 | 12.067 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12899 | 0.0039713 | 0.13216 | 0.0025879 | -0.04801 | 0.0026279 | SupCrit | 103.3075 | 0.0024259 | 1285.3415 | 0.0020488 | 1181.5734 | 1285.3415 | 1933.0424 | 0.60632 | 3.2917 | 0.65483 | 1.2126 | Flagged Warnings: | 1388.649 | 0.001299 | 2187.7212 | 1388.6491 | 2884.3531 | 0.51164 | 0 | 3.4451 | 0.54523 | 1.0233 | Flagged Warnings: | 1265.1043 | 207.7575 | 0.81419 | 1410.0114 | 337.8605 | 0.65368 |  |  |  | 1381.6146 | 184.4323 | 12.7796 |  |  |  | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 5:00:34 PM | 61234 | 1150.6221 | 1072.472 | 694.9994 | Spline | [5 empty] | 0.22262 | 61234 | 0.99776 | 0.99775 | 0.99776
5 | K21-64-FI#8 | 0.12179 | 0.0050023 | 0.0032167 | 0.0038309 | 103.0576 | 0.008118 | 0.00067049 | 0.0081085 | 12.058 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12179 | 0.0050023 | 0.12488 | 0.0040323 | -0.061193 | 0.006204 | SupCrit | 103.2892 | 0.0081085 | 1285.3928 | 0.0071559 | 158.7535 | 1285.3928 | 250.5834 | 0.61933 | 1.2653 | 0.51096 | 1.2387 | Flagged Warnings: | 1388.6821 | 0.0038131 | 296.3997 | 1388.682 | 394.1667 | 0.51413 | 0 | 1.5516 | 0.54908 | 1.0283 | Flagged Warnings: | 1265.263 | 16.7832 | 0.57158 | 1410.0536 | 45.7055 | 0.66478 | [9 empty] | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 5:05:53 PM | 61553 | 1150.6221 | 108.2799 | 71.5227 | Spline | [5 empty] | 0.16794 | 61553 | 0.99776 | 0.99775 | 0.99776