## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_SO2 | Peak_Area_SO2 | Peak_Height_SO2 | Model_name_x | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name_y | Carb_Diad_Ratio | SO2_Diad_Ratio | SO2_mol_ratio | time | preferred_values | lower_values | upper_values
0 | K23_10_FIA_50X | 0.1312 | 0.0040918 | 0.0013872 | 0.0038495 | 103.0814 | 0.0035009 | 0.00026146 | 0.0034993 | 12.044 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1312 | 0.0040918 | 0.1344 | 0.0027667 | -0.043983 | 0.0031613 | SupCrit | 103.3216 | 0.0034993 | 1285.5299 | 0.0032168 | 1366.8092 | 1285.5299 | 2180.4987 | 0.58575 | 6.0041 | 0.67764 | 1.1715 | Flagged Warnings: | 1388.8516 | 0.0013775 | 2432.163 | 1388.8515 | 3187.5054 | 0.50894 | 0 | 5.1842 | 0.53758 | 1.0179 | Flagged Warnings: | 1265.3824 | 267.9378 | 0.90836 | 1410.1628 | 310.0657 | 0.66058 | [9 empty] | 1.1641 | 1.1522 | 0.19228 | 0.00085711 | 1.1009 | 1.1 | 0.10272 | 0.00041851 | PseudoVoigtModel | PseudoVoigtModel | September 20, 2023 | September | 20 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 2:25:32 PM | 51932 | 1150.8318 | 704.8235 | 423.6975 | PseudoVoigtModel | [5 empty] | 0.1313 | 0.053686 | 51932 | 0.99767 | 0.99767 | 0.99768
1 | K23_1_FIA_50X | 0.14484 | 0.0039807 | 0.00087052 | 0.0038843 | 103.1158 | 0.0021969 | 0.00025846 | 0.0021868 | 12.185 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14484 | 0.0039807 | 0.14824 | 0.0025386 | -0.019247 | 0.0024545 | SupCrit | 103.357 | 0.0021868 | 1285.4835 | 0.0019451 | 1293.3061 | 1285.4835 | 2058.8974 | 0.59089 | 3.926 | 0.65119 | 1.1818 | Flagged Warnings: | 1388.8405 | 0.00099935 | 2241.2712 | 1388.8405 | 2983.5837 | 0.51054 | 0 | 3.7209 | 0.5695 | 1.0211 | Flagged Warnings: | 1265.3063 | 230.385 | 0.871 | 1410.2061 | 331.8762 | 0.66941 | [9 empty] | 1.181 | 1.1466 | 0.21391 | 0.00091376 | 1.0811 | 1.0818 | 0.08279 | 0.00045558 | PseudoVoigtModel | PseudoVoigtModel | September 20, 2023 | September | 20 | 45 | 3 | 50 | ['0h', '2m', '16s'] | 2:33:31 PM | 52411 | [11 empty] | 52411 | 0.99767 | 0.99766 | 0.99767
2 | K23_1_FIA_50X_r2_longeraq | 0.1412 | 0.0039378 | 0.00070504 | 0.0038741 | 103.1066 | 0.0017793 | 0.00025735 | 0.0017647 | 12.237 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1412 | 0.0039378 | 0.14455 | 0.0024857 | -0.025817 | 0.0022796 | SupCrit | 103.3481 | 0.0017647 | 1285.4944 | 0.0015493 | 1856.1983 | 1285.4945 | 2970.5099 | 0.59306 | 4.6912 | 0.65503 | 1.1861 | Flagged Warnings: | 1388.8426 | 0.00084501 | 3279.0666 | 1388.8426 | 4389.5853 | 0.51331 | 0 | 4.9475 | 0.56995 | 1.0266 | Flagged Warnings: | 1265.2461 | 354.1394 | 0.90793 | 1410.207 | 484.9382 | 0.71333 | [9 empty] | 1.1982 | 1.1852 | 0.23509 | 0.00063901 | 1.0655 | 1.0671 | 0.067219 | 0.00031308 | PseudoVoigtModel | PseudoVoigtModel | September 20, 2023 | September | 20 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 2:36:33 PM | 52593 | [11 empty] | 52593 | 0.99766 | 0.99766 | 0.99767
3 | K23_2_FIA_50X | 0 | 0 | 0 | 0 | 102.7607 | 0.032653 | 0.00025174 | 0.032729 | 11.964 | 1325.004 | 0 | 0 | Y | not in range |  |  | 0.0041259 | 0.013536 | 0.0074865 | 0.013006 | -0.28658 | 0.025898 | SupCrit | 103.0029 | 0.032729 | 1286.3593 | 0.02928 | 46.3985 | 1286.3593 | 46.4798 | 0.47054 | 1.8392 | 2.1103e-06 | 0.94108 | Flagged Warnings: | 1389.3622 | 0.014625 | 79.6494 | 1389.3622 | 68.1658 | 0.35959 | 0 | 1.8213 | 0.32728 | 0.71917 | Flagged Warnings: | [15 empty] | 1.195 | 1.2011 | 0.18354 | 0.020283 | 1.0345 | 1.0389 | 0.024799 | 0.0090293 | PseudoVoigtModel | PseudoVoigtModel | September 20, 2023 | September | 20 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 2:52:03 PM | 53523 | 1151.599 | 54.3941 | 27.662 | PseudoVoigtModel | [5 empty] | 0.47445 | 0.17012 | 53523 | 0.99765 | 0.99765 | 0.99765
4 | K23_2_FIB_50X | 0.064083 | 0.004038 | 0.0013225 | 0.0038153 | 102.912 | 0.0033377 | 0.00025092 | 0.0033362 | 11.935 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.064083 | 0.004038 | 0.066967 | 0.0027435 | -0.16938 | 0.0031986 | SupCrit | 103.155 | 0.0033362 | 1285.9904 | 0.0028969 | 631.307 | 1285.9905 | 772.5818 | 0.48224 | 2.5427 | 0.49987 | 0.96447 | Flagged Warnings: | 1389.1455 | 0.0016547 | 1028.4655 | 1389.1455 | 1151.6044 | 0.45694 | 0 | 2.1434 | 0.40719 | 0.91388 | Flagged Warnings: | 1265.6954 | 79.487 | 0.53915 | 1410.47 | 121.667 | 0.46986 | [9 empty] | 1.2526 | 1.2668 | 0.24366 | 0.0015277 | 1.0951 | 1.1225 | 0.086871 | 0.00088858 | PseudoVoigtModel | PseudoVoigtModel | September 20, 2023 | September | 20 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:56:49 PM | 53809 | 1151.1375 | 210.8937 | 127.2786 | PseudoVoigtModel | [5 empty] | 0.1096 | 0.045215 | 53809 | 0.99764 | 0.99764 | 0.99765
5 | K23_2_FIC_50X | 0.071208 | 0.0042023 | 0.0017773 | 0.0038079 | 102.93 | 0.0044854 | 0.00024903 | 0.0044891 | 12.002 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.071208 | 0.0042023 | 0.074078 | 0.0029875 | -0.15577 | 0.0039057 | SupCrit | 103.1739 | 0.0044891 | 1285.9552 | 0.0038416 | 415.3523 | 1285.9553 | 534.6267 | 0.50017 | 2.1881 | 0.53603 | 1.0003 | Flagged Warnings: | 1389.1292 | 0.0023226 | 679.339 | 1389.1292 | 775.5403 | 0.46409 | 0 | 2.0535 | 0.41748 | 0.92818 | Flagged Warnings: | 1265.6508 | 56.9339 | 0.68413 | 1410.4938 | 82.5284 | 0.43891 | [9 empty] | 1.202 | 1.2015 | 0.20202 | 0.0024084 | 1.0672 | 1.0886 | 0.06234 | 0.0013663 | PseudoVoigtModel | PseudoVoigtModel | September 20, 2023 | September | 20 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 3:06:03 PM | 54363 | [11 empty] | 54363 | 0.99764 | 0.99763 | 0.99764
6 | K23_4_FIA_50X | 0.03693 | 0.0047854 | 0.0028193 | 0.0038667 | 102.8435 | 0.0071152 | 0.00024684 | 0.0071279 | 12.061 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.03693 | 0.0047854 | 0.039956 | 0.0036968 | -0.22185 | 0.0058459 | SupCrit | 103.0883 | 0.0071279 | 1286.1644 | 0.0064216 | 235.2814 | 1286.1644 | 270.1399 | 0.47099 | 2.0644 | 0.39299 | 0.94199 | Flagged Warnings: | 1389.2528 | 0.0030935 | 404.4096 | 1389.2527 | 418.6721 | 0.42911 | 0 | 1.6673 | 0.36483 | 0.85822 | Flagged Warnings: |  |  |  | 1410.5445 | 49.0975 | 0.35909 | [9 empty] | 1.0036 | 1.0026 | 0.0033884 | 0.0040037 | 1.2519 | 1.284 | 0.21622 | 0.0021222 | PseudoVoigtModel | PseudoVoigtModel | September 20, 2023 | September | 20 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:19:58 PM | 55198 | [11 empty] | 55198 | 0.99762 | 0.99762 | 0.99763
7 | K23_4_FIB_50X | 0.12722 | 0.0046883 | 0.0026882 | 0.0038411 | 103.0713 | 0.0067843 | 0.00024694 | 0.006796 | 12.058 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12722 | 0.0046883 | 0.13037 | 0.0036174 | -0.051253 | 0.0052692 | SupCrit | 103.3171 | 0.006796 | 1285.6136 | 0.0063667 | 323.9399 | 1285.6136 | 493.5011 | 0.5832 | 2.5921 | 0.57394 | 1.1664 | Flagged Warnings: | 1388.9307 | 0.0023773 | 558.8992 | 1388.9307 | 732.1903 | 0.51313 | 0 | 1.6164 | 0.51549 | 1.0263 | Flagged Warnings: |  |  |  | 1410.3456 | 79.5931 | 0.68969 | [9 empty] | 1.0176 | 1.0273 | 0.020523 | 0.0036007 | 1.2215 | 1.2214 | 0.22729 | 0.0018362 | PseudoVoigtModel | PseudoVoigtModel | September 20, 2023 | September | 20 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:25:10 PM | 55510 | [11 empty] | 55510 | 0.99762 | 0.99762 | 0.99762
8 | K23_6_FIA_50X | 0.13208 | 0.0038988 | 0.00060529 | 0.0038515 | 103.0836 | 0.0015276 | 0.00024658 | 0.0015111 | 12.018 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13208 | 0.0038988 | 0.13529 | 0.0024606 | -0.042375 | 0.002194 | SupCrit | 103.3304 | 0.0015111 | 1285.5688 | 0.0012557 | 1945.5081 | 1285.5689 | 3042.2581 | 0.59342 | 3.7045 | 0.59625 | 1.1868 | Flagged Warnings: | 1388.8993 | 0.00084071 | 3418.7348 | 1388.8993 | 4596.2455 | 0.51398 | 0 | 4.5327 | 0.57752 | 1.028 | Flagged Warnings: | 1265.3215 | 359.0464 | 0.90692 | 1410.2598 | 509.6529 | 0.72783 | [9 empty] | 1.0947 | 1.0955 | 0.11236 | 0.00061004 | 1.1974 | 1.1901 | 0.20293 | 0.00030068 | PseudoVoigtModel | PseudoVoigtModel | September 20, 2023 | September | 20 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 3:38:01 PM | 56281 | 1150.918 | 81.2367 | 56.9919 | PseudoVoigtModel | [5 empty] | 0.010635 | 0.0045742 | 56281 | 0.99761 | 0.99761 | 0.99761
9 | K23_7_FIA_50X | 0.1181 | 0.0038943 | 0.0007323 | 0.0038248 | 103.0483 | 0.0018481 | 0.00024693 | 0.001836 | 11.964 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1181 | 0.0038943 | 0.12115 | 0.002499 | -0.067971 | 0.0023365 | SupCrit | 103.2957 | 0.001836 | 1285.6087 | 0.0015897 | 1678.1543 | 1285.6088 | 2690.7278 | 0.60184 | 3.798 | 0.62352 | 1.2037 | Flagged Warnings: | 1388.9046 | 0.00091844 | 2949.6096 | 1388.9045 | 4002.8532 | 0.5217 | 0 | 4.219 | 0.56344 | 1.0434 | Flagged Warnings: | 1265.3372 | 303.0848 | 0.77388 | 1410.2372 | 433.3314 | 0.70604 | [9 empty] | 1.0256 | 1.0534 | 0.030776 | 0.00071726 | 1.2032 | 1.1936 | 0.21205 | 0.00035374 | PseudoVoigtModel | PseudoVoigtModel | September 20, 2023 | September | 20 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:48:44 PM | 56924 | 1150.8161 | 1487.1165 | 878.7502 | PseudoVoigtModel | [5 empty] | 0.22217 | 0.087587 | 56924 | 0.9976 | 0.9976 | 0.99761
10 | K23_7_FIB_50X | 0.11566 | 0.0040036 | 0.0011947 | 0.0038211 | 103.0421 | 0.0030152 | 0.0002477 | 0.0030122 | 11.93 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11566 | 0.0040036 | 0.11869 | 0.0026749 | -0.072472 | 0.002916 | SupCrit | 103.2901 | 0.0030122 | 1285.638 | 0.0026701 | 620.6926 | 1285.638 | 964.5465 | 0.59208 | 2.4212 | 0.58621 | 1.1842 | Flagged Warnings: | 1388.9281 | 0.0013943 | 1087.3088 | 1388.9281 | 1457.9228 | 0.51718 | 0 | 2.3551 | 0.555 | 1.0344 | Flagged Warnings: | 1265.414 | 115.2448 | 0.79576 | 1410.2619 | 172.2313 | 0.69095 | [9 empty] | 1.0261 | 1.0082 | 0.030891 | 0.0019078 | 1.2233 | 1.2186 | 0.23101 | 0.00095131 | PseudoVoigtModel | PseudoVoigtModel | September 20, 2023 | September | 20 | 45 | 3 | 50 | ['0h', '2m', '16s'] | 3:56:46 PM | 57406 | 1150.8661 | 415.1866 | 256.3174 | PseudoVoigtModel | [5 empty] | 0.17139 | 0.068948 | 57406 | 0.9976 | 0.9976 | 0.9976
11 | K23_7_FIC_50X | 0.11289 | 0.0040654 | 0.0013982 | 0.0038173 | 103.0351 | 0.0035288 | 0.00024871 | 0.0035285 | 11.904 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11289 | 0.0040654 | 0.11589 | 0.0027738 | -0.07759 | 0.0032146 | SupCrit | 103.2835 | 0.0035285 | 1285.6373 | 0.0031224 | 468.9698 | 1285.6374 | 724.4513 | 0.59913 | 1.8892 | 0.54089 | 1.1983 | Flagged Warnings: | 1388.9209 | 0.0016434 | 818.9546 | 1388.9208 | 1108.0061 | 0.5153 | 0 | 2.1712 | 0.58695 | 1.0306 | Flagged Warnings: | 1265.3519 | 65.8018 | 0.62042 | 1410.2636 | 125.9739 | 0.59694 | [9 empty] | 1.0229 | 1.0102 | 0.027467 | 0.0025551 | 1.2178 | 1.2125 | 0.22449 | 0.0012584 | PseudoVoigtModel | PseudoVoigtModel | September 20, 2023 | September | 20 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 4:03:58 PM | 57838 | 1150.8298 | 390.0053 | 230.4689 | PseudoVoigtModel | [5 empty] | 0.21283 | 0.084215 | 57838 | 0.9976 | 0.99759 | 0.9976
12 | K23_9_FIA_50X | 0.083408 | 0.0047239 | 0.0028043 | 0.0038014 | 102.9608 | 0.0070772 | 0.00025094 | 0.0070898 | 11.867 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.083408 | 0.0047239 | 0.086277 | 0.0036929 | -0.13264 | 0.0056374 | SupCrit | 103.2095 | 0.0070898 | 1285.9036 | 0.0061087 | 331.7714 | 1285.9037 | 447.49 | 0.54297 | 2.5477 | 0.44356 | 1.0859 | Flagged Warnings: | 1389.1132 | 0.0035986 | 559.2131 | 1389.1132 | 675.7271 | 0.48867 | 0 | 2.5745 | 0.43151 | 0.97734 | Flagged Warnings: | 1265.6857 | 52.2542 | 0.71843 | 1410.5063 | 111.6444 | 0.46336 | [9 empty] | 1.0257 | 1.0335 | 0.027924 | 0.0032732 | 1.0387 | 1.036 | 0.037855 | 0.0017477 | PseudoVoigtModel | PseudoVoigtModel | September 20, 2023 | September | 20 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 4:16:03 PM | 58563 | [11 empty] | 58563 | 0.99759 | 0.99759 | 0.99759
13 | K23_101_FID_50X | 0.09968 | 0.0050903 | 0.0033816 | 0.0038047 | 103.0018 | 0.0085341 | 0.00026364 | 0.0085508 | 11.85 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.09968 | 0.0050903 | 0.1026 | 0.0041565 | -0.10211 | 0.0065955 | SupCrit | 103.2521 | 0.0085508 | 1285.8204 | 0.0073705 | 667.9908 | 1285.8204 | 936.6403 | 0.56818 | 6.2442 | 0.42622 | 1.1364 | Flagged Warnings: | 1389.0726 | 0.0043349 | 1087.4393 | 1389.0725 | 1340.5603 | 0.49986 | 0 | 6.2716 | 0.42438 | 0.99973 | Flagged Warnings: | 1265.4621 | 109.2723 | 0.54588 | 1410.4536 | 147.7441 | 0.63126 | [9 empty] | 1.1017 | 1.0681 | 0.11562 | 0.0017012 | 1.0309 | 1.0476 | 0.030919 | 0.00091934 | PseudoVoigtModel | PseudoVoigtModel | September 20, 2023 | September | 20 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:53:25 PM | 60805 | 1151.0729 | 108.7755 | 74.4991 | PseudoVoigtModel | [5 empty] | 0.047767 | 0.020222 | 60805 | 0.99758 | 0.99757 | 0.99758
14 | K23_101_FIC_50X | 0.085669 | 0.0078128 | 0.0068258 | 0.0038011 | 102.9665 | 0.017226 | 0.00026569 | 0.017266 | 11.847 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.085669 | 0.0078128 | 0.088541 | 0.0072463 | -0.12838 | 0.013009 | SupCrit | 103.2168 | 0.017266 | 1285.8943 | 0.014398 | 406.318 | 1285.8944 | 568.0998 | 0.56015 | 8.5911 | 0.45697 | 1.1203 | Flagged Warnings: | 1389.1112 | 0.0095305 | 639.0114 | 1389.1112 | 738.5942 | 0.48704 | 0 | 7.8967 | 0.31932 | 0.97407 | Flagged Warnings: | 1265.8232 | 131.2439 | 1.0459 | 1410.4482 | 71.6198 | 0.49685 | [9 empty] | 1.0166 | 1.0085 | 0.018569 | 0.0027572 | 1.035 | 1.0437 | 0.034058 | 0.0015243 | PseudoVoigtModel | PseudoVoigtModel | September 20, 2023 | September | 20 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:58:12 PM | 61092 |  |  |  |  | 1097.1771 | 16.2451 | 24.952 | Spline | 0.012432 |  |  | 61092 | 0.99757 | 0.99757 | 0.99758
15 | K23_102_FIA | 0.11234 | 0.0044971 | 0.0023784 | 0.0038167 | 103.0338 | 0.0060025 | 0.00027241 | 0.0060109 | 11.854 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11234 | 0.0044971 | 0.11535 | 0.0033847 | -0.078591 | 0.0047945 | SupCrit | 103.2845 | 0.0060109 | 1285.6923 | 0.0054449 | 477.3952 | 1285.6924 | 795.8623 | 0.67013 | 3.3781 | 0.44778 | 1.3403 | Flagged Warnings: | 1388.9769 | 0.0025463 | 872.4458 | 1388.9769 | 1183.4644 | 0.5249 | 0 | 3.1935 | 0.54686 | 1.0498 | Flagged Warnings: | 1265.5136 | 126.2248 | 0.85017 | 1410.3918 | 185.5498 | 0.63079 | [9 empty] | 1.0075 | 1.0706 | 0.010002 | 0.0028075 | 1.1953 | 1.2075 | 0.20501 | 0.0012033 | PseudoVoigtModel | PseudoVoigtModel | September 20, 2023 | September | 20 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 5:11:34 PM | 61894 | [11 empty] | 61894 | 0.99757 | 0.99757 | 0.99757