## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | time | preferred_values | lower_values | upper_values
20 | POC1 | 0.95198 | 0.00181 | 0.00085923 | 0.001593 | 105.0115 | 0.0027737 | 0.0022482 | 0.0016235 |  | 1341 | 0 | 0 | Y | SupCrit, high density |  |  | 0.89601 | 0.011983 | 1.0734 | 0.0030444 | 0.95198 | 0.00181 | SupCrit | 104.9478 | 0.0016235 | 1281.7829 | 0.0014046 | 19925.5918 | 1281.7828 | 59223.8253 | 1.0722 | 22.2596 | 0.7479 | 2.1444 | Flagged Warnings: | 1386.7307 | 0.00081404 | 38316.9488 | 1386.7307 | 110740.8027 | 1.0319 | 0 | 30.0909 | 0.76239 | 2.0638 | Flagged Warnings: | 1261.675 | 8071.3726 | 3.2143 | 1408.0452 | 9990.1154 | 2.8823 | 1369.5303 | 1318.7869 | 0.5152 | 1387.1243 | 10605.7751 | 15.1279 | 1283.4498 | 6552.3361 | 12.0219 | November 28, 2020 | November | 28 | 10 | 5 | 5 | ['0h', '0m', '52s'] | 5:52:07 PM | 64327 | 64327 | 1.0006 | 1.0006 | 1.0006
31 | POC2 | 0.93267 | 0.0018337 | 0.00091239 | 0.0015906 | 104.9505 | 0.0028263 | 0.0022461 | 0.0017144 |  | 1341 | 0 | 0 | Y | SupCrit, high density |  |  | 0.87182 | 0.011666 | 1.0362 | 0.0030331 | 0.93267 | 0.0018337 | SupCrit | 104.8868 | 0.0017144 | 1281.889 | 0.001501 | 30344.9704 | 1281.8889 | 89788.6564 | 1.0716 | 33.7287 | 0.73808 | 2.1431 | Flagged Warnings: | 1386.7758 | 0.00082844 | 58208.9213 | 1386.7757 | 166901.71 | 1.0264 | 0 | 46.8725 | 0.75553 | 2.0527 | Flagged Warnings: | 1261.7897 | 12373.0795 | 3.2119 | 1408.0802 | 15464.0925 | 2.8 | 1369.5449 | 1991.0297 | 0.51238 | 1386.9076 | 15445.9218 | 15.2524 | 1283.976 | 9617.112 | 11.8211 | November 28, 2020 | November | 28 | 15 | 5 | 5 | ['0h', '1m', '17s'] | 6:04:56 PM | 65096 | 65096 | 1.0006 | 1.0006 | 1.0006
42 | POC3 | 0.90446 | 0.0018702 | 0.00098695 | 0.0015886 | 104.8655 | 0.0028945 | 0.0022439 | 0.0018273 |  | 1341 | 0 | 0 | Y | SupCrit, high density |  |  | 0.83815 | 0.011227 | 0.98544 | 0.0030163 | 0.90446 | 0.0018702 | SupCrit | 104.8019 | 0.0018273 | 1282.0368 | 0.0015894 | 29839.5268 | 1282.0368 | 87994.2849 | 1.0735 | 33.3369 | 0.72465 | 2.1469 | Flagged Warnings: | 1386.8387 | 0.0009016 | 57199.5974 | 1386.8387 | 162202.727 | 1.0214 | 0 | 46.8332 | 0.74015 | 2.0427 | Flagged Warnings: | 1261.9725 | 12483.8796 | 3.2185 | 1408.1711 | 15273.7574 | 2.6635 | 1369.549 | 1940.5716 | 0.50986 | 1386.7427 | 14470.5483 | 15.3391 | 1284.7066 | 8747.0101 | 11.3754 | November 28, 2020 | November | 28 | 15 | 5 | 5 | ['0h', '1m', '17s'] | 6:12:40 PM | 65560 | 65560 | 1.0006 | 1.0006 | 1.0006
52 | POC4 | 0.86873 | 0.0018974 | 0.0010379 | 0.0015883 | 104.7639 | 0.0028618 | 0.0022414 | 0.0017783 |  | 1341 | 0 | 0 | Y | SupCrit, high density |  |  | 0.79791 | 0.0107 | 0.92638 | 0.0029604 | 0.86873 | 0.0018974 | SupCrit | 104.7004 | 0.0017783 | 1282.2216 | 0.0015215 | 28888.8867 | 1282.2215 | 85184.4594 | 1.0761 | 31.2247 | 0.71556 | 2.1523 | Flagged Warnings: | 1386.922 | 0.00092044 | 55487.6236 | 1386.9219 | 155009.3448 | 1.011 | 0 | 46.5734 | 0.72798 | 2.0219 | Flagged Warnings: | 1262.1422 | 11935.8168 | 3.119 | 1408.2515 | 15207.2546 | 2.5225 | 1369.5705 | 1874.8761 | 0.50483 | 1385.8444 | 13093.3503 | 15.2145 | 1285.1093 | 7978.5273 | 12.1483 | November 28, 2020 | November | 28 | 15 | 5 | 5 | ['0h', '1m', '17s'] | 6:17:17 PM | 65837 | 65837 | 1.0006 | 1.0006 | 1.0006
53 | POC5 | 0.84992 | 0.0019194 | 0.0010764 | 0.0015891 | 104.7128 | 0.0028812 | 0.0022401 | 0.0018108 |  | 1341 | 0 | 0 | Y | SupCrit, high density |  |  | 0.77765 | 0.010439 | 0.89729 | 0.0029449 | 0.84992 | 0.0019194 | SupCrit | 104.6493 | 0.0018108 | 1282.3149 | 0.0015702 | 28671.2604 | 1282.3148 | 84679.1991 | 1.0825 | 32.4195 | 0.70496 | 2.165 | Flagged Warnings: | 1386.9642 | 0.00090192 | 55425.9696 | 1386.9641 | 153543.8896 | 1.0039 | 0 | 45.096 | 0.72409 | 2.0078 | Flagged Warnings: | 1262.243 | 12070.2184 | 3.1146 | 1408.3012 | 15077.7563 | 2.4979 | 1369.5883 | 1898.3702 | 0.50122 | 1385.8897 | 12728.3085 | 15.4232 | 1285.6733 | 7530.8274 | 11.6305 | November 28, 2020 | November | 28 | 15 | 5 | 5 | ['0h', '1m', '17s'] | 6:22:17 PM | 66137 | 66137 | 1.0006 | 1.0006 | 1.0006
54 | POC6 | 0.82848 | 0.0019335 | 0.0010992 | 0.0015907 | 104.6564 | 0.0028501 | 0.0022387 | 0.0017628 |  | 1341 | 0 | 0 | Y | SupCrit, high density |  |  | 0.75528 | 0.010148 | 0.86563 | 0.0029124 | 0.82848 | 0.0019335 | SupCrit | 104.5929 | 0.0017628 | 1282.4225 | 0.0015415 | 27808.766 | 1282.4225 | 82328.2465 | 1.0867 | 31.6095 | 0.69984 | 2.1734 | Flagged Warnings: | 1387.0153 | 0.00085517 | 53957.838 | 1387.0153 | 148632.289 | 0.99796 | 0 | 43.3931 | 0.72369 | 1.9959 | Flagged Warnings: | 1262.4004 | 11756.3833 | 3.1087 | 1408.3623 | 14873.4235 | 2.4236 | 1369.5901 | 1846.3033 | 0.49815 | 1385.1862 | 11808.682 | 15.8625 | 1286.3702 | 6886.8761 | 11.6794 | November 28, 2020 | November | 28 | 15 | 5 | 5 | ['0h', '1m', '17s'] | 6:26:42 PM | 66402 | 66402 | 1.0006 | 1.0006 | 1.0006
55 | POC7 | 0.80311 | 0.0019509 | 0.0011257 | 0.0015933 | 104.5917 | 0.0028179 | 0.0022371 | 0.0017124 |  | 1341 | 0 | 0 | Y | SupCrit, high density |  |  | 0.72967 | 0.009818 | 0.83 | 0.0028779 | 0.80311 | 0.0019509 | SupCrit | 104.5283 | 0.0017124 | 1282.5567 | 0.0015296 | 26093.9626 | 1282.5566 | 77628.5127 | 1.0966 | 29.2967 | 0.68848 | 2.1931 | Flagged Warnings: | 1387.0848 | 0.00076993 | 50879.2266 | 1387.0849 | 138780.2154 | 0.99197 | 0 | 38.8341 | 0.71393 | 1.9839 | Flagged Warnings: | 1262.4885 | 10952.6966 | 2.995 | 1408.4339 | 13991.5154 | 2.3575 | 1369.6063 | 1717.8996 | 0.49499 | 1384.9612 | 10576.8081 | 15.7915 | 1286.5834 | 6166.3542 | 11.8919 | November 28, 2020 | November | 28 | 15 | 5 | 5 | ['0h', '1m', '17s'] | 6:30:47 PM | 66647 | 66647 | 1.0006 | 1.0006 | 1.0006
56 | POC8 | 0.76777 | 0.0019876 | 0.0011814 | 0.0015984 | 104.5053 | 0.0028267 | 0.0022351 | 0.0017294 |  | 1341 | 0 | 0 | Y | SupCrit, high density |  |  | 0.69541 | 0.0093818 | 0.7833 | 0.002849 | 0.76777 | 0.0019876 | SupCrit | 104.4418 | 0.0017294 | 1282.731 | 0.0015953 | 14917.9851 | 1282.731 | 44962.5491 | 1.1072 | 17.6102 | 0.69299 | 2.2143 | Flagged Warnings: | 1387.1728 | 0.00066769 | 29356.8398 | 1387.1728 | 79228.1387 | 0.98001 | 0 | 22.1565 | 0.71634 | 1.96 | Flagged Warnings: | 1262.6559 | 6273.3603 | 2.9209 | 1408.5104 | 8305.2215 | 2.2699 | 1369.6298 | 1005.9154 | 0.48877 | 1383.9255 | 5680.5513 | 16.0884 | 1288.0227 | 3067.0503 | 12.5305 | November 28, 2020 | November | 28 | 15 | 5 | 5 | ['0h', '1m', '17s'] | 6:35:10 PM | 66910 | 66910 | 1.0006 | 1.0006 | 1.0006
57 | POC9 | 0.74341 | 0.0020146 | 0.0012207 | 0.0016026 | 104.4478 | 0.0028373 | 0.0022336 | 0.0017487 |  | 1341 | 0 | 0 | Y | SupCrit, high density |  |  | 0.67265 | 0.0090947 | 0.75287 | 0.0028322 | 0.74341 | 0.0020146 | SupCrit | 104.3844 | 0.0017487 | 1282.8502 | 0.0015908 | 3950.4459 | 1282.85 | 11926.1965 | 1.1077 | 5.2875 | 0.69354 | 2.2155 | Flagged Warnings: | 1387.2344 | 0.00072614 | 7749.4402 | 1387.2344 | 20845.3623 | 0.97987 | 0 | 6.0352 | 0.70773 | 1.9597 | Flagged Warnings: | 1262.793 | 1712.2737 | 2.9158 | 1408.5846 | 2158.7181 | 2.2582 | 1369.6458 | 268.8583 | 0.4886 | 1383.4519 | 1364.2775 | 15.9614 | 1289.696 | 695.0374 | 11.6916 | November 28, 2020 | November | 28 | 15 | 5 | 5 | ['0h', '1m', '17s'] | 6:41:59 PM | 67319 | 67319 | 1.0006 | 1.0006 | 1.0006
21 | POC10 | 0.71242 | 0.0027975 | 0.0014433 | 0.0023964 | 104.3701 | 0.0028018 | 0.0022317 | 0.0016929 |  | 1341 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.64185 | 0.008707 | 0.71242 | 0.0027975 | 0.70932 | 0.0020392 | SupCrit | 104.3067 | 0.0016929 | 1283.0134 | 0.0015098 | 3840.0095 | 1283.0134 | 11741.2259 | 1.1346 | 5.0574 | 0.66707 | 2.2691 | Flagged Warnings: | 1387.3201 | 0.00076566 | 7637.018 | 1387.3201 | 20283.2356 | 0.97497 | 0 | 6.4039 | 0.68883 | 1.9499 | Flagged Warnings: | 1262.9425 | 1636.1698 | 2.7903 | 1408.688 | 2081.0286 | 2.1128 | 1369.6696 | 260.2808 | 0.48612 | 1384.4942 | 1368.0826 | 16.9268 | 1288.7797 | 699.725 | 11.988 | November 28, 2020 | November | 28 | 20 | 5 | 5 | ['0h', '1m', '42s'] | 6:46:47 PM | 67607 | 67607 | 1.0006 | 1.0006 | 1.0006
22 | POC11 | 0.68373 | 0.0028307 | 0.0015182 | 0.0023891 | 104.314 | 0.0029902 | 0.0022303 | 0.0019905 |  | 1341 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.61962 | 0.0084413 | 0.68373 | 0.0028307 | 0.68392 | 0.0021194 | SupCrit | 104.2507 | 0.0019905 | 1283.1388 | 0.0018309 | 3180.5851 | 1283.1388 | 9823.9872 | 1.168 | 4.4874 | 0.62138 | 2.3359 | Flagged Warnings: | 1387.3894 | 0.00078098 | 6469.9722 | 1387.3895 | 17129.6909 | 0.96409 | 0 | 5.2558 | 0.70682 | 1.9282 | Flagged Warnings: | 1263.0677 | 1171.9241 | 2.3933 | 1408.7563 | 1840.6249 | 2.0657 | 1369.7258 | 211.2616 | 0.48083 | 1381.1923 | 993.9579 | 16.0698 | 1283.2238 | 835.6191 | 17.6995 | November 28, 2020 | November | 28 | 20 | 5 | 5 | ['0h', '1m', '42s'] | 6:52:56 PM | 67976 | 67976 | 1.0006 | 1.0006 | 1.0006
23 | POC12 | 0.64002 | 0.0027608 | 0.0014011 | 0.0023788 | 104.227 | 0.0028206 | 0.0022283 | 0.0017283 |  | 1341 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.58514 | 0.0080095 | 0.64002 | 0.0027608 | 0.64318 | 0.0021111 | SupCrit | 104.1637 | 0.0017283 | 1283.3212 | 0.0015395 | 4283.6826 | 1283.3213 | 13368.4487 | 1.1884 | 5.0687 | 0.60274 | 2.3768 | Flagged Warnings: | 1387.4849 | 0.00078548 | 8737.2607 | 1387.4849 | 22927.441 | 0.96781 | 0 | 7.2986 | 0.67633 | 1.9356 | Flagged Warnings: | 1263.2538 | 1537.3789 | 2.2732 | 1408.8616 | 2412.3767 | 1.9652 | 1369.7256 | 288.9076 | 0.48268 | 1382.841 | 1399.13 | 16.7337 | 1281.9142 | 1170.9879 | 19.7546 | November 28, 2020 | November | 28 | 30 | 5 | 5 | ['0h', '2m', '32s'] | 6:58:40 PM | 68320 | 68320 | 1.0006 | 1.0006 | 1.0006
24 | POC13 | 0.62535 | 0.0027441 | 0.0013734 | 0.0023757 | 104.1973 | 0.0027853 | 0.0022275 | 0.0016712 |  | 1341 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.57339 | 0.007865 | 0.62535 | 0.0027441 | 0.62893 | 0.0021146 | SupCrit | 104.134 | 0.0016712 | 1283.3846 | 0.0014657 | 4011.2843 | 1283.3847 | 12619.856 | 1.1975 | 4.5096 | 0.60357 | 2.3949 | Flagged Warnings: | 1387.5187 | 0.00080281 | 8263.0708 | 1387.5187 | 21696.5679 | 0.97012 | 0 | 7.0671 | 0.6719 | 1.9402 | Flagged Warnings: | 1263.3821 | 1483.3088 | 2.2683 | 1408.878 | 2287.2651 | 1.9555 | 1369.7516 | 279.2281 | 0.4838 | 1382.4156 | 1283.299 | 16.2859 | 1281.7636 | 1088.4868 | 20.1988 | November 28, 2020 | November | 28 | 30 | 5 | 5 | ['0h', '2m', '32s'] | 7:05:54 PM | 68754 | 68754 | 1.0006 | 1.0006 | 1.0006
25 | POC14 | 0.61273 | 0.0027378 | 0.0013652 | 0.0023731 | 104.1716 | 0.0027863 | 0.0022268 | 0.0016737 |  | 1341 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.56321 | 0.0077424 | 0.61273 | 0.0027378 | 0.61643 | 0.0021274 | SupCrit | 104.1084 | 0.0016737 | 1283.4428 | 0.0014223 | 3719.9844 | 1283.4428 | 11830.4419 | 1.2115 | 4.3619 | 0.60122 | 2.423 | Flagged Warnings: | 1387.5511 | 0.00088217 | 7698.6909 | 1387.5512 | 20138.889 | 0.96691 | 0 | 6.854 | 0.67061 | 1.9338 | Flagged Warnings: | 1263.4022 | 1372.2972 | 2.2085 | 1408.9086 | 2178.6331 | 1.9706 | 1369.747 | 250.4382 | 0.48225 | 1381.8736 | 1175.2785 | 16.3038 | 1281.5787 | 1027.5579 | 20.812 | November 28, 2020 | November | 28 | 30 | 5 | 5 | ['0h', '2m', '32s'] | 7:12:37 PM | 69157 | 69157 | 1.0006 | 1.0006 | 1.0006
26 | POC15 | 0.59321 | 0.0027129 | 0.0013215 | 0.0023693 | 104.1316 | 0.0027233 | 0.0022258 | 0.0015681 |  | 1341 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.54735 | 0.0075489 | 0.59321 | 0.0027129 | 0.59668 | 0.0021271 | SupCrit | 104.0684 | 0.0015681 | 1283.5288 | 0.0013062 | 3486.2724 | 1283.5288 | 11077.1085 | 1.2128 | 3.8221 | 0.59629 | 2.4255 | Flagged Warnings: | 1387.5971 | 0.00086768 | 7159.7212 | 1387.5972 | 18583.4231 | 0.96729 | 0 | 6.4532 | 0.65144 | 1.9346 | Flagged Warnings: | 1263.466 | 1293.029 | 2.2247 | 1408.986 | 2007.6191 | 1.9003 | 1369.767 | 237.6815 | 0.48237 | 1381.5743 | 1204.89 | 16.1854 | 1281.7694 | 921.8663 | 19.9467 | November 28, 2020 | November | 28 | 30 | 5 | 5 | ['0h', '2m', '32s'] | 7:18:34 PM | 69514 | 69514 | 1.0006 | 1.0006 | 1.0006
27 | POC16 | 0.57276 | 0.0027105 | 0.0013232 | 0.0023656 | 104.0893 | 0.0027545 | 0.0022248 | 0.0016231 |  | 1341 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.53057 | 0.0073516 | 0.57276 | 0.0027105 | 0.5754 | 0.0021581 | SupCrit | 104.026 | 0.0016231 | 1283.62 | 0.0013249 | 3195.9859 | 1283.6201 | 10144.3189 | 1.2277 | 3.585 | 0.56401 | 2.4554 | Flagged Warnings: | 1387.6461 | 0.00093749 | 6590.4998 | 1387.6461 | 17065.0547 | 0.96961 | 0 | 6.16 | 0.63898 | 1.9392 | Flagged Warnings: | 1263.5533 | 1139.5251 | 2.1087 | 1409.0568 | 1797.6002 | 1.8172 | 1369.8128 | 205.9081 | 0.48349 | 1381.3461 | 1002.2075 | 15.3932 | 1279.966 | 980.9391 | 20.7692 | November 28, 2020 | November | 28 | 30 | 5 | 5 | ['0h', '2m', '31s'] | 7:28:22 PM | 70102 | 70102 | 1.0006 | 1.0006 | 1.0006
28 | POC17 | 0.54172 | 0.0026658 | 0.0012385 | 0.0023607 | 104.0242 | 0.0026179 | 0.0022234 | 0.0013811 |  | 1341 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.50477 | 0.0070419 | 0.54172 | 0.0026658 | 0.54195 | 0.0021452 | SupCrit | 103.9609 | 0.0013811 | 1283.7702 | 0.0010077 | 2937.2017 | 1283.7703 | 9334.0435 | 1.2373 | 2.849 | 0.54609 | 2.4747 | Flagged Warnings: | 1387.7312 | 0.00094445 | 6072.5856 | 1387.7313 | 15630.8763 | 0.96775 | 0 | 5.9344 | 0.62953 | 1.9355 | Flagged Warnings: | 1263.7188 | 1045.0947 | 2.0759 | 1409.1583 | 1646.3943 | 1.7191 | 1369.8143 | 187.9241 | 0.48228 | 1382.2907 | 1032.2021 | 16.798 | 1279.2083 | 879.1313 | 21.6392 | November 28, 2020 | November | 28 | 30 | 5 | 5 | ['0h', '2m', '32s'] | 7:34:00 PM | 70440 | 70440 | 1.0006 | 1.0006 | 1.0006
29 | POC18 | 0.50022 | 0.002715 | 0.0013505 | 0.0023553 | 103.9355 | 0.0029124 | 0.0022215 | 0.0018823 |  | 1341 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.46966 | 0.0066596 | 0.50022 | 0.002715 | 0.49497 | 0.002295 | SupCrit | 103.8724 | 0.0018823 | 1283.9558 | 0.0012232 | 2387.7936 | 1283.956 | 7618.8221 | 1.2455 | 2.7842 | 0.5388 | 2.491 | Flagged Warnings: | 1387.8283 | 0.0014307 | 4947.9145 | 1387.8283 | 12562.2145 | 0.96277 | 0 | 6.4734 | 0.61065 | 1.9255 | Flagged Warnings: | 1263.9522 | 836.6208 | 2.0018 | 1409.2268 | 1323.2771 | 1.6235 |  |  |  | 1380.8408 | 1071.0326 | 16.2985 | 1278.0514 | 684.6239 | 21.5793 | November 28, 2020 | November | 28 | 30 | 5 | 5 | ['0h', '2m', '32s'] | 7:41:26 PM | 70886 | 70886 | 1.0006 | 1.0006 | 1.0006
30 | POC19 | 0.45117 | 0.0027325 | 0.001393 | 0.0023508 | 103.8285 | 0.0030744 | 0.0022192 | 0.0021265 |  | 1341 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.42726 | 0.0062058 | 0.45117 | 0.0027325 | 0.43599 | 0.0024207 | SupCrit | 103.7654 | 0.0021265 | 1284.2026 | 0.0016989 | 2091.4856 | 1284.2028 | 6544.0935 | 1.2325 | 3.0709 | 0.5158 | 2.4649 | Flagged Warnings: | 1387.9681 | 0.0012789 | 4288.9583 | 1387.9682 | 10734.6666 | 0.94861 | 0 | 5.069 | 0.60792 | 1.8972 | Flagged Warnings: | 1264.1698 | 687.9868 | 1.7952 | 1409.3998 | 1142.276 | 1.5436 | 1370.1357 | 144.6456 | 0.47291 | 1380.9894 | 646.0704 | 17.1688 | 1277.2241 | 650.9669 | 22.1925 | November 28, 2020 | November | 28 | 30 | 5 | 5 | ['0h', '2m', '32s'] | 7:51:50 PM | 71510 | 71510 | 1.0006 | 1.0006 | 1.0006
32 | POC20 | 0.40775 | 0.0027806 | 0.0014884 | 0.0023488 | 103.7317 | 0.0033509 | 0.0022172 | 0.0025109 |  | 1341 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.3889 | 0.005829 | 0.40775 | 0.0027806 | 0.38053 | 0.0026 | SupCrit | 103.6687 | 0.0025109 | 1284.4192 | 0.0021303 | 1863.7822 | 1284.4194 | 5683.6278 | 1.2074 | 3.085 | 0.5022 | 2.4148 | Flagged Warnings: | 1388.088 | 0.0013291 | 3825.8652 | 1388.088 | 9289.1269 | 0.92753 | 0 | 4.7153 | 0.58858 | 1.8551 | Flagged Warnings: | 1264.352 | 627.4681 | 1.6727 | 1409.4747 | 994.1075 | 1.4853 | 1370.1671 | 118.9323 | 0.46256 | 1381.0938 | 593.7703 | 16.4733 | 1277.444 | 566.4724 | 21.9739 | November 28, 2020 | November | 28 | 30 | 5 | 5 | ['0h', '2m', '32s'] | 7:59:43 PM | 71983 | 71983 | 1.0006 | 1.0006 | 1.0006
33 | POC21 | 0.37753 | 0.0028031 | 0.0015304 | 0.0023484 | 103.6632 | 0.0034919 | 0.0022158 | 0.0026971 |  | 1341 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.36176 | 0.0055742 | 0.37753 | 0.0028031 | 0.34008 | 0.0027118 | SupCrit | 103.6002 | 0.0026971 | 1284.5689 | 0.0023044 | 2587.3446 | 1284.5689 | 7713.7567 | 1.16 | 4.8237 | 0.54401 | 2.32 | Flagged Warnings: | 1388.169 | 0.0014015 | 5245.6217 | 1388.1691 | 12506.4721 | 0.90629 | 0 | 6.7576 | 0.59895 | 1.8126 | Flagged Warnings: | 1264.4761 | 872.9767 | 1.7244 | 1409.568 | 1303.2838 | 1.347 | 1370.17 | 172.1764 | 0.4519 | 1381.1708 | 683.9748 | 18.3835 | 1277.62 | 646.8538 | 23.9657 | November 28, 2020 | November | 28 | 45 | 3 | 5 | ['0h', '2m', '16s'] | 8:09:04 PM | 72544 | 72544 | 1.0006 | 1.0006 | 1.0006
34 | POC22 | 0.3541 | 0.002832 | 0.0015821 | 0.0023488 | 103.6095 | 0.0036467 | 0.0022148 | 0.0028953 |  | 1341 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.34047 | 0.0053897 | 0.3541 | 0.002832 | 0.30764 | 0.0028247 | SupCrit | 103.5465 | 0.0028953 | 1284.6899 | 0.0025648 | 2484.1304 | 1284.6899 | 7246.2449 | 1.124 | 4.917 | 0.56602 | 2.248 | Flagged Warnings: | 1388.2364 | 0.0013433 | 4935.1654 | 1388.2364 | 11478.044 | 0.88711 | 0 | 6.5245 | 0.5902 | 1.7742 | Flagged Warnings: | 1264.5893 | 800.5081 | 1.6529 | 1409.6246 | 1168.1038 | 1.3381 | 1370.218 | 151.2265 | 0.44223 | 1381.2257 | 626.9285 | 18.1736 | 1277.752 | 472.8605 | 24.4054 | November 28, 2020 | November | 28 | 45 | 3 | 5 | ['0h', '2m', '16s'] | 8:17:48 PM | 73068 | 73068 | 1.0006 | 1.0006 | 1.0006
35 | POC23 | 0.33557 | 0.0028162 | 0.0015526 | 0.0023496 | 103.5666 | 0.0036067 | 0.0022141 | 0.0028453 |  | 1341 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.32348 | 0.0052324 | 0.33557 | 0.0028162 | 0.28132 | 0.0028382 | SupCrit | 103.5036 | 0.0028453 | 1284.8137 | 0.0024495 | 2387.1832 | 1284.8138 | 6757.4857 | 1.1061 | 4.6928 | 0.53274 | 2.2122 | Flagged Warnings: | 1388.3174 | 0.0014476 | 4773.1906 | 1388.3174 | 10842.7942 | 0.86466 | 0 | 6.3879 | 0.59509 | 1.7293 | Flagged Warnings: | 1264.7386 | 748.6178 | 1.5383 | 1409.6927 | 1121.6382 | 1.2457 | 1370.2214 | 154.5634 | 0.43088 | 1381.3412 | 648.0227 | 20.7473 | 1277.851 | 590.0394 | 24.0851 | November 28, 2020 | November | 28 | 45 | 3 | 5 | ['0h', '2m', '16s'] | 8:27:12 PM | 73632 | 73632 | 1.0006 | 1.0006 | 1.0006
36 | POC24 | 0.31467 | 0.0028077 | 0.0015351 | 0.0023508 | 103.5179 | 0.0035966 | 0.0022132 | 0.0028332 |  | 1341 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.30416 | 0.0050652 | 0.31467 | 0.0028077 | 0.25091 | 0.0028706 | SupCrit | 103.4549 | 0.0028332 | 1284.9061 | 0.0025009 | 2317.0267 | 1284.9061 | 6407.3345 | 1.0692 | 4.4119 | 0.5566 | 2.1385 | Flagged Warnings: | 1388.361 | 0.0013314 | 4556.2695 | 1388.361 | 10107.9555 | 0.84843 | 0 | 5.7009 | 0.58311 | 1.6969 | Flagged Warnings: | 1264.7719 | 694.1368 | 1.516 | 1409.7483 | 975.3383 | 1.219 | 1370.2583 | 138.9641 | 0.42289 | 1388.2236 | 596.2323 | 21.1447 | 1277.939 | 443.3878 | 26.4175 | November 28, 2020 | November | 28 | 45 | 3 | 5 | ['0h', '2m', '16s'] | 8:32:33 PM | 73953 | 73953 | 1.0006 | 1.0006 | 1.0006
37 | POC25 | 0.30252 | 0.0027934 | 0.0015074 | 0.0023518 | 103.4893 | 0.003549 | 0.0022128 | 0.0027729 |  | 1341 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.29285 | 0.0049668 | 0.30252 | 0.0027934 | 0.23288 | 0.0028688 | SupCrit | 103.4264 | 0.0027729 | 1284.9796 | 0.0025207 | 2301.2195 | 1284.9797 | 6257.28 | 1.036 | 4.7476 | 0.59232 | 2.0719 | Flagged Warnings: | 1388.4061 | 0.0011555 | 4437.0404 | 1388.4061 | 9767.0564 | 0.83761 | 0 | 5.2934 | 0.59323 | 1.6752 | Flagged Warnings: | 1264.8241 | 701.1299 | 1.5187 | 1409.7899 | 1008.5995 | 1.1912 | 1370.2653 | 135.4666 | 0.41779 | 1383.6352 | 339.7162 | 20.8895 | 1278.0324 | 332.9298 | 25.8046 | November 28, 2020 | November | 28 | 45 | 3 | 5 | ['0h', '2m', '16s'] | 8:38:36 PM | 74316 | 74316 | 1.0006 | 1.0006 | 1.0006
38 | POC26 | 0.28858 | 0.0027453 | 0.001414 | 0.0023531 | 103.4564 | 0.0033474 | 0.0022123 | 0.0025106 |  | 1341 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.27981 | 0.0048411 | 0.28858 | 0.0027453 | 0.21186 | 0.0027932 | SupCrit | 103.3935 | 0.0025106 | 1285.0596 | 0.0022196 | 2320.0173 | 1285.0597 | 6080.002 | 1.001 | 4.4214 | 0.58738 | 2.0019 | Flagged Warnings: | 1388.4531 | 0.0011731 | 4438.0726 | 1388.4531 | 9453.2056 | 0.81276 | 0 | 5.2336 | 0.58792 | 1.6255 | Flagged Warnings: | 1264.9705 | 664.3437 | 1.4375 | 1409.845 | 971.9403 | 1.1603 | 1370.2918 | 124.0652 | 0.40538 | 1383.16 | 492.891 | 20.2692 | 1278.0654 | 410.8344 | 24.9245 | November 28, 2020 | November | 28 | 45 | 3 | 5 | ['0h', '2m', '16s'] | 8:43:28 PM | 74608 | 74608 | 1.0006 | 1.0006 | 1.0006
39 | POC27 | 0.27676 | 0.0027201 | 0.0013623 | 0.0023544 | 103.4284 | 0.0032396 | 0.0022119 | 0.0023656 |  | 1341 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.26869 | 0.0047447 | 0.27676 | 0.0027201 | 0.19376 | 0.0027601 | SupCrit | 103.3654 | 0.0023656 | 1285.1216 | 0.00209 | 2577.8051 | 1285.1217 | 6621.8428 | 0.98849 | 4.7534 | 0.56904 | 1.977 | Flagged Warnings: | 1388.487 | 0.001108 | 4880.825 | 1388.4871 | 10370.328 | 0.81121 | 0 | 5.8392 | 0.58599 | 1.6224 | Flagged Warnings: | 1265.0089 | 721.0447 | 1.3646 | 1409.8368 | 1064.0942 | 1.1453 | 1370.3053 | 134.2545 | 0.40473 | 1381.5156 | 506.8496 | 20.2364 | 1278.1534 | 486.7125 | 24.611 | November 28, 2020 | November | 28 | 45 | 3 | 5 | ['0h', '2m', '16s'] | 8:49:09 PM | 74949 | 74949 | 1.0006 | 1.0006 | 1.0006
40 | POC28 | 0.23719 | 0.0026427 | 0.0011893 | 0.0023599 | 103.3336 | 0.0028696 | 0.0022104 | 0.0018288 |  | 1341 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.23113 | 0.0044465 | 0.23719 | 0.0026427 | 0.13137 | 0.0026432 | SupCrit | 103.2707 | 0.0018288 | 1285.3681 | 0.0015742 | 2444.682 | 1285.3681 | 5773.5805 | 0.91006 | 4.0147 | 0.56486 | 1.8201 | Flagged Warnings: | 1388.6387 | 0.00093068 | 4532.3098 | 1388.6388 | 8945.2638 | 0.76127 | 0 | 4.6469 | 0.55803 | 1.5225 | Flagged Warnings: | 1265.2509 | 637.6926 | 1.2315 | 1410.0017 | 912.5182 | 1.024 | 1370.3583 | 110.1752 | 0.38008 | 1381.6272 | 259.3842 | 19.0038 | 1278.3734 | 397.9058 | 22.6783 | November 28, 2020 | November | 28 | 45 | 3 | 5 | ['0h', '2m', '16s'] | 9:02:20 PM | 75740 | 75740 | 1.0006 | 1.0006 | 1.0006
41 | POC29 | 0.20404 | 0.0026064 | 0.0010933 | 0.002366 | 103.2531 | 0.0026678 | 0.0022095 | 0.0014942 |  | 1341 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.19926 | 0.0042431 | 0.20404 | 0.0026064 | 0.076915 | 0.0025964 | SupCrit | 103.1903 | 0.0014942 | 1285.5541 | 0.0012833 | 2256.8005 | 1285.5542 | 4968.8247 | 0.84525 | 3.4078 | 0.57138 | 1.6905 | Flagged Warnings: | 1388.7444 | 0.00076541 | 4069.045 | 1388.7445 | 7661.1497 | 0.73534 | 0 | 3.7488 | 0.52599 | 1.4707 | Flagged Warnings: | 1265.4184 | 573.2967 | 1.1398 | 1410.0752 | 766.0828 | 0.95063 | 1370.6653 | 105.4464 | 0.36694 | 1381.7153 | 222.4024 | 18.3471 | 1278.5383 | 201.22 | 21.0708 | November 28, 2020 | November | 28 | 45 | 3 | 5 | ['0h', '2m', '16s'] | 9:17:39 PM | 76659 | 76659 | 1.0006 | 1.0006 | 1.0006
43 | POC30 | 0.17746 | 0.0026237 | 0.0011217 | 0.0023719 | 103.188 | 0.0027603 | 0.002209 | 0.0016541 |  | 1341 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.17345 | 0.0041334 | 0.17746 | 0.0026237 | 0.031817 | 0.0026831 | SupCrit | 103.1252 | 0.0016541 | 1285.7037 | 0.0014447 | 2055.7835 | 1285.7038 | 4352.8344 | 0.82131 | 3.4799 | 0.54343 | 1.6426 | Flagged Warnings: | 1388.829 | 0.00080546 | 3708.3557 | 1388.8289 | 6740.5135 | 0.71104 | 0 | 3.5017 | 0.51968 | 1.4221 | Flagged Warnings: | 1265.5486 | 493.5341 | 1.1186 | 1410.0878 | 667.4862 | 0.87025 | 1370.6742 | 88.6659 | 0.35494 | 1381.8142 | 51.7308 | 17.7469 | 1278.7088 | 107.6858 | 20.4824 | November 28, 2020 | November | 28 | 45 | 3 | 5 | ['0h', '2m', '16s'] | 9:32:57 PM | 77577 | 77577 | 1.0006 | 1.0006 | 1.0006
44 | POC31 | 0.13142 | 0.0039851 | 0.0010288 | 0.00385 | 103.0819 | 0.0025963 | 0.0022078 | 0.0013655 |  | 1341 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13142 | 0.0039851 | 0.13462 | 0.0026011 | -0.043579 | 0.0026674 | SupCrit | 103.0191 | 0.0013655 | 1285.9564 | 0.0010778 | 7071.2241 | 1285.9564 | 13617.097 | 0.76554 | 9.2868 | 0.48216 | 1.5311 | Flagged Warnings: | 1388.9755 | 0.00083839 | 12148.9956 | 1388.9755 | 20615.1065 | 0.6796 | 0 | 10.4548 | 0.45913 | 1.3592 | Flagged Warnings: | 1265.7499 | 1488.9692 | 0.9321 | 1410.2659 | 2149.9943 | 0.83151 | 1370.7126 | 310.5413 | 0.33931 | 1381.9956 | 375.4045 | 16.9654 | 1278.9398 | 696.8138 | 19.1039 | November 28, 2020 | November | 28 | 45 | 3 | 5 | ['0h', '2m', '16s'] | 9:47:22 PM | 78442 | 78442 | 1.0006 | 1.0006 | 1.0006
45 | POC32 | 0.11505 | 0.0039506 | 0.0010065 | 0.0038203 | 103.0406 | 0.00254 | 0.0022073 | 0.001256 |  | 1341 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11505 | 0.0039506 | 0.11808 | 0.002595 | -0.073589 | 0.0026645 | SupCrit | 102.9778 | 0.001256 | 1286.0561 | 0.00092439 | 6188.0948 | 1286.0562 | 11430.2694 | 0.73714 | 7.6893 | 0.47022 | 1.4743 | Flagged Warnings: | 1389.0339 | 0.00085036 | 10278.6247 | 1389.034 | 17086.0046 | 0.67231 | 0 | 8.9784 | 0.43226 | 1.3446 | Flagged Warnings: | 1265.8429 | 1248.0515 | 0.90855 | 1410.3257 | 1763.6182 | 0.79421 | 1370.7358 | 271.3218 | 0.33584 | 1382.0506 | 174.0618 | 16.792 | 1279.0277 | 381.6176 | 18.39 | November 28, 2020 | November | 28 | 45 | 3 | 5 | ['0h', '2m', '16s'] | 9:53:19 PM | 78799 | 78799 | 1.0006 | 1.0006 | 1.0006
46 | POC33 | 0.10471 | 0.0039595 | 0.0010833 | 0.0038085 | 103.0145 | 0.0027338 | 0.0022073 | 0.001612 |  | 1341 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10471 | 0.0039595 | 0.10766 | 0.0026281 | -0.092732 | 0.0027821 | SupCrit | 102.9518 | 0.001612 | 1286.137 | 0.0011918 | 4879.1619 | 1286.137 | 8734.1047 | 0.71219 | 7.5462 | 0.47601 | 1.4244 | Flagged Warnings: | 1389.0887 | 0.0010854 | 7892.9346 | 1389.0888 | 12661.9423 | 0.65745 | 0 | 8.9317 | 0.39779 | 1.3149 | Flagged Warnings: | 1265.913 | 982.9151 | 0.89584 | 1410.3766 | 1303.963 | 0.77903 | 1369.0847 | 24.719 | 0.32847 | 1382.0946 | 272.3675 | 16.4235 | 1279.1102 | 91.5299 | 17.7707 | November 28, 2020 | November | 28 | 45 | 3 | 5 | ['0h', '2m', '16s'] | 10:00:29 PM | 79229 | 79229 | 1.0006 | 1.0006 | 1.0006
47 | POC34 | 0.092165 | 0.0039575 | 0.0011002 | 0.0038015 | 102.9829 | 0.0027767 | 0.0022072 | 0.0016836 |  | 1341 | 0 | 0 | Y | SupCrit, low density |  |  | 0.092165 | 0.0039575 | 0.095054 | 0.0026377 | -0.11617 | 0.0028261 | SupCrit | 102.9201 | 0.0016836 | 1286.2257 | 0.0014463 | 4276.0587 | 1286.2257 | 7352.6117 | 0.69004 | 6.7958 | 0.45225 | 1.3801 | Flagged Warnings: | 1389.1459 | 0.00086181 | 6778.0403 | 1389.1458 | 10692.4354 | 0.65072 | 0 | 6.32 | 0.37818 | 1.3014 | Flagged Warnings: | 1266.0122 | 822.8738 | 0.81767 | 1410.4201 | 1111.5692 | 0.74749 | 1370.7715 | 166.2946 | 0.32515 | 1396.1114 | 11.2296 | 16.2575 | 1279.2202 | 6.5094 | 17.2272 | November 28, 2020 | November | 28 | 45 | 3 | 5 | ['0h', '2m', '16s'] | 10:07:16 PM | 79636 | 79636 | 1.0006 | 1.0006 | 1.0006
48 | POC35 | 0.078419 | 0.0039497 | 0.0010658 | 0.0038032 | 102.9482 | 0.0026898 | 0.0022069 | 0.0015368 |  | 1341 | 0 | 0 | Y | SupCrit, low density |  |  | 0.078419 | 0.0039497 | 0.081285 | 0.0026265 | -0.14208 | 0.002802 | SupCrit | 102.8854 | 0.0015368 | 1286.308 | 0.0012896 | 3727.4923 | 1286.3081 | 6269.7364 | 0.68987 | 5.6193 | 0.39384 | 1.3797 | Flagged Warnings: | 1389.1935 | 0.0008358 | 5897.7828 | 1389.1935 | 9076.2744 | 0.6348 | 0 | 5.9418 | 0.37819 | 1.2696 | Flagged Warnings: | 1266.0502 | 690.4148 | 0.74783 | 1410.4658 | 942.173 | 0.67896 | 1370.7855 | 139.6224 | 0.31718 | 1396.0757 | 10.3334 | 15.8591 | 1293.3192 | 6.0306 | 17.2295 | November 28, 2020 | November | 28 | 45 | 3 | 5 | ['0h', '2m', '16s'] | 10:12:18 PM | 79938 | 79938 | 1.0006 | 1.0006 | 1.0006
49 | POC36 | 0.06795 | 0.0039729 | 0.0011227 | 0.003811 | 102.9217 | 0.0028334 | 0.0022069 | 0.0017758 |  | 1341 | 0 | 0 | Y | SupCrit, low density |  |  | 0.06795 | 0.0039729 | 0.070825 | 0.0026525 | -0.16199 | 0.0028987 | SupCrit | 102.859 | 0.0017758 | 1286.3801 | 0.0015277 | 3191.8363 | 1286.3801 | 5161.4597 | 0.66897 | 5.5781 | 0.37038 | 1.3379 | Flagged Warnings: | 1389.2392 | 0.00090545 | 4929.037 | 1389.2391 | 7400.2673 | 0.62186 | 0 | 5.416 | 0.36694 | 1.2437 | Flagged Warnings: | 1266.1504 | 553.2457 | 0.76895 | 1410.5059 | 756.2798 | 0.66522 | 1370.7831 | 103.8998 | 0.31068 | 1396.197 | 8.7591 | 15.5342 | 1279.3852 | 4.9593 | 16.7121 | November 28, 2020 | November | 28 | 45 | 3 | 5 | ['0h', '2m', '16s'] | 10:18:55 PM | 80335 | 80335 | 1.0006 | 1.0006 | 1.0006
50 | POC37 | 0.057963 | 0.0039962 | 0.0011619 | 0.0038236 | 102.8965 | 0.0029323 | 0.0022071 | 0.0019294 |  | 1341 | 0 | 0 | Y | SupCrit, low density |  |  | 0.057963 | 0.0039962 | 0.060867 | 0.0026717 | -0.18112 | 0.0029721 | SupCrit | 102.8338 | 0.0019294 | 1286.4482 | 0.0015718 | 2445.848 | 1286.4483 | 3865.8965 | 0.65918 | 4.5592 | 0.34822 | 1.3184 | Flagged Warnings: | 1389.2821 | 0.001119 | 3853.3637 | 1389.2821 | 5632.032 | 0.61057 | 0 | 5.2527 | 0.34349 | 1.2211 | Flagged Warnings: | 1266.1727 | 419.9436 | 0.77751 | 1410.5469 | 575.8691 | 0.66788 | 1369.3488 | 18.6236 | 0.30502 | 1395.8916 | 6.4513 | 15.2517 | 1279.4405 | 3.7858 | 16.4685 | November 28, 2020 | November | 28 | 45 | 3 | 5 | ['0h', '2m', '16s'] | 10:26:06 PM | 80766 | 80766 | 1.0006 | 1.0006 | 1.0006
51 | POC38 | 0.048952 | 0.0040037 | 0.0011354 | 0.0038394 | 102.8738 | 0.0028654 | 0.0022071 | 0.0018262 |  | 1341 | 0 | 0 | Y | SupCrit, low density |  |  | 0.048952 | 0.0040037 | 0.051899 | 0.0026627 | -0.19849 | 0.0029498 | SupCrit | 102.8111 | 0.0018262 | 1286.491 | 0.0014872 | 2228.4152 | 1286.491 | 3461.09 | 0.65224 | 4.2117 | 0.32901 | 1.3045 | Flagged Warnings: | 1389.3022 | 0.0010598 | 3451.3438 | 1389.3021 | 4981.8995 | 0.6106 | 0 | 4.6492 | 0.30874 | 1.2212 | Flagged Warnings: | 1266.2334 | 357.721 | 0.76817 | 1410.5688 | 507.2337 | 0.61586 | 1370.8111 | 73.9417 | 0.30499 | 1382.2651 | 6.4286 | 15.2493 | 1279.4677 | 3.3686 | 16.2955 | November 28, 2020 | November | 28 | 45 | 3 | 5 | ['0h', '2m', '16s'] | 10:31:51 PM | 81111 | 81111 | 1.0006 | 1.0006 | 1.0006
8 | POC39 | 0.047539 | 0.0040132 | 0.0011592 | 0.0038422 | 102.8702 | 0.0029254 | 0.002208 | 0.0019178 |  | 1341 | 0 | 0 | Y | SupCrit, low density |  |  | 0.047539 | 0.0040132 | 0.050494 | 0.0026732 | -0.20123 | 0.0029867 | SupCrit | 102.8075 | 0.0019178 | 1286.5142 | 0.0016096 | 2006.1882 | 1286.5142 | 3105.9574 | 0.65298 | 5.0318 | 0.31685 | 1.306 | Flagged Warnings: | 1389.3218 | 0.0010427 | 3153.4094 | 1389.3217 | 4500.7265 | 0.60207 | 0 | 4.6535 | 0.31643 | 1.2041 | Flagged Warnings: | 1266.2292 | 311.4308 | 0.747 | 1410.5673 | 448.7685 | 0.64999 | 1370.7847 | 63.6037 | 0.30072 | 1382.2948 | 5.6024 | 15.0359 |  |  |  | November 28, 2020 | November | 28 | 45 | 3 | 5 | ['0h', '2m', '16s'] | 10:41:24 PM | 81684 | 81684 | 1.0006 | 1.0006 | 1.0006
9 | POC40 | 0.0462 | 0.0040087 | 0.0011339 | 0.003845 | 102.8669 | 0.0028618 | 0.0022086 | 0.0018187 |  | 1341 | 0 | 0 | Y | SupCrit, low density |  |  | 0.0462 | 0.0040087 | 0.049163 | 0.0026629 | -0.20382 | 0.0029525 | SupCrit | 102.8041 | 0.0018187 | 1286.5359 | 0.001582 | 1863.1685 | 1286.536 | 2804.2318 | 0.64472 | 4.3231 | 0.27331 | 1.2894 | Flagged Warnings: | 1389.3402 | 0.0008972 | 2909.4414 | 1389.3401 | 4082.2148 | 0.59621 | 0 | 3.6761 | 0.29601 | 1.1924 | Flagged Warnings: | 1266.275 | 284.036 | 0.69343 | 1410.5867 | 405.9221 | 0.63442 | 1371.1576 | 51.4021 | 0.29779 | 1396.3061 | 5.3018 | 14.8895 |  |  |  | November 28, 2020 | November | 28 | 45 | 3 | 5 | ['0h', '2m', '16s'] | 10:47:37 PM | 82057 | 82057 | 1.0006 | 1.0006 | 1.0006
10 | POC41 | 0.035574 | 0.0040574 | 0.0012181 | 0.0038702 | 102.84 | 0.0030741 | 0.0022088 | 0.0021368 |  | 1341 | 0 | 0 | Y | SupCrit, low density |  |  | 0.035574 | 0.0040574 | 0.038612 | 0.0027022 | -0.2245 | 0.0030956 | SupCrit | 102.7773 | 0.0021368 | 1286.5655 | 0.001694 | 1580.9444 | 1286.5656 | 2336.3523 | 0.63149 | 3.9845 | 0.28022 | 1.263 | Flagged Warnings: | 1389.3429 | 0.0013023 | 2490.3521 | 1389.3429 | 3453.0892 | 0.58792 | 0 | 4.3289 | 0.30214 | 1.1758 | Flagged Warnings: | 1266.2899 | 240.5175 | 0.68117 | 1410.6174 | 339.6759 | 0.62909 | 1371.1719 | 40.1253 | 0.29363 | 1396.3 | 4.2963 | 14.6815 |  |  |  | November 28, 2020 | November | 28 | 45 | 3 | 5 | ['0h', '2m', '16s'] | 10:54:43 PM | 82483 | 82483 | 1.0006 | 1.0006 | 1.0006
11 | POC42 | 0.037218 | 0.0040466 | 0.0011958 | 0.0038659 | 102.8442 | 0.0030178 | 0.0022096 | 0.0020542 |  | 1341 | 0 | 0 | Y | SupCrit, low density |  |  | 0.037218 | 0.0040466 | 0.040243 | 0.0026919 | -0.22129 | 0.0030592 | SupCrit | 102.7815 | 0.0020542 | 1286.5843 | 0.0017235 | 1307.6671 | 1286.5843 | 1932.0395 | 0.63875 | 3.4557 | 0.24701 | 1.2775 | Flagged Warnings: | 1389.3658 | 0.0011177 | 2064.6238 | 1389.3658 | 2841.7568 | 0.59051 | 0 | 3.0415 | 0.26899 | 1.181 | Flagged Warnings: | 1266.316 | 175.1554 | 0.71806 | 1410.6138 | 276.7492 | 0.61365 | 1370.8293 | 37.2828 | 0.29492 | 1396.3365 | 3.6978 | 14.7464 |  |  |  | November 28, 2020 | November | 28 | 45 | 5 | 5 | ['0h', '3m', '46s'] | 11:00:50 PM | 82850 | 82850 | 1.0006 | 1.0006 | 1.0006
12 | POC43 | 0.03324 | 0.0040766 | 0.0012615 | 0.0038765 | 102.8341 | 0.0031837 | 0.0022102 | 0.00229 |  | 1341 | 0 | 0 | Y | SupCrit, low density |  |  | 0.03324 | 0.0040766 | 0.036296 | 0.0027223 | -0.22906 | 0.0031656 | SupCrit | 102.7714 | 0.00229 | 1286.598 | 0.0019401 | 1086.5163 | 1286.598 | 1586.5243 | 0.63329 | 3.3792 | 0.23794 | 1.2666 | Flagged Warnings: | 1389.3694 | 0.0012167 | 1731.5284 | 1389.3695 | 2383.0028 | 0.59593 | 0 | 2.932 | 0.24262 | 1.1919 | Flagged Warnings: | 1266.3066 | 148.2971 | 0.69471 | 1410.5972 | 230.7952 | 0.60845 | 1370.8494 | 31.054 | 0.29764 | 1382.3482 | 3.1222 | 14.8822 |  |  |  | November 28, 2020 | November | 28 | 45 | 5 | 5 | ['0h', '3m', '46s'] | 11:07:52 PM | 83272 | 83272 | 1.0006 | 1.0006 | 1.0006
13 | POC44 | 0.032324 | 0.0040741 | 0.0012456 | 0.003879 | 102.8318 | 0.0031435 | 0.0022111 | 0.002233 |  | 1341 | 0 | 0 | Y | SupCrit, low density |  |  | 0.032324 | 0.0040741 | 0.035388 | 0.0027154 | -0.23085 | 0.0031431 | SupCrit | 102.7691 | 0.002233 | 1286.6098 | 0.0018938 | 1027.0666 | 1286.6099 | 1489.0583 | 0.62457 | 3.0092 | 0.25722 | 1.2491 | Flagged Warnings: | 1389.379 | 0.0011831 | 1589.504 | 1389.379 | 2170.3721 | 0.59118 | 0 | 2.6199 | 0.24293 | 1.1824 | Flagged Warnings: | 1266.3323 | 146.5981 | 0.61127 | 1410.6234 | 190.0803 | 0.64007 | 1370.8166 | 27.5793 | 0.2953 | 1396.345 | 2.7212 | 14.7639 |  |  |  | November 28, 2020 | November | 28 | 45 | 5 | 5 | ['0h', '3m', '46s'] | 11:15:27 PM | 83727 | 83727 | 1.0006 | 1.0006 | 1.0006
14 | POC45 | 0.028833 | 0.0040949 | 0.001282 | 0.0038891 | 102.823 | 0.0032354 | 0.0022122 | 0.0023594 |  | 1341 | 0 | 0 | Y | SupCrit, low density |  |  | 0.028833 | 0.0040949 | 0.031927 | 0.0027329 | -0.23769 | 0.0032055 | SupCrit | 102.7603 | 0.0023594 | 1286.6183 | 0.0020081 | 869.7706 | 1286.6183 | 1253.666 | 0.63292 | 2.6724 | 0.20225 | 1.2658 | Flagged Warnings: | 1389.3786 | 0.0012388 | 1386.814 | 1389.3786 | 1877.5728 | 0.58491 | 0 | 2.4286 | 0.24911 | 1.1698 | Flagged Warnings: | 1266.3187 | 124.999 | 0.69431 | 1410.619 | 168.6965 | 0.62077 | 1371.1913 | 25.6953 | 0.29215 | 1382.364 | 2.4819 | 14.6069 |  |  |  | November 28, 2020 | November | 28 | 45 | 5 | 5 | ['0h', '3m', '46s'] | 11:25:29 PM | 84329 | 84329 | 1.0006 | 1.0006 | 1.0006
15 | POC46 | 0.025523 | 0.004131 | 0.0013645 | 0.0038991 | 102.8147 | 0.0034435 | 0.0022131 | 0.0026366 |  | 1341 | 0 | 0 | Y | SupCrit, low density |  |  | 0.025523 | 0.004131 | 0.028648 | 0.0027727 | -0.24419 | 0.0033407 | SupCrit | 102.7519 | 0.0026366 | 1286.6403 | 0.0022957 | 751.1182 | 1286.6403 | 1063.5754 | 0.61567 | 2.8174 | 0.23067 | 1.2313 | Flagged Warnings: | 1389.3922 | 0.0012966 | 1182.0369 | 1389.3922 | 1591.1477 | 0.58853 | 0 | 2.2442 | 0.21485 | 1.1771 | Flagged Warnings: | 1266.296 | 95.593 | 0.65569 | 1410.6403 | 142.7235 | 0.62141 | 1370.8489 | 20.5742 | 0.29398 | 1382.3805 | 2.0785 | 14.6952 |  |  |  | November 28, 2020 | November | 28 | 45 | 5 | 5 | ['0h', '3m', '46s'] | 11:33:34 PM | 84814 | 84814 | 1.0006 | 1.0006 | 1.0006
16 | POC47 | 0.026323 | 0.004146 | 0.0014161 | 0.0038966 | 102.8167 | 0.0035738 | 0.0022142 | 0.0028036 |  | 1341 | 0 | 0 | Y | SupCrit, low density |  |  | 0.026323 | 0.004146 | 0.02944 | 0.0027978 | -0.24262 | 0.0034211 | SupCrit | 102.7539 | 0.0028036 | 1286.6439 | 0.0023669 | 643.7302 | 1286.6439 | 898.4082 | 0.61728 | 2.3955 | 0.18114 | 1.2346 | Flagged Warnings: | 1389.3979 | 0.0015026 | 1012.0205 | 1389.3978 | 1351.2427 | 0.58656 | 0 | 2.155 | 0.20103 | 1.1731 | Flagged Warnings: | 1266.3588 | 72.4809 | 0.69031 | 1410.6138 | 129.7442 | 0.60511 |  |  |  | 1382.386 | 1.7329 | 14.651 |  |  |  | November 28, 2020 | November | 28 | 45 | 5 | 5 | ['0h', '3m', '46s'] | 11:41:18 PM | 85278 | 85278 | 1.0006 | 1.0006 | 1.0006
17 | POC48 | 0.028327 | 0.0041851 | 0.0015422 | 0.0038906 | 102.8217 | 0.003892 | 0.0022156 | 0.0031979 |  | 1341 | 0 | 0 | Y | SupCrit, low density |  |  | 0.028327 | 0.0041851 | 0.031426 | 0.002862 | -0.23868 | 0.003621 | SupCrit | 102.759 | 0.0031979 | 1286.6525 | 0.0026812 | 516.699 | 1286.6526 | 708.7478 | 0.60201 | 2.12 | 0.2037 | 1.204 | Flagged Warnings: | 1389.4116 | 0.0017428 | 790.0686 | 1389.4116 | 1039.3011 | 0.58842 | 0 | 2.0418 | 0.14812 | 1.1768 | Flagged Warnings: | 1266.3707 | 58.6889 | 0.64829 | 1410.6424 | 89.7962 | 0.59523 | 1372.5018 | 0.087266 | 0.0294 | 1396.4078 | 1.4018 | 14.6997 |  |  |  | November 28, 2020 | November | 28 | 45 | 5 | 5 | ['0h', '3m', '46s'] | 11:50:11 PM | 85811 | 85811 | 1.0006 | 1.0006 | 1.0006
18 | POC49 | 0.023651 | 0.0043361 | 0.0018849 | 0.003905 | 102.8099 | 0.0047569 | 0.0022172 | 0.004206 |  | 1341 | 0 | 0 | Y | SupCrit, low density |  |  | 0.023651 | 0.0043361 | 0.026794 | 0.0030576 | -0.24788 | 0.0042121 | SupCrit | 102.7472 | 0.004206 | 1286.664 | 0.0034965 | 370.8167 | 1286.664 | 496.3708 | 0.61008 | 1.9545 | 0.092178 | 1.2202 | Flagged Warnings: | 1389.4111 | 0.0023377 | 577.8224 | 1389.4112 | 757.3594 | 0.58282 | 0 | 1.9922 | 0.16565 | 1.1656 | Flagged Warnings: | 1266.3503 | 33.6089 | 0.58652 | 1410.6387 | 67.2594 | 0.59625 |  |  |  | 1382.398 | 1.0372 | 14.5593 |  |  |  | November 29, 2020 | November | 29 | 45 | 5 | 5 | ['0h', '3m', '46s'] | 12:02:59 AM | 86579 | 86579 | 1.0006 | 1.0006 | 1.0006
19 | POC50 | 0.015318 | 0.0046453 | 0.0024712 | 0.0039334 | 102.7889 | 0.0062366 | 0.0022178 | 0.0058253 |  | 1341 | 0 | 0 | Y | SupCrit, low density |  |  | 0.015318 | 0.0046453 | 0.018547 | 0.0034432 | -0.26433 | 0.0052866 | SupCrit | 102.7261 | 0.0058253 | 1286.691 | 0.0050948 | 254.4717 | 1286.691 | 329.7584 | 0.60646 | 2.1661 | 0.01133 | 1.2129 | Flagged Warnings: | 1389.4172 | 0.0028245 | 402.933 | 1389.4172 | 519.341 | 0.58038 | 0 | 1.7339 | 0.12844 | 1.1608 | Flagged Warnings: | 1266.3617 | 27.3901 | 0.64631 | 1410.6814 | 47.917 | 0.59608 |  |  |  | 1396.4003 | 0.77255 | 14.4986 |  |  |  | November 29, 2020 | November | 29 | 45 | 5 | 5 | ['0h', '3m', '46s'] | 12:09:42 AM | 86982 | 86982 | 1.0006 | 1.0006 | 1.0006
0 | POC51 | 0.020974 | 0.0058051 | 0.0042873 | 0.0039138 | 102.8032 | 0.01082 | 0.0022194 | 0.010583 |  | 1341 | 0 | 0 | Y | SupCrit, low density |  |  | 0.020974 | 0.0058051 | 0.024143 | 0.0048867 | -0.25315 | 0.0086894 | SupCrit | 102.7404 | 0.010583 | 1286.6972 | 0.0091996 | 180.7465 | 1286.6972 | 239.5586 | 0.6146 | 2.6967 | 0.039666 | 1.2292 | Flagged Warnings: | 1389.4376 | 0.0052323 | 289.422 | 1389.4376 | 375.4072 | 0.58326 | 0 | 2.388 | 0.13245 | 1.1665 | Flagged Warnings: | 1266.3569 | 17.0677 | 0.50867 | 1410.6625 | 27.7376 | 0.52314 | [9 empty] | November 29, 2020 | November | 29 | 60 | 3 | 5 | ['0h', '3m', '2s'] | 12:17:28 AM | 87448 | 87448 | 1.0006 | 1.0006 | 1.0006
1 | POC52 | 0.018607 | 0.0054903 | 0.0038422 | 0.0039218 | 102.7972 | 0.0096965 | 0.0022215 | 0.0094328 |  | 1341 | 0 | 0 | Y | SupCrit, low density |  |  | 0.018607 | 0.0054903 | 0.021801 | 0.0045088 | -0.25783 | 0.0078499 | SupCrit | 102.7344 | 0.0094328 | 1286.6897 | 0.0083285 | 245.5383 | 1286.6897 | 313.494 | 0.59548 | 3.7245 | 0.018008 | 1.191 | Flagged Warnings: | 1389.4241 | 0.0044288 | 384.6843 | 1389.4241 | 488.5898 | 0.58634 | 0 | 2.5886 | 0.053304 | 1.1727 | Flagged Warnings: |  |  |  | 1410.6739 | 40.137 | 0.56325 | [9 empty] | November 29, 2020 | November | 29 | 90 | 3 | 5 | ['0h', '4m', '31s'] | 12:31:31 AM | 88291 | 88291 | 1.0006 | 1.0006 | 1.0006
2 | POC53 | 0.029072 | 0.0044822 | 0.0022295 | 0.0038883 | 102.8236 | 0.0056268 | 0.0022234 | 0.0051657 |  | 1341 | 0 | 0 | Y | SupCrit, low density |  |  | 0.029072 | 0.0044822 | 0.032164 | 0.0032767 | -0.23722 | 0.0048038 | SupCrit | 102.7608 | 0.0051657 | 1286.6753 | 0 | 219.84 | 1286.6754 | 284.0973 | 0.6049 | 2.9258 | 0.0108 | 1.2098 | Flagged Warnings: | 1389.4362 | 0.0051657 | 347.8886 | 1389.4362 | 437.7428 | 0.58492 | 0 | 2.9087 | 0.032125 | 1.1698 | Flagged Warnings: | 1266.5257 | 17.7341 | 0.39373 | 1410.5462 | 35.3294 | 0.49785 | [9 empty] | November 29, 2020 | November | 29 | 90 | 3 | 5 | ['0h', '4m', '32s'] | 12:39:13 AM | 88753 | 88753 | 1.0006 | 1.0006 | 1.0006
3 | POC54 | 0.028463 | 0.0062657 | 0.0049118 | 0.0038902 | 102.8221 | 0.012396 | 0.0022247 | 0.012187 |  | 1341 | 0 | 0 | Y | SupCrit, low density |  |  | 0.028463 | 0.0062657 | 0.031561 | 0.0054358 | -0.23842 | 0.0098421 | SupCrit | 102.7593 | 0.012187 | 1286.6839 | 0.01047 | 183.8697 | 1286.6839 | 241.6533 | 0.61733 | 2.7964 | 1.1221e-06 | 1.2347 | Flagged Warnings: | 1389.4432 | 0.0062376 | 302.1489 | 1389.4432 | 374.1901 | 0.58171 | 0 | 3.1189 | 3.119e-06 | 1.1634 | Flagged Warnings: | 1266.3696 | 20.1018 | 0.59401 | 1410.6515 | 34.2937 | 0.56901 | [9 empty] | November 29, 2020 | November | 29 | 90 | 3 | 5 | ['0h', '4m', '32s'] | 12:46:57 AM | 89217 | 89217 | 1.0006 | 1.0006 | 1.0006
4 | POC55 | 0.01595 | 0.0069315 | 0.0057089 | 0.0039311 | 102.7905 | 0.014408 | 0.0022254 | 0.014226 |  | 1341 | 0 | 0 | Y | SupCrit, low density |  |  | 0.01595 | 0.0069315 | 0.019172 | 0.0061455 | -0.26308 | 0.011476 | SupCrit | 102.7277 | 0.014226 | 1286.7077 | 0.012578 | 156.7944 | 1286.7077 | 208.196 | 0.62371 | 2.93 | 1.0092e-11 | 1.2474 | Flagged Warnings: | 1389.4354 | 0.0066458 | 263.9645 | 1389.4354 | 320.7396 | 0.57075 | 0 | 2.8597 | 1.2688e-07 | 1.1415 | Flagged Warnings: | 1266.5492 | 13.1758 | 0.57542 | 1410.7003 | 22.1704 | 0.60267 | [9 empty] | November 29, 2020 | November | 29 | 90 | 3 | 5 | ['0h', '4m', '32s'] | 12:54:26 AM | 89666 | 89666 | 1.0006 | 1.0006 | 1.0006
5 | POC56 | 0.016768 | 0.019531 | 0.019132 | 0.0039282 | 102.7926 | 0.048284 | 0.0022268 | 0.048203 |  | 1341 | 0 | 0 | Y | SupCrit, low density |  |  | 0.016768 | 0.019531 | 0.019982 | 0.019082 | -0.26146 | 0.037903 | SupCrit | 102.7297 | 0.048203 | 1286.714 | 0.047671 | 131.4216 | 1286.7141 | 172.9357 | 0.6181 | 2.8918 | 1.53e-11 | 1.2362 | Flagged Warnings: | 1389.4438 | 0.0071409 | 235.0943 | 1389.4438 | 289.8113 | 0.51654 | 0 | 2.608 | 0.33486 | 1.0331 | Flagged Warnings: | 1266.4527 | 13.3311 | 0.46256 | 1410.6691 | 23.1117 | 0.53966 | [9 empty] | November 29, 2020 | November | 29 | 90 | 3 | 5 | ['0h', '4m', '32s'] | 1:01:55 AM | 90115 | 90115 | 1.0006 | 1.0006 | 1.0006
6 | POC57-0.04 | 0.028151 | 0.0068703 | 0.0056622 | 0.0038911 | 102.8213 | 0.01429 | 0.0022291 | 0.014106 |  | 1341 | 0 | 0 | Y | SupCrit, low density |  |  | 0.028151 | 0.0068703 | 0.031251 | 0.0061104 | -0.23903 | 0.011291 | SupCrit | 102.7584 | 0.014106 | 1286.6877 | 0.012267 | 126.8988 | 1286.6877 | 159.9583 | 0.59209 | 2.4784 | 1.0912e-06 | 1.1842 | Flagged Warnings: | 1389.4461 | 0.0069645 | 211.8213 | 1389.4461 | 265.3412 | 0.5693 | 0 | 2.3308 | 0.10078 | 1.1386 | Flagged Warnings: | 1266.475 | 12.0716 | 0.5793 | 1409.4631 | 268.9524 | 0.21106 | [9 empty] | November 29, 2020 | November | 29 | 90 | 5 | 5 | ['0h', '7m', '32s'] | 1:10:45 AM | 90645 | 90645 | 1.0006 | 1.0006 | 1.0006
7 | POC58 | 0.016021 | 0.0069991 | 0.0057909 | 0.0039309 | 102.7907 | 0.014615 | 0.0022304 | 0.014435 |  | 1341 | 0 | 0 | Y | SupCrit, low density |  |  | 0.016021 | 0.0069991 | 0.019242 | 0.0062202 | -0.26294 | 0.011636 | SupCrit | 102.7278 | 0.014435 | 1286.7182 | 0.012931 | 119.0579 | 1286.7182 | 152.3054 | 0.60089 | 2.4469 | 3.0255e-07 | 1.2018 | Flagged Warnings: | 1389.4461 | 0.0064145 | 194.3189 | 1389.4461 | 237.7417 | 0.56944 | 0 | 1.9484 | 0.028279 | 1.1389 | Flagged Warnings: | 1266.4717 | 9.4361 | 0.50321 | 1410.6251 | 17.4731 | 0.42674 | [9 empty] | November 29, 2020 | November | 29 | 90 | 5 | 5 | ['0h', '7m', '32s'] | 1:20:58 AM | 91258 | 91258 | 1.0006 | 1.0006 | 1.0006