## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | time | preferred_values | lower_values | upper_values
0 | 10mol_FIE_R1 | 0.078786 | 0.02459 | 0.024294 | 0.003803 | 102.9491 | 0.061311 | 0.027722 | 0.054642 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.078786 | 0.02459 | 0.081652 | 0.024422 | -0.14138 | 0.046054 | SupCrit | 102.8675 | 0.054642 | 1285.4577 | 0.016498 | 4517.8855 | 1285.4577 | 11968.8493 | 1.0702 | 17.763 | 0.43592 | 2.1404 | Flagged Warnings: | 1388.3253 | 0.052092 | 11962.4148 | 1388.3252 | 22732.3625 | 0.60876 | 0 | 51.8831 | 0.98683 | 1.2175 | Flagged Warnings: |  |  |  | 1409.8179 | 2107.5218 | 1.1798 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 1:46:39 | 6399 | 6399 | 1.0008 | 1.0005 | 1.0011
1 | 10mol_FIE_R1 | 0.07605 | 0.028695 | 0.028441 | 0.0038044 | 102.9422 | 0.071778 | 0.02772 | 0.066157 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.07605 | 0.028695 | 0.078915 | 0.028539 | -0.14657 | 0.054009 | SupCrit | 102.8606 | 0.066157 | 1285.4725 | 0.025637 | 4677.8934 | 1285.4727 | 14067.0211 | 1.0506 | 67.2569 | 0.79979 | 2.1011 | Flagged Warnings: | 1388.3333 | 0.060987 | 11467.9764 | 1388.3333 | 22828.4077 | 0.63681 | 0 | 55.1863 | 0.98993 | 1.2736 | Flagged Warnings: | 1265.3841 | 4074.1999 | 3.1289 | 1409.7823 | 2551.9204 | 1.3895 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 1:46:39 | 6399 | 6399 | 1.0008 | 1.0005 | 1.0011
2 | 10mol_FIE_R2 | 0.10785 | 0.016564 | 0.01612 | 0.0038115 | 103.0224 | 0.040682 | 0.027706 | 0.029766 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.10785 | 0.016564 | 0.11082 | 0.016408 | -0.086907 | 0.029955 | SupCrit | 102.9418 | 0.029766 | 1285.8408 | 0.025149 | 1944.0014 | 1285.8409 | 5940.4888 | 1.145 | 26.9866 | 0.63274 | 2.29 | Flagged Warnings: | 1388.7828 | 0.015923 | 3123.4562 | 1388.7827 | 9440.1783 | 1.0784 | 0 | 24.5919 | 0.74661 | 2.1568 | Flagged Warnings: | 1265.8873 | 1543.164 | 3.3627 | 1410.1329 | 1172.4276 | 1.4029 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 1:49:45 | 6585 | 6585 | 1.0008 | 1.0005 | 1.0011
3 | 10mol_FIE_R2 | 0.11535 | 0.014892 | 0.014393 | 0.0038207 | 103.0414 | 0.036325 | 0.027711 | 0.023467 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.11535 | 0.014892 | 0.11838 | 0.014716 | -0.073035 | 0.026613 | SupCrit | 102.9607 | 0.023467 | 1285.8239 | 0.019739 | 1844.8472 | 1285.8239 | 5346.8982 | 1.1903 | 15.8584 | 0.39137 | 2.3806 | Flagged Warnings: | 1388.7846 | 0.012691 | 3106.0132 | 1388.7846 | 9143.5164 | 1.0809 | 0 | 22.0691 | 0.67767 | 2.1618 | Flagged Warnings: |  |  |  | 1410.1387 | 878.5934 | 1.2543 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 1:49:45 | 6585 | 6585 | 1.0008 | 1.0005 | 1.0011
4 | 10mol_FIE_R3 | 0.050316 | 0.025065 | 0.024769 | 0.0038367 | 102.8772 | 0.062511 | 0.027626 | 0.056032 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.050316 | 0.025065 | 0.053255 | 0.024758 | -0.19586 | 0.047913 | SupCrit | 102.7979 | 0.056032 | 1285.9612 | 0.026333 | 941.6668 | 1285.9612 | 2649.2339 | 1.1176 | 20.5266 | 0.48168 | 2.2352 | Flagged Warnings: | 1388.7592 | 0.049459 | 1531.6329 | 1388.7591 | 5634.2999 | 1.1712 | 0 | 36.5114 | 1 | 2.3425 | Flagged Warnings: |  |  |  | 1410.1733 | 462.7069 | 1.1694 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 1:53:30 | 6810 | 6810 | 1.0008 | 1.0005 | 1.001
5 | 10mol_FID_R1 | 0.067124 | 0.020634 | 0.020279 | 0.0038118 | 102.9197 | 0.051179 | 0.027511 | 0.043124 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.067124 | 0.020634 | 0.07 | 0.02038 | -0.16356 | 0.03878 | SupCrit | 102.844 | 0.043124 | 1285.5176 | 0.015462 | 5501.7109 | 1285.5176 | 14934.8955 | 1.1163 | 21.6315 | 0.38721 | 2.2326 | Flagged Warnings: | 1388.3617 | 0.040257 | 12834.811 | 1388.3616 | 27419.1004 | 0.69305 | 0 | 61.1631 | 0.95998 | 1.3861 | Flagged Warnings: |  |  |  | 1409.8583 | 2430.1636 | 1.064 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 2:5:15 | 7515 | 7515 | 1.0007 | 1.0005 | 1.001
6 | 10mol_FID_R1 | 0.061473 | 0.023027 | 0.022708 | 0.0038186 | 102.9054 | 0.057309 | 0.027507 | 0.050239 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.061473 | 0.023027 | 0.064365 | 0.022765 | -0.17438 | 0.043589 | SupCrit | 102.8298 | 0.050239 | 1285.5346 | 0.019256 | 5704.4257 | 1285.5348 | 17339.9109 | 1.1014 | 63.8641 | 0.71398 | 2.2027 | Flagged Warnings: | 1388.3646 | 0.046403 | 12770.3619 | 1388.3645 | 27683.7896 | 0.69896 | 0 | 61.0138 | 0.97318 | 1.3979 | Flagged Warnings: | 1265.4757 | 4411.3419 | 3.2851 | 1409.8235 | 2763.306 | 1.2111 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 2:5:15 | 7515 | 7515 | 1.0007 | 1.0005 | 1.001
7 | 10mol_FID_R2 | 0.081864 | 0.013802 | 0.013268 | 0.0038018 | 102.9569 | 0.033486 | 0.027485 | 0.019115 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.081864 | 0.013802 | 0.084731 | 0.013497 | -0.13556 | 0.02515 | SupCrit | 102.8823 | 0.019115 | 1285.6095 | 0.016564 | 4726.994 | 1285.6095 | 12514.9236 | 1.0714 | 20.0567 | 0.43172 | 2.1429 | Flagged Warnings: | 1388.4919 | 0.0095393 | 8605.2979 | 1388.4918 | 21410.0827 | 0.91885 | 0 | 32.6786 | 0.66353 | 1.8377 | Flagged Warnings: |  |  |  | 1409.8486 | 1904.6019 | 1.0201 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 2:8:46 | 7726 | 7726 | 1.0007 | 1.0005 | 1.001
8 | 10mol_FID_R2 | 0.070747 | 0.014332 | 0.013817 | 0.0038083 | 102.9288 | 0.034871 | 0.027477 | 0.021455 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.070747 | 0.014332 | 0.073617 | 0.014006 | -0.15665 | 0.026393 | SupCrit | 102.8542 | 0.021455 | 1285.6301 | 0.017303 | 4908.7705 | 1285.6302 | 14006.8426 | 1.0452 | 43.5289 | 0.6866 | 2.0904 | Flagged Warnings: | 1388.4845 | 0.012686 | 8714.9085 | 1388.4844 | 21840.6842 | 0.90548 | 0 | 38.2282 | 0.71653 | 1.811 | Flagged Warnings: | 1265.213 | 3109.3935 | 3.1084 | 1409.8065 | 2224.4742 | 1.1785 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 2:8:46 | 7726 | 7726 | 1.0007 | 1.0005 | 1.001
9 | 10mol_FID_R3 | 0.11997 | 0.015818 | 0.015348 | 0.0038278 | 103.053 | 0.038734 | 0.027469 | 0.027289 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.11997 | 0.015818 | 0.12304 | 0.015685 | -0.064538 | 0.028273 | SupCrit | 102.9796 | 0.027289 | 1285.5282 | 0.022768 | 2610.886 | 1285.5282 | 6963.0167 | 1.0887 | 21.6602 | 0.40562 | 2.1774 | Flagged Warnings: | 1388.5078 | 0.015044 | 4847.52 | 1388.5078 | 11361.9865 | 0.90042 | 0 | 25.1395 | 0.56509 | 1.8008 | Flagged Warnings: |  |  |  | 1409.7805 | 803.0548 | 1.2856 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 2:12:49 | 7969 | 7969 | 1.0007 | 1.0004 | 1.001
10 | 10mol_FID_R3 | 0.10278 | 0.023944 | 0.023639 | 0.0038069 | 103.0096 | 0.059659 | 0.027458 | 0.052928 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.10278 | 0.023944 | 0.10571 | 0.023898 | -0.096336 | 0.044043 | SupCrit | 102.9363 | 0.052928 | 1285.5506 | 0.049172 | 2731.3905 | 1285.5507 | 8297.014 | 1.0649 | 62.3724 | 0.79167 | 2.1297 | Flagged Warnings: | 1388.487 | 0.019581 | 5018.9216 | 1388.487 | 11956.6337 | 0.86319 | 0 | 27.4223 | 0.70986 | 1.7264 | Flagged Warnings: | 1264.6875 | 2416.4606 | 3.175 | 1409.774 | 1377.1244 | 1.3638 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 2:12:49 | 7969 | 7969 | 1.0007 | 1.0004 | 1.001
11 | 1mol_FIB_R1 | 0.020877 | 0.014353 | 0.013809 | 0.0039141 | 102.8029 | 0.034849 | 0.027223 | 0.021743 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.020877 | 0.014353 | 0.024048 | 0.013882 | -0.25334 | 0.027315 | SupCrit | 102.7351 | 0.021743 | 1285.1499 | 0.018988 | 2027.9545 | 1285.1499 | 5115.2792 | 1.0575 | 12.4564 | 0.33382 | 2.1149 | Flagged Warnings: | 1387.8851 | 0.010592 | 3029.7973 | 1387.8851 | 7321.0256 | 1.1351 | 0 | 18.5985 | 1.5053e-10 | 2.2701 | Flagged Warnings: |  |  |  | 1408.9712 | 5056.9412 | 0.056944 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 2:31:39 | 9099 | 9099 | 1.0007 | 1.0004 | 1.0009
12 | 1mol_FIB_R2 | 0.061408 | 0.092875 | 0.092797 | 0.0038187 | 102.9052 | 0.23419 | 0.027152 | 0.23247 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.061408 | 0.092875 | 0.0643 | 0.092677 | -0.1745 | 0.17796 | SupCrit | 102.8404 | 0.23247 | 1286.06 | 0.23172 | 45487.6592 | 1286.06 | 29431.4111 | 0.282 | 19.823 | 0.22392 | 0.564 | Flagged Warnings: | 1388.9005 | 0.018605 | 3538.4986 | 1388.9004 | 7780.7474 | 0.9416 | 0 | 28.5472 | 0.27426 | 1.8832 | Flagged Warnings: |  |  |  | 1410.2575 | 7811.6711 | 0.25051 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 2:42:55 | 9775 | 9775 | 1.0006 | 1.0004 | 1.0009
13 | 1mol_FIB_R3 | 0.027377 | 0.032357 | 0.032122 | 0.0038934 | 102.8193 | 0.081068 | 0.027059 | 0.076372 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.027377 | 0.032357 | 0.030484 | 0.031925 | -0.24055 | 0.063119 | SupCrit | 102.7568 | 0.076372 | 1286.3058 | 0.071755 | 1225.7354 | 1286.3058 | 2754.3918 | 0.86049 | 20.6651 | 0.56933 | 1.721 | Flagged Warnings: | 1389.0625 | 0.026152 | 1763.9373 | 1389.0625 | 3699.349 | 0.95509 | 0 | 19.1076 | 0.094494 | 1.9102 | Flagged Warnings: |  |  |  | 1410.6068 | 415.0287 | 1.2928 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 2:51:31 | 10291 | 10291 | 1.0006 | 1.0003 | 1.0009
14 | 1mol_FIA_R1 | 0.021184 | 0.01992 | 0.019532 | 0.0039131 | 102.8037 | 0.049293 | 0.026883 | 0.041295 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.021184 | 0.01992 | 0.024351 | 0.019487 | -0.25274 | 0.038576 | SupCrit | 102.7467 | 0.041295 | 1286.3236 | 0.039219 | 2523.0592 | 1286.3236 | 5393.655 | 0.86158 | 15.551 | 0.43831 | 1.7232 | Flagged Warnings: | 1389.0703 | 0.012928 | 3534.8696 | 1389.0703 | 7337.4711 | 0.97501 | 0 | 25.0392 | 5.5441e-06 | 1.95 | Flagged Warnings: |  |  |  | 1410.3241 | 1150.0692 | 0.41114 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 3:15:6 | 11706 | 11706 | 1.0006 | 1.0003 | 1.0008
15 | 1mol_FIA_R2 | -0.0016295 | 0 | 0 | 0 | 102.7461 | 0.035499 | 0.026822 | 0.023241 |  |  | 0 | 0 | N | Below lower calibration limit |  |  | -0.0016295 | 0.014624 | 0.0018051 | 0.014092 | -0.29809 | 0.028252 | SupCrit | 102.6907 | 0.023241 | 1286.4844 | 0.01934 | 2137.3803 | 1286.4844 | 4842.9941 | 0.98269 | 14.2828 | 0.23592 | 1.9654 | Flagged Warnings: | 1389.1751 | 0.012887 | 3308.0208 | 1389.1751 | 7471.8945 | 1.0166 | 0 | 21.222 | 0.12976 | 2.0332 | Flagged Warnings: |  |  |  | 1410.4031 | 703.8053 | 1.5228 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 3:22:7 | 12127 | 12127 | 1.0005 | 1.0003 | 1.0008
16 | 1mol_FIA_R3 | 0.013494 | 0.016353 | 0.015871 | 0.0039401 | 102.7843 | 0.040055 | 0.026793 | 0.029759 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.013494 | 0.016353 | 0.016743 | 0.01588 | -0.26795 | 0.031535 | SupCrit | 102.7302 | 0.029759 | 1286.5448 | 0.025607 | 1935.5001 | 1286.5448 | 4672.3799 | 1.0169 | 19.2873 | 0.31835 | 2.0337 | Flagged Warnings: | 1389.2751 | 0.015162 | 2920.297 | 1389.275 | 6481.5274 | 1.0373 | 0 | 23.0781 | 0.015847 | 2.0745 | Flagged Warnings: |  |  |  | 1410.3903 | 5394.6808 | 0.051634 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 3:28:32 | 12512 | 12512 | 1.0005 | 1.0003 | 1.0008
17 | LL8_404a_r1 | -0.0073624 | 0 | 0 | 0 | 102.7317 | 0.037469 | 0.026669 | 0.026307 |  |  | 0 | 0 | N | Below lower calibration limit |  |  | -0.0073624 | 0.015383 | -0.0038501 | 0.014842 | -0.3096 | 0.029929 | SupCrit | 102.6816 | 0.026307 | 1286.7444 | 0.025238 | 2405.634 | 1286.7444 | 5063.6932 | 0.9891 | 17.7551 | 6.5575e-08 | 1.9782 | Flagged Warnings: | 1389.426 | 0.0074211 | 3616.5167 | 1389.4259 | 7840.7378 | 1.0184 | 0 | 21.4018 | 8.3929e-10 | 2.0367 | Flagged Warnings: |  |  |  | 1410.6995 | 1186.6698 | 0.97097 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 3:49:24 | 13764 | 13764 | 1.0005 | 1.0002 | 1.0007
18 | LL8_404a_r2 | -0.0086903 | 0 | 0 | 0 | 102.7283 | 0.048807 | 0.026641 | 0.040875 |  |  | 0 | 0 | N | Below lower calibration limit |  |  | -0.0086903 | 0.019755 | -0.0051594 | 0.019224 | -0.31227 | 0.038984 | SupCrit | 102.6792 | 0.040875 | 1286.7339 | 0.037514 | 1606.0369 | 1286.7339 | 3191.9387 | 0.92898 | 22.166 | 0.0078998 | 1.858 | Flagged Warnings: | 1389.4132 | 0.016232 | 2412.9408 | 1389.4131 | 5080.6875 | 0.98904 | 0 | 24.833 | 1.0251e-09 | 1.9781 | Flagged Warnings: |  |  |  | 1410.6122 | 995.9271 | 0.82125 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 3:55:13 | 14113 | 14113 | 1.0005 | 1.0002 | 1.0007
19 | LL8_404a_r3 | 0.013137 | 0.016166 | 0.015678 | 0.0039414 | 102.7834 | 0.039567 | 0.026629 | 0.029252 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.013137 | 0.016166 | 0.01639 | 0.015691 | -0.26865 | 0.03116 | SupCrit | 102.7354 | 0.029252 | 1286.7887 | 0.028439 | 1796.4498 | 1286.7887 | 3938.7318 | 0.97391 | 9.7784 | 0.17224 | 1.9478 | Flagged Warnings: | 1389.5241 | 0.0068483 | 2701.4212 | 1389.5241 | 5884.4661 | 0.9951 | 0 | 15.2618 | 0.085196 | 1.9902 | Flagged Warnings: |  |  |  | 1410.6214 | 797.0275 | 0.76733 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 4:1:40 | 14500 | 14500 | 1.0005 | 1.0002 | 1.0007
20 | 4mol_FID_R1 | 0.075473 | 0.014599 | 0.014095 | 0.0038048 | 102.9407 | 0.035571 | 0.026611 | 0.023594 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.075473 | 0.014599 | 0.078339 | 0.014293 | -0.14767 | 0.02683 | SupCrit | 102.8951 | 0.023594 | 1286.3471 | 0.021573 | 3436.2852 | 1286.3471 | 8539.9691 | 0.97574 | 18.1002 | 0.5076 | 1.9515 | Flagged Warnings: | 1389.2422 | 0.0095542 | 5250.1342 | 1389.2422 | 12917.1074 | 1.0512 | 0 | 23.9266 | 0.28074 | 2.1024 | Flagged Warnings: |  |  |  | 1410.4223 | 1317.7141 | 0.7223 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 4:17:56 | 15476 | 15476 | 1.0004 | 1.0002 | 1.0007
21 | 4mol_FID_R2 | 0.062302 | 0.015419 | 0.014939 | 0.0038175 | 102.9075 | 0.037701 | 0.026587 | 0.026719 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.062302 | 0.015419 | 0.065191 | 0.015086 | -0.17279 | 0.028696 | SupCrit | 102.8626 | 0.026719 | 1286.2327 | 0.026078 | 7053.0229 | 1286.2327 | 15731.6118 | 0.86682 | 16.8031 | 0.53627 | 1.7336 | Flagged Warnings: | 1389.0954 | 0.0058178 | 9920.8742 | 1389.0953 | 23441.7312 | 0.99653 | 0 | 28.802 | 0.31711 | 1.9931 | Flagged Warnings: |  |  |  | 1410.3693 | 2464.8462 | 0.54146 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 4:23:29 | 15809 | 15809 | 1.0004 | 1.0002 | 1.0007
22 | 4mol_FID_R3 | 0.070138 | 0.014463 | 0.013952 | 0.0038089 | 102.9273 | 0.035212 | 0.02658 | 0.023085 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.070138 | 0.014463 | 0.073009 | 0.014138 | -0.15781 | 0.026662 | SupCrit | 102.883 | 0.023085 | 1286.3338 | 0.021691 | 3966.3661 | 1286.3338 | 9983.9742 | 0.9811 | 17.428 | 0.52876 | 1.9622 | Flagged Warnings: | 1389.2169 | 0.0079032 | 6122.618 | 1389.2168 | 15321.2686 | 1.054 | 0 | 26.1767 | 0.32086 | 2.1079 | Flagged Warnings: |  |  |  | 1410.3935 | 1621.4419 | 0.52208 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 4:27:51 | 16071 | 16071 | 1.0004 | 1.0002 | 1.0007
23 | LL8_626_MI_r1 | -0.010478 | 0 | 0 | 0 | 102.7238 | 0.037344 | 0.026494 | 0.026307 |  |  | 0 | 0 | N | Below lower calibration limit |  |  | -0.010478 | 0.015339 | -0.0069219 | 0.014789 | -0.31587 | 0.029892 | SupCrit | 102.6816 | 0.026307 | 1286.7444 | 0.025238 | 2405.634 | 1286.7444 | 5063.6932 | 0.9891 | 17.7551 | 6.5575e-08 | 1.9782 | Flagged Warnings: | 1389.426 | 0.0074211 | 3616.5167 | 1389.4259 | 7840.7378 | 1.0184 | 0 | 21.4018 | 8.3929e-10 | 2.0367 | Flagged Warnings: |  |  |  | 1410.6995 | 1186.6698 | 0.97097 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 4:44:17 | 17057 | 17057 | 1.0004 | 1.0002 | 1.0007
24 | LL8_626_MI_r2 | -0.030208 | 0 | 0 | 0 | 102.674 | 0.12386 | 0.026473 | 0.12095 |  |  | 0 | 0 | N | Below lower calibration limit |  |  | -0.030208 | 0.049252 | -0.02635 | 0.048364 | -0.3559 | 0.10025 | SupCrit | 102.6324 | 0.12095 | 1286.7537 | 0.10159 | 436.2736 | 1286.7537 | 784.7292 | 0.84339 | 16.3016 | 8.2389e-09 | 1.6868 | Flagged Warnings: | 1389.3861 | 0.065637 | 601.8595 | 1389.3861 | 1174.4385 | 0.91658 | 0 | 16.4591 | 2.9193e-06 | 1.8332 | Flagged Warnings: |  |  |  | 1409.9754 | 192.9302 | 1.3292 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 4:50:16 | 17416 | 17416 | 1.0004 | 1.0001 | 1.0007
25 | LL8_626_MI_r3 | -0.024948 | 0 | 0 | 0 | 102.6873 | 1.9285 | 0.026466 | 1.9275 |  |  | 0 | 0 | N | Below lower calibration limit |  |  | -0.024948 | 0.76414 | -0.021174 | 0.83628 | -0.34518 | 1.5551 | SupCrit | 102.6467 | 1.9275 | 1286.8528 | 0.14607 | 383.1423 | 1286.8528 | 795.4894 | 0.96692 | 22.7802 | 0.056294 | 1.9338 | Flagged Warnings: | 1389.4995 | 1.922 | 1515.2429 | 1389.4995 | 1655.4822 | 0.51329 | 0 | 22.928 | 1.1695e-09 | 1.0266 | Flagged Warnings: |  |  |  | 1410.2633 | 490.4072 | 0.79854 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 5:1:9 | 18069 | 18069 | 1.0004 | 1.0001 | 1.0007
26 | LL8_622B_R2 | -0.036098 | 0 | 0 | 0 | 102.6592 | 0.26492 | 0.026462 | 0.2635 |  |  | 0 | 0 | N | Below lower calibration limit |  |  | -0.036098 | 0.10506 | -0.032143 | 0.10346 | -0.36795 | 0.21524 | SupCrit | 102.6203 | 0.2635 | 1286.9116 | 0.25437 | 363.9877 | 1286.9116 | 1146.3837 | 0.99698 | 22.3469 | 1 | 1.994 | Flagged Warnings: | 1389.5319 | 0.068734 | 530.2691 | 1389.5319 | 1112.3454 | 0.98533 | 0 | 24.4858 | 1.5422e-11 | 1.9707 | Flagged Warnings: |  |  |  | 1410.4098 | 315.3756 | 0.51023 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 5:25:16 | 19516 | 19516 | 1.0004 | 1.0001 | 1.0006
27 | LL8_622B_R1 | -0.031306 | 0 | 0 | 0 | 102.6712 | 0.12385 | 0.026465 | 0.12095 |  |  | 0 | 0 | N | Below lower calibration limit |  |  | -0.031306 | 0.04925 | -0.02743 | 0.048357 | -0.35814 | 0.10032 | SupCrit | 102.6324 | 0.12095 | 1286.7537 | 0.10159 | 436.2736 | 1286.7537 | 784.7292 | 0.84339 | 16.3016 | 8.2389e-09 | 1.6868 | Flagged Warnings: | 1389.3861 | 0.065637 | 601.8595 | 1389.3861 | 1174.4385 | 0.91658 | 0 | 16.4591 | 2.9193e-06 | 1.8332 | Flagged Warnings: |  |  |  | 1409.9754 | 192.9302 | 1.3292 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 5:25:27 | 19527 | 19527 | 1.0004 | 1.0001 | 1.0006
28 | LL8_622B_R3 | -0.014951 | 0 | 0 | 0 | 102.7125 | 0.1361 | 0.026516 | 0.13344 |  |  | 0 | 0 | N | Below lower calibration limit |  |  | -0.014951 | 0.05408 | -0.01133 | 0.053217 | -0.3249 | 0.10904 | SupCrit | 102.6747 | 0.13344 | 1286.6638 | 0.11324 | 422.6215 | 1286.6638 | 981.313 | 1.0877 | 19.0221 | 3.2733e-11 | 2.1754 | Flagged Warnings: | 1389.3385 | 0.070582 | 668.3789 | 1389.3385 | 1534.8508 | 1.0787 | 0 | 28.3515 | 3.4311e-10 | 2.1573 | Flagged Warnings: |  |  |  | 1410.4993 | 359.9535 | 0.66563 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 5:51:6 | 21066 | 21066 | 1.0004 | 1.0001 | 1.0006
29 | LL8_612_a_r1 | 0.031231 | 0.22512 | 0.22508 | 0.0038821 | 102.8291 | 0.56805 | 0.02659 | 0.56722 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.031231 | 0.22512 | 0.034304 | 0.22532 | -0.23299 | 0.44088 | SupCrit | 102.7914 | 0.56722 | 1286.6414 | 0.12628 | 426.9465 | 1286.6414 | 1110.567 | 0.90127 | 16.2788 | 0.80925 | 1.8025 | Flagged Warnings: | 1389.4328 | 0.55298 | 1110.7805 | 1389.4328 | 1537.0656 | 0.60878 | 0 | 17.1472 | 0.19665 | 1.2176 | Flagged Warnings: |  |  |  | 1410.4643 | 260.4325 | 1.154 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 6:6:55 | 22015 | 22015 | 1.0004 | 1.0001 | 1.0006
30 | LL8_612_a_r2 | 0.03865 | 0.086429 | 0.086342 | 0.0038623 | 102.8478 | 0.2179 | 0.026617 | 0.21619 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.03865 | 0.086429 | 0.041664 | 0.085862 | -0.2185 | 0.16826 | SupCrit | 102.8102 | 0.21619 | 1286.4967 | 0.20643 | 446.0375 | 1286.4967 | 893.6433 | 0.78035 | 18.5312 | 0.52253 | 1.5607 | Flagged Warnings: | 1389.3069 | 0.064244 | 606.6629 | 1389.3069 | 1237.9829 | 0.95853 | 0 | 18.4004 | 6.2348e-09 | 1.9171 | Flagged Warnings: |  |  |  | 1410.2565 | 304.4513 | 1.1479 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 6:13:34 | 22414 | 22414 | 1.0004 | 1.0001 | 1.0006
31 | LL8_612_a_r3 | 0.031973 | 0.070257 | 0.07015 | 0.00388 | 102.8309 | 0.17704 | 0.026641 | 0.17496 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.031973 | 0.070257 | 0.03504 | 0.069664 | -0.23154 | 0.13735 | SupCrit | 102.7932 | 0.17496 | 1286.477 | 0.13205 | 351.6668 | 1286.477 | 655.5449 | 0.87755 | 13.2127 | 2.0787e-08 | 1.7551 | Flagged Warnings: | 1389.2702 | 0.11477 | 616.4615 | 1389.2702 | 1074.5137 | 0.81874 | 0 | 14.3034 | 1.9866e-07 | 1.6375 | Flagged Warnings: |  |  |  | 1410.2743 | 274.7366 | 0.58823 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 6:20:50 | 22850 | 22850 | 1.0004 | 1.0001 | 1.0006
32 | LL8_612_c_r1 | -0.053759 | 0 | 0 | 0 | 102.6146 | 0.13389 | 0.026617 | 0.13117 |  |  | 0 | 0 | N | Below lower calibration limit |  |  | -0.053759 | 0.053225 | -0.049495 | 0.05218 | -0.40438 | 0.11007 | SupCrit | 102.5768 | 0.13117 | 1286.8001 | 0.12018 | 386.8736 | 1286.8001 | 837.8175 | 0.93931 | 15.9005 | 0.2349 | 1.8786 | Flagged Warnings: | 1389.377 | 0.052556 | 646.2308 | 1389.377 | 1333.567 | 0.96931 | 0 | 19.1864 | 5.3533e-06 | 1.9386 | Flagged Warnings: |  |  |  | 1410.3094 | 343.4838 | 1.2911 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 6:28:25 | 23305 | 23305 | 1.0004 | 1.0001 | 1.0006
33 | LL8_612_c_r2 | -0.027869 | 0 | 0 | 0 | 102.6799 | 0.069062 | 0.026666 | 0.063683 |  |  | 0 | 0 | N | Below lower calibration limit |  |  | -0.027869 | 0.027675 | -0.024049 | 0.027041 | -0.35113 | 0.055839 | SupCrit | 102.6419 | 0.063683 | 1286.5757 | 0.05566 | 980.3647 | 1286.5757 | 1988.2645 | 0.92864 | 21.8568 | 0.072982 | 1.8573 | Flagged Warnings: | 1389.2177 | 0.030942 | 1536.4609 | 1389.2177 | 3014.9154 | 0.91815 | 0 | 19.1931 | 0.01195 | 1.8363 | Flagged Warnings: |  |  |  | 1410.3345 | 857.939 | 0.51967 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 6:35:22 | 23722 | 23722 | 1.0004 | 1.0001 | 1.0006
34 | LL8_612_c_r3 | -0.05148 | 0 | 0 | 0 | 102.6203 | 0.13235 | 0.026713 | 0.12958 |  |  | 0 | 0 | N | Below lower calibration limit |  |  | -0.05148 | 0.052616 | -0.047257 | 0.051588 | -0.39965 | 0.10864 | SupCrit | 102.5819 | 0.12958 | 1286.7812 | 0.10145 | 366.3344 | 1286.7812 | 754.75 | 0.96854 | 15.7662 | 1.9735e-08 | 1.9371 | Flagged Warnings: | 1389.3631 | 0.080608 | 637.5309 | 1389.3631 | 1176.3945 | 0.86674 | 0 | 18.0467 | 1.5421e-11 | 1.7335 | Flagged Warnings: |  |  |  | 1410.3034 | 403.7248 | 0.52588 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 6:47:29 | 24449 | 24449 | 1.0004 | 1.0001 | 1.0006
35 | LL8_615_r1 | -0.019133 | 0 | 0 | 0 | 102.702 | 0.054475 | 0.026839 | 0.047386 |  |  | 0 | 0 | N | Below lower calibration limit |  |  | -0.019133 | 0.021968 | -0.01545 | 0.021399 | -0.33337 | 0.043806 | SupCrit | 102.6625 | 0.047386 | 1286.4795 | 0.041936 | 2026.1235 | 1286.4795 | 3984.8643 | 0.92412 | 24.8895 | 2.0204e-09 | 1.8482 | Flagged Warnings: | 1389.142 | 0.022063 | 3097.9998 | 1389.142 | 6534.593 | 0.95798 | 0 | 27.0125 | 0.10268 | 1.916 | Flagged Warnings: |  |  |  | 1410.4919 | 624.7027 | 1.079 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 7:4:48 | 25488 | 25488 | 1.0004 | 1.0001 | 1.0006
36 | LL8_615_r2 | -0.031713 | 0 | 0 | 0 | 102.6702 | 0.044469 | 0.026874 | 0.035416 |  |  | 0 | 0 | N | Below lower calibration limit |  |  | -0.031713 | 0.018103 | -0.02783 | 0.017504 | -0.35898 | 0.036081 | SupCrit | 102.6303 | 0.035416 | 1286.4294 | 0.032532 | 2445.4736 | 1286.4294 | 5078.1143 | 0.96928 | 19.579 | 0.020007 | 1.9386 | Flagged Warnings: | 1389.0597 | 0.014 | 3774.8044 | 1389.0597 | 7947.3039 | 0.93933 | 0 | 22.6064 | 0.15558 | 1.8787 | Flagged Warnings: |  |  |  | 1410.374 | 930.7193 | 0.924 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 7:11:19 | 25879 | 25879 | 1.0004 | 1.0001 | 1.0007
37 | LL8_615_r3 | -0.017113 | 0 | 0 | 0 | 102.7071 | 0.039053 | 0.026932 | 0.028269 |  |  | 0 | 0 | N | Below lower calibration limit |  |  | -0.017113 | 0.016002 | -0.01346 | 0.015437 | -0.32927 | 0.031394 | SupCrit | 102.6666 | 0.028269 | 1286.46 | 0.025985 | 2601.075 | 1286.46 | 5570.1339 | 0.9581 | 19.1559 | 0.14522 | 1.9162 | Flagged Warnings: | 1389.1266 | 0.011132 | 3910.4558 | 1389.1265 | 8216.7172 | 0.96978 | 0 | 21.7944 | 0.05423 | 1.9396 | Flagged Warnings: |  |  |  | 1410.3082 | 1299.2432 | 0.62384 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 7:18:11 | 26291 | 26291 | 1.0004 | 1.0001 | 1.0007
38 | LL8_631_a_r1 | -0.0082192 | 0 | 0 | 0 | 102.7295 | 0.16098 | 0.027067 | 0.15863 |  |  | 0 | 0 | N | Below lower calibration limit |  |  | -0.0082192 | 0.063915 | -0.0046949 | 0.062991 | -0.31132 | 0.12838 | SupCrit | 102.6874 | 0.15863 | 1286.3251 | 0.1416 | 292.6465 | 1286.3251 | 595.5428 | 0.94583 | 19.4551 | 0.0082179 | 1.8917 | Flagged Warnings: | 1389.0125 | 0.071492 | 455.542 | 1389.0125 | 935.9798 | 0.96511 | 0 | 15.4487 | 1.5421e-11 | 1.9302 | Flagged Warnings: |  |  |  | 1410.1974 | 164.8813 | 0.5038 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 7:34:55 | 27295 | 27295 | 1.0004 | 1.0001 | 1.0007
39 | LL8_631_a_r2 | -0.066969 | 0 | 0 | 0 | 102.5812 | 0.1455 | 0.027082 | 0.1429 |  |  | 0 | 0 | N | Below lower calibration limit |  |  | -0.066969 | 0.05782 | -0.062462 | 0.05666 | -0.4319 | 0.12065 | SupCrit | 102.5384 | 0.1429 | 1286.5176 | 0.1233 | 278.9449 | 1286.5176 | 889.6645 | 1.1448 | 11.5376 | 0.73347 | 2.2895 | Flagged Warnings: | 1389.056 | 0.072232 | 469.5703 | 1389.056 | 909.6801 | 0.90997 | 0 | 12.2762 | 1.4224e-12 | 1.8199 | Flagged Warnings: |  |  |  | 1410.1541 | 188.8014 | 1.1793 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 7:41:30 | 27690 | 27690 | 1.0004 | 1.0002 | 1.0007
40 | LL8_631_a_r3 | 0.042894 | 0.09948 | 0.099405 | 0.0038522 | 102.8585 | 0.25087 | 0.027208 | 0.24929 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.042894 | 0.09948 | 0.045878 | 0.098959 | -0.21024 | 0.19314 | SupCrit | 102.8149 | 0.24929 | 1286.3261 | 0.23711 | 389.4288 | 1286.3261 | 625.3329 | 0.75129 | 10.6967 | 4.302e-11 | 1.5026 | Flagged Warnings: | 1389.141 | 0.076965 | 506.8075 | 1389.141 | 1060.9069 | 0.89107 | 0 | 13.617 | 0.29091 | 1.7821 | Flagged Warnings: |  |  |  | 1410.2954 | 288.3717 | 0.45726 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 7:47:30 | 28050 | 28050 | 1.0004 | 1.0002 | 1.0007
41 | LL8_631_b_r1 | -0.064138 | 0 | 0 | 0 | 102.5884 | 0.19795 | 0.027202 | 0.19598 |  |  | 0 | 0 | N | Below lower calibration limit |  |  | -0.064138 | 0.078555 | -0.059684 | 0.077101 | -0.42598 | 0.16382 | SupCrit | 102.5439 | 0.19598 | 1286.596 | 0.18258 | 299.3514 | 1286.596 | 531.8684 | 0.81294 | 14.3881 | 0.078117 | 1.6259 | Flagged Warnings: | 1389.1399 | 0.071236 | 443.165 | 1389.1399 | 997.9447 | 1.0577 | 0 | 16.6206 | 1.5421e-11 | 2.1155 | Flagged Warnings: |  |  |  | 1410.2825 | 215.1768 | 0.53029 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 7:54:48 | 28488 | 28488 | 1.0004 | 1.0002 | 1.0007
42 | LL8_631_b_r2 | -0.0067913 | 0 | 0 | 0 | 102.7331 | 0.16103 | 0.027324 | 0.15863 |  |  | 0 | 0 | N | Below lower calibration limit |  |  | -0.0067913 | 0.063934 | -0.0032869 | 0.06302 | -0.30845 | 0.1283 | SupCrit | 102.6874 | 0.15863 | 1286.3251 | 0.1416 | 292.6465 | 1286.3251 | 595.5428 | 0.94583 | 19.4551 | 0.0082179 | 1.8917 | Flagged Warnings: | 1389.0125 | 0.071492 | 455.542 | 1389.0125 | 935.9798 | 0.96511 | 0 | 15.4487 | 1.5421e-11 | 1.9302 | Flagged Warnings: |  |  |  | 1410.1974 | 164.8813 | 0.5038 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 8:3:40 | 29020 | 29020 | 1.0004 | 1.0002 | 1.0007
43 | LL8_631_b_r3 | -0.092579 | 0 | 0 | 0 | 102.5166 | 0.10953 | 0.027332 | 0.10601 |  |  | 0 | 0 | N | Below lower calibration limit |  |  | -0.092579 | 0.043638 | -0.087578 | 0.042632 | -0.48593 | 0.092343 | SupCrit | 102.47 | 0.10601 | 1286.6907 | 0.087101 | 305.2604 | 1286.6907 | 620.8776 | 0.95578 | 14.2079 | 5.7152e-09 | 1.9116 | Flagged Warnings: | 1389.1607 | 0.060433 | 508.7012 | 1389.1607 | 1021.3943 | 0.89996 | 0 | 11.0869 | 0.14198 | 1.7999 | Flagged Warnings: |  |  |  | 1410.1672 | 241.6859 | 1.2202 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 8:10:20 | 29420 | 29420 | 1.0005 | 1.0002 | 1.0007
44 | LL8_624_r1 | -0.0054939 | 0 | 0 | 0 | 102.7364 | 0.069971 | 0.027813 | 0.064172 |  |  | 0 | 0 | N | Below lower calibration limit |  |  | -0.0054939 | 0.028015 | -0.0020073 | 0.027458 | -0.30584 | 0.055729 | SupCrit | 102.6829 | 0.064172 | 1286.3221 | 0.062664 | 1907.9522 | 1286.3221 | 3764.8859 | 0.83205 | 13.9008 | 0.32024 | 1.6641 | Flagged Warnings: | 1389.0051 | 0.013833 | 2634.8549 | 1389.0051 | 5564.9615 | 0.95411 | 0 | 17.4702 | 0.11888 | 1.9082 | Flagged Warnings: |  |  |  | 1410.2826 | 1120.4463 | 0.62595 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 8:48:35 | 31715 | 31715 | 1.0005 | 1.0002 | 1.0008
45 | LL8_624_r2 | -0.015005 | 0 | 0 | 0 | 102.7124 | 0.057404 | 0.02788 | 0.050153 |  |  | 0 | 0 | N | Below lower calibration limit |  |  | -0.015005 | 0.023106 | -0.011383 | 0.022545 | -0.32501 | 0.046029 | SupCrit | 102.6577 | 0.050153 | 1286.3088 | 0.04845 | 1691.9253 | 1286.3088 | 3514.7528 | 0.90392 | 15.004 | 0.22436 | 1.8078 | Flagged Warnings: | 1388.9665 | 0.012958 | 2560.2347 | 1388.9665 | 5306.2308 | 0.94143 | 0 | 13.8035 | 0.10246 | 1.8829 | Flagged Warnings: |  |  |  | 1410.1989 | 999.1 | 1.0899 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 8:54:37 | 32077 | 32077 | 1.0005 | 1.0003 | 1.0008
46 | LL8_624_r3 | -0.017379 | 0 | 0 | 0 | 102.7064 | 0.06361 | 0.027952 | 0.057108 |  |  | 0 | 0 | N | Below lower calibration limit |  |  | -0.017379 | 0.025532 | -0.013722 | 0.024949 | -0.32981 | 0.051077 | SupCrit | 102.6505 | 0.057108 | 1286.4438 | 0.052828 | 1253.0167 | 1286.4438 | 2626.2171 | 0.98378 | 20.3612 | 1.3503e-07 | 1.9676 | Flagged Warnings: | 1389.0943 | 0.021691 | 1922.6244 | 1389.0943 | 4000.7125 | 0.97742 | 0 | 20.6799 | 1.0219e-08 | 1.9548 | Flagged Warnings: |  |  |  | 1410.3353 | 794.9187 | 0.78392 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 9:0:34 | 32434 | 32434 | 1.0005 | 1.0003 | 1.0008
47 | 10mol_FIE_R1_FIN | 0.086804 | 0.013821 | 0.013288 | 0.003801 | 102.9693 | 0.033535 | 0.028347 | 0.017907 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.086804 | 0.013821 | 0.089679 | 0.01353 | -0.12624 | 0.025097 | SupCrit | 102.9076 | 0.017907 | 1285.7465 | 0.014156 | 4950.3445 | 1285.7467 | 14084.9919 | 1.0958 | 42.7729 | 0.56287 | 2.1917 | Flagged Warnings: | 1388.6543 | 0.010966 | 8463.1486 | 1388.6543 | 21564.613 | 0.93944 | 0 | 41.0967 | 0.66787 | 1.8789 | Flagged Warnings: | 1265.4941 | 3422.246 | 3.2422 | 1410.0074 | 2509.9195 | 1.1843 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 9:25:3 | 33903 | 33903 | 1.0006 | 1.0003 | 1.0009
48 | 10mol_FIE_R1_FIN | 0.097138 | 0.01377 | 0.013235 | 0.0038033 | 102.9954 | 0.033401 | 0.028355 | 0.017643 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.097138 | 0.01377 | 0.10005 | 0.013507 | -0.10685 | 0.024811 | SupCrit | 102.9337 | 0.017643 | 1285.7241 | 0.015424 | 4697.1127 | 1285.7241 | 12386.4494 | 1.1356 | 21.4839 | 0.26017 | 2.2713 | Flagged Warnings: | 1388.6578 | 0.0085643 | 8425.2403 | 1388.6578 | 21166.8783 | 0.94594 | 0 | 36.7345 | 0.61593 | 1.8919 | Flagged Warnings: |  |  |  | 1410.0246 | 2134.6447 | 1.081 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 9:25:3 | 33903 | 33903 | 1.0006 | 1.0003 | 1.0009
49 | 10mol_FIE_R2_FIN | 0.066409 | 0.01588 | 0.015415 | 0.0038126 | 102.9179 | 0.038904 | 0.028378 | 0.026596 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.066409 | 0.01588 | 0.069287 | 0.015568 | -0.16493 | 0.029521 | SupCrit | 102.8553 | 0.026596 | 1285.6344 | 0.020063 | 5649.9954 | 1285.6346 | 16532.0355 | 1.0721 | 64.8629 | 0.68679 | 2.1442 | Flagged Warnings: | 1388.49 | 0.01746 | 10339.5506 | 1388.4899 | 24790.0398 | 0.83957 | 0 | 45.2961 | 0.79009 | 1.6791 | Flagged Warnings: | 1265.3794 | 4325.9221 | 3.1873 | 1409.9054 | 2839.0976 | 1.1993 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 9:28:16 | 34096 | 34096 | 1.0006 | 1.0003 | 1.0009
50 | 10mol_FIE_R2_FIN | 0.080049 | 0.014371 | 0.013859 | 0.0038025 | 102.9523 | 0.034976 | 0.028387 | 0.02042 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.080049 | 0.014371 | 0.082916 | 0.014073 | -0.13899 | 0.026297 | SupCrit | 102.8898 | 0.02042 | 1285.6092 | 0.015646 | 5381.1059 | 1285.6092 | 14231.3162 | 1.1027 | 23.2829 | 0.35058 | 2.2053 | Flagged Warnings: | 1388.499 | 0.013122 | 10184.4653 | 1388.499 | 24361.5088 | 0.85718 | 0 | 42.9356 | 0.73595 | 1.7144 | Flagged Warnings: |  |  |  | 1409.9253 | 2449.6136 | 1.1003 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 9:28:16 | 34096 | 34096 | 1.0006 | 1.0003 | 1.0009
51 | 10mol_FIE_R3_FIN | 0.069791 | 0.015469 | 0.014992 | 0.0038092 | 102.9264 | 0.037836 | 0.028426 | 0.024955 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.069791 | 0.015469 | 0.072663 | 0.015161 | -0.15847 | 0.028645 | SupCrit | 102.8631 | 0.024955 | 1285.7078 | 0.019117 | 3874.7172 | 1285.7079 | 11695.2435 | 1.1293 | 45.8357 | 0.63637 | 2.2585 | Flagged Warnings: | 1388.571 | 0.016041 | 6558.271 | 1388.571 | 17479.6418 | 0.93112 | 0 | 37.6411 | 0.79569 | 1.8622 | Flagged Warnings: | 1265.3067 | 3179.701 | 3.3481 | 1409.9603 | 2236.3025 | 1.3036 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 9:31:32 | 34292 | 34292 | 1.0006 | 1.0003 | 1.0009
52 | 10mol_FIE_R3_FIN | 0.081916 | 0.014459 | 0.01395 | 0.0038018 | 102.957 | 0.035206 | 0.028435 | 0.020747 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.081916 | 0.014459 | 0.084784 | 0.014169 | -0.13546 | 0.026433 | SupCrit | 102.8936 | 0.020747 | 1285.6837 | 0.016231 | 3675.2722 | 1285.6837 | 10115.4625 | 1.1641 | 19.53 | 0.31035 | 2.3283 | Flagged Warnings: | 1388.5774 | 0.012922 | 6506.3583 | 1388.5773 | 17148.6619 | 0.94165 | 0 | 36.3145 | 0.74321 | 1.8833 | Flagged Warnings: |  |  |  | 1410.0038 | 1928.6147 | 1.1129 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 9:31:32 | 34292 | 34292 | 1.0006 | 1.0003 | 1.0009
53 | 10mol_FID_R1_FIN | 0.086075 | 0.01405 | 0.013526 | 0.003801 | 102.9675 | 0.034136 | 0.028493 | 0.018788 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.086075 | 0.01405 | 0.088949 | 0.013763 | -0.12761 | 0.025558 | SupCrit | 102.9031 | 0.018788 | 1285.5157 | 0.016263 | 5417.912 | 1285.5157 | 14466.791 | 1.1004 | 14.8383 | 0.38259 | 2.2008 | Flagged Warnings: | 1388.4189 | 0.0094086 | 10684.6491 | 1388.4188 | 24144.6637 | 0.83839 | 0 | 27.1797 | 0.65219 | 1.6768 | Flagged Warnings: |  |  |  | 1409.8702 | 2057.7352 | 1.1231 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 9:35:26 | 34526 | 34526 | 1.0006 | 1.0003 | 1.0009
54 | 10mol_FID_R1_FIN | 0.074711 | 0.014591 | 0.014086 | 0.0038053 | 102.9388 | 0.035549 | 0.028485 | 0.021254 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.074711 | 0.014591 | 0.077577 | 0.014282 | -0.14911 | 0.026827 | SupCrit | 102.8745 | 0.021254 | 1285.5281 | 0.014402 | 5550.4703 | 1285.5283 | 15962.1584 | 1.0888 | 46.6111 | 0.60596 | 2.1775 | Flagged Warnings: | 1388.4028 | 0.01563 | 11083.8188 | 1388.4027 | 24886.1713 | 0.80377 | 0 | 37.5817 | 0.73843 | 1.6075 | Flagged Warnings: | 1265.092 | 3782.3845 | 3.2458 | 1409.8625 | 2661.9678 | 1.209 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 9:35:26 | 34526 | 34526 | 1.0006 | 1.0003 | 1.0009
55 | 10mol_FID_R2_FIN | 0.094096 | 0.013648 | 0.013107 | 0.0038021 | 102.9877 | 0.033079 | 0.028548 | 0.016701 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.094096 | 0.013648 | 0.096992 | 0.013372 | -0.11254 | 0.024628 | SupCrit | 102.9225 | 0.016701 | 1285.5587 | 0.01467 | 5023.4485 | 1285.5587 | 13670.9306 | 1.1281 | 16.1397 | 0.36548 | 2.2562 | Flagged Warnings: | 1388.4812 | 0.0079828 | 9240.2392 | 1388.4811 | 22534.3064 | 0.91431 | 0 | 29.0592 | 0.62655 | 1.8286 | Flagged Warnings: |  |  |  | 1409.8417 | 2321.9572 | 1.1944 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 9:38:51 | 34731 | 34731 | 1.0006 | 1.0004 | 1.0009
56 | 10mol_FID_R2_FIN | 0.083592 | 0.014565 | 0.01406 | 0.0038014 | 102.9612 | 0.035484 | 0.02854 | 0.021071 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.083592 | 0.014565 | 0.086461 | 0.014282 | -0.1323 | 0.026609 | SupCrit | 102.896 | 0.021071 | 1285.5785 | 0.018386 | 5218.8739 | 1285.5787 | 15691.4369 | 1.1089 | 57.324 | 0.6709 | 2.2178 | Flagged Warnings: | 1388.4747 | 0.010293 | 9340.7398 | 1388.4746 | 22941.5367 | 0.90288 | 0 | 33.0987 | 0.67498 | 1.8058 | Flagged Warnings: | 1265.1817 | 3887.8947 | 3.3037 | 1409.8409 | 2715.0781 | 1.2455 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 9:38:51 | 34731 | 34731 | 1.0006 | 1.0004 | 1.0009
57 | 10mol_FID_R3_FIN | 0.093208 | 0.014962 | 0.014471 | 0.0038018 | 102.9855 | 0.03652 | 0.028608 | 0.022686 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.093208 | 0.014962 | 0.096101 | 0.014718 | -0.11421 | 0.027192 | SupCrit | 102.9191 | 0.022686 | 1285.5317 | 0.019431 | 3442.9798 | 1285.5317 | 9386.4741 | 1.094 | 16.1769 | 0.45446 | 2.1879 | Flagged Warnings: | 1388.4508 | 0.011707 | 6534.1092 | 1388.4508 | 14916.8455 | 0.85867 | 0 | 20.1778 | 0.61838 | 1.7173 | Flagged Warnings: |  |  |  | 1409.9245 | 1378.7921 | 1.163 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 9:43:2 | 34982 | 34982 | 1.0006 | 1.0004 | 1.0009
58 | 10mol_FID_R3_FIN | 0.07844 | 0.019544 | 0.01917 | 0.0038032 | 102.9482 | 0.04838 | 0.028598 | 0.038998 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.07844 | 0.019544 | 0.081306 | 0.019325 | -0.14204 | 0.036369 | SupCrit | 102.8819 | 0.038998 | 1285.5525 | 0.035674 | 3578.2794 | 1285.5526 | 10822.1822 | 1.0719 | 63.61 | 0.76631 | 2.1438 | Flagged Warnings: | 1388.4345 | 0.015754 | 6742.4981 | 1388.4345 | 15400.8376 | 0.82677 | 0 | 24.1759 | 0.71221 | 1.6535 | Flagged Warnings: | 1264.921 | 3101.5743 | 3.1917 | 1409.9506 | 1784.5332 | 1.171 | [9 empty] | January 1, 2020 | January | 1 |  |  |  |  | 9:43:2 | 34982 | 34982 | 1.0006 | 1.0004 | 1.0009
59 | LL8_624_r3 | 0.047353 | 0.026921 | 0.026646 | 0.0038426 | 102.8698 | 0.067246 | 0.03531 | 0.057108 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.047353 | 0.026921 | 0.05031 | 0.026603 | -0.20159 | 0.051644 | SupCrit | 102.6505 | 0.057108 | 1286.4438 | 0.052828 | 1253.0167 | 1286.4438 | 2626.2171 | 0.98378 | 20.3612 | 1.3503e-07 | 1.9676 | Flagged Warnings: | 1389.0943 | 0.021691 | 1922.6244 | 1389.0943 | 4000.7125 | 0.97742 | 0 | 20.6799 | 1.0219e-08 | 1.9548 | Flagged Warnings: |  |  |  | 1410.3353 | 794.9187 | 0.78392 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:6:23 | 54383 | 54383 | 1.0021 | 1.0018 | 1.0025
60 | LL8_612_a_r1 | 0.10361 | 0.2257 | 0.22567 | 0.0038075 | 103.0117 | 0.56954 | 0.035385 | 0.56722 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.10361 | 0.2257 | 0.10655 | 0.22919 | -0.094794 | 0.41981 | SupCrit | 102.7914 | 0.56722 | 1286.6414 | 0.12628 | 426.9465 | 1286.6414 | 1110.567 | 0.90127 | 16.2788 | 0.80925 | 1.8025 | Flagged Warnings: | 1389.4328 | 0.55298 | 1110.7805 | 1389.4328 | 1537.0656 | 0.60878 | 0 | 17.1472 | 0.19665 | 1.2176 | Flagged Warnings: |  |  |  | 1410.4643 | 260.4325 | 1.154 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:7:24 | 54444 | 54444 | 1.0021 | 1.0018 | 1.0025
61 | LL8_404a_r3 | 0.081337 | 0.018594 | 0.018201 | 0.003802 | 102.9555 | 0.045935 | 0.035365 | 0.029252 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.081337 | 0.018594 | 0.084204 | 0.018375 | -0.13656 | 0.034465 | SupCrit | 102.7354 | 0.029252 | 1286.7887 | 0.028439 | 1796.4498 | 1286.7887 | 3938.7318 | 0.97391 | 9.7784 | 0.17224 | 1.9478 | Flagged Warnings: | 1389.5241 | 0.0068483 | 2701.4212 | 1389.5241 | 5884.4661 | 0.9951 | 0 | 15.2618 | 0.085196 | 1.9902 | Flagged Warnings: |  |  |  | 1410.6214 | 797.0275 | 0.76733 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:7:24 | 54444 | 54444 | 1.0021 | 1.0018 | 1.0025
62 | LL8_404a_r1 | 0.059974 | 0.017885 | 0.017472 | 0.0038207 | 102.9016 | 0.044095 | 0.035347 | 0.026307 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.059974 | 0.017885 | 0.062871 | 0.017577 | -0.17725 | 0.033597 | SupCrit | 102.6816 | 0.026307 | 1286.7444 | 0.025238 | 2405.634 | 1286.7444 | 5063.6932 | 0.9891 | 17.7551 | 6.5575e-08 | 1.9782 | Flagged Warnings: | 1389.426 | 0.0074211 | 3616.5167 | 1389.4259 | 7840.7378 | 1.0184 | 0 | 21.4018 | 8.3929e-10 | 2.0367 | Flagged Warnings: |  |  |  | 1410.6995 | 1186.6698 | 0.97097 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:7:24 | 54444 | 54444 | 1.0021 | 1.0018 | 1.0025
63 | LL8_404a_r2 | 0.059046 | 0.021776 | 0.021438 | 0.003822 | 102.8993 | 0.054104 | 0.035346 | 0.040875 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.059046 | 0.021776 | 0.061947 | 0.021496 | -0.17903 | 0.041227 | SupCrit | 102.6792 | 0.040875 | 1286.7339 | 0.037514 | 1606.0369 | 1286.7339 | 3191.9387 | 0.92898 | 22.166 | 0.0078998 | 1.858 | Flagged Warnings: | 1389.4132 | 0.016232 | 2412.9408 | 1389.4131 | 5080.6875 | 0.98904 | 0 | 24.833 | 1.0251e-09 | 1.9781 | Flagged Warnings: |  |  |  | 1410.6122 | 995.9271 | 0.82125 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:7:24 | 54444 | 54444 | 1.0021 | 1.0018 | 1.0025
64 | LL8_612_a_r2 | 0.11104 | 0.087069 | 0.086986 | 0.003815 | 103.0305 | 0.21953 | 0.035392 | 0.21619 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.11104 | 0.087069 | 0.11403 | 0.087818 | -0.080998 | 0.16094 | SupCrit | 102.8102 | 0.21619 | 1286.4967 | 0.20643 | 446.0375 | 1286.4967 | 893.6433 | 0.78035 | 18.5312 | 0.52253 | 1.5607 | Flagged Warnings: | 1389.3069 | 0.064244 | 606.6629 | 1389.3069 | 1237.9829 | 0.95853 | 0 | 18.4004 | 6.2348e-09 | 1.9171 | Flagged Warnings: |  |  |  | 1410.2565 | 304.4513 | 1.1479 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:7:25 | 54445 | 54445 | 1.0021 | 1.0018 | 1.0025
65 | LL8_612_c_r3 | 0.020405 | 0.053466 | 0.053322 | 0.0039157 | 102.8018 | 0.13457 | 0.035313 | 0.12958 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.020405 | 0.053466 | 0.02358 | 0.05286 | -0.25427 | 0.10525 | SupCrit | 102.5819 | 0.12958 | 1286.7812 | 0.10145 | 366.3344 | 1286.7812 | 754.75 | 0.96854 | 15.7662 | 1.9735e-08 | 1.9371 | Flagged Warnings: | 1389.3631 | 0.080608 | 637.5309 | 1389.3631 | 1176.3945 | 0.86674 | 0 | 18.0467 | 1.5421e-11 | 1.7335 | Flagged Warnings: |  |  |  | 1410.3034 | 403.7248 | 0.52588 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:7:25 | 54445 | 54445 | 1.0021 | 1.0018 | 1.0025
66 | LL8_612_c_r1 | 0.018388 | 0.054075 | 0.053932 | 0.0039226 | 102.7967 | 0.13611 | 0.035311 | 0.13117 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.018388 | 0.054075 | 0.021584 | 0.053449 | -0.25826 | 0.1066 | SupCrit | 102.5768 | 0.13117 | 1286.8001 | 0.12018 | 386.8736 | 1286.8001 | 837.8175 | 0.93931 | 15.9005 | 0.2349 | 1.8786 | Flagged Warnings: | 1389.377 | 0.052556 | 646.2308 | 1389.377 | 1333.567 | 0.96931 | 0 | 19.1864 | 5.3533e-06 | 1.9386 | Flagged Warnings: |  |  |  | 1410.3094 | 343.4838 | 1.2911 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:7:25 | 54445 | 54445 | 1.0021 | 1.0018 | 1.0025
67 | LL8_612_a_r3 | 0.10433 | 0.070978 | 0.070875 | 0.0038081 | 103.0135 | 0.17887 | 0.035386 | 0.17496 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.10433 | 0.070978 | 0.10727 | 0.071416 | -0.093452 | 0.13179 | SupCrit | 102.7932 | 0.17496 | 1286.477 | 0.13205 | 351.6668 | 1286.477 | 655.5449 | 0.87755 | 13.2127 | 2.0787e-08 | 1.7551 | Flagged Warnings: | 1389.2702 | 0.11477 | 616.4615 | 1389.2702 | 1074.5137 | 0.81874 | 0 | 14.3034 | 1.9866e-07 | 1.6375 | Flagged Warnings: |  |  |  | 1410.2743 | 274.7366 | 0.58823 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:7:25 | 54445 | 54445 | 1.0021 | 1.0018 | 1.0025
68 | LL8_615_r1 | 0.052409 | 0.023767 | 0.023455 | 0.0038328 | 102.8825 | 0.059195 | 0.035341 | 0.047386 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.052409 | 0.023767 | 0.055338 | 0.023466 | -0.19181 | 0.045309 | SupCrit | 102.6625 | 0.047386 | 1286.4795 | 0.041936 | 2026.1235 | 1286.4795 | 3984.8643 | 0.92412 | 24.8895 | 2.0204e-09 | 1.8482 | Flagged Warnings: | 1389.142 | 0.022063 | 3097.9998 | 1389.142 | 6534.593 | 0.95798 | 0 | 27.0125 | 0.10268 | 1.916 | Flagged Warnings: |  |  |  | 1410.4919 | 624.7027 | 1.079 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:7:25 | 54445 | 54445 | 1.0021 | 1.0018 | 1.0025
69 | LL8_612_c_r2 | 0.044248 | 0.02916 | 0.028905 | 0.0038492 | 102.8619 | 0.072948 | 0.035334 | 0.063683 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.044248 | 0.02916 | 0.047223 | 0.028825 | -0.20761 | 0.056139 | SupCrit | 102.6419 | 0.063683 | 1286.5757 | 0.05566 | 980.3647 | 1286.5757 | 1988.2645 | 0.92864 | 21.8568 | 0.072982 | 1.8573 | Flagged Warnings: | 1389.2177 | 0.030942 | 1536.4609 | 1389.2177 | 3014.9154 | 0.91815 | 0 | 19.1931 | 0.01195 | 1.8363 | Flagged Warnings: |  |  |  | 1410.3345 | 857.939 | 0.51967 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:7:25 | 54445 | 54445 | 1.0021 | 1.0018 | 1.0025
70 | LL8_615_r2 | 0.039619 | 0.020215 | 0.019843 | 0.0038599 | 102.8502 | 0.050079 | 0.03533 | 0.035416 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.039619 | 0.020215 | 0.042625 | 0.019849 | -0.21661 | 0.038691 | SupCrit | 102.6303 | 0.035416 | 1286.4294 | 0.032532 | 2445.4736 | 1286.4294 | 5078.1143 | 0.96928 | 19.579 | 0.020007 | 1.9386 | Flagged Warnings: | 1389.0597 | 0.014 | 3774.8044 | 1389.0597 | 7947.3039 | 0.93933 | 0 | 22.6064 | 0.15558 | 1.8787 | Flagged Warnings: |  |  |  | 1410.374 | 930.7193 | 0.924 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:7:25 | 54445 | 54445 | 1.0021 | 1.0018 | 1.0025
71 | LL8_615_r3 | 0.054021 | 0.018352 | 0.017948 | 0.00383 | 102.8866 | 0.045295 | 0.035342 | 0.028269 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.054021 | 0.018352 | 0.056942 | 0.018027 | -0.1887 | 0.034654 | SupCrit | 102.6666 | 0.028269 | 1286.46 | 0.025985 | 2601.075 | 1286.46 | 5570.1339 | 0.9581 | 19.1559 | 0.14522 | 1.9162 | Flagged Warnings: | 1389.1266 | 0.011132 | 3910.4558 | 1389.1265 | 8216.7172 | 0.96978 | 0 | 21.7944 | 0.05423 | 1.9396 | Flagged Warnings: |  |  |  | 1410.3082 | 1299.2432 | 0.62384 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:7:25 | 54445 | 54445 | 1.0021 | 1.0018 | 1.0025
72 | LL8_622B_R1 | 0.040467 | 0.050174 | 0.050025 | 0.0038579 | 102.8524 | 0.12625 | 0.035331 | 0.12095 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.040467 | 0.050174 | 0.043468 | 0.049754 | -0.21496 | 0.097377 | SupCrit | 102.6324 | 0.12095 | 1286.7537 | 0.10159 | 436.2736 | 1286.7537 | 784.7292 | 0.84339 | 16.3016 | 8.2389e-09 | 1.6868 | Flagged Warnings: | 1389.3861 | 0.065637 | 601.8595 | 1389.3861 | 1174.4385 | 0.91658 | 0 | 16.4591 | 2.9193e-06 | 1.8332 | Flagged Warnings: |  |  |  | 1409.9754 | 192.9302 | 1.3292 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:7:26 | 54446 | 54446 | 1.0021 | 1.0018 | 1.0025
73 | LL8_622B_R2 | 0.035663 | 0.10563 | 0.10556 | 0.00387 | 102.8403 | 0.26641 | 0.035327 | 0.2635 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.035663 | 0.10563 | 0.0387 | 0.10498 | -0.22432 | 0.20614 | SupCrit | 102.6203 | 0.2635 | 1286.9116 | 0.25437 | 363.9877 | 1286.9116 | 1146.3837 | 0.99698 | 22.3469 | 1 | 1.994 | Flagged Warnings: | 1389.5319 | 0.068734 | 530.2691 | 1389.5319 | 1112.3454 | 0.98533 | 0 | 24.4858 | 1.5422e-11 | 1.9707 | Flagged Warnings: |  |  |  | 1410.4098 | 315.3756 | 0.51023 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:7:26 | 54446 | 54446 | 1.0021 | 1.0018 | 1.0025
74 | LL8_622B_R3 | 0.057261 | 0.05494 | 0.054807 | 0.0038247 | 102.8948 | 0.13832 | 0.035345 | 0.13344 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.057261 | 0.05494 | 0.060168 | 0.05467 | -0.18247 | 0.10543 | SupCrit | 102.6747 | 0.13344 | 1286.6638 | 0.11324 | 422.6215 | 1286.6638 | 981.313 | 1.0877 | 19.0221 | 3.2733e-11 | 2.1754 | Flagged Warnings: | 1389.3385 | 0.070582 | 668.3789 | 1389.3385 | 1534.8508 | 1.0787 | 0 | 28.3515 | 3.4311e-10 | 2.1573 | Flagged Warnings: |  |  |  | 1410.4993 | 359.9535 | 0.66563 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:7:26 | 54446 | 54446 | 1.0021 | 1.0018 | 1.0025
75 | LL8_624_r2 | 0.050513 | 0.024646 | 0.024345 | 0.0038363 | 102.8777 | 0.061441 | 0.03534 | 0.050153 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.050513 | 0.024646 | 0.053452 | 0.024339 | -0.19547 | 0.047088 | SupCrit | 102.6577 | 0.050153 | 1286.3088 | 0.04845 | 1691.9253 | 1286.3088 | 3514.7528 | 0.90392 | 15.004 | 0.22436 | 1.8078 | Flagged Warnings: | 1388.9665 | 0.012958 | 2560.2347 | 1388.9665 | 5306.2308 | 0.94143 | 0 | 13.8035 | 0.10246 | 1.8829 | Flagged Warnings: |  |  |  | 1410.1989 | 999.1 | 1.0899 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:7:26 | 54446 | 54446 | 1.0021 | 1.0018 | 1.0025
76 | LL8_626_MI_r1 | 0.059983 | 0.017886 | 0.017473 | 0.0038206 | 102.9016 | 0.044096 | 0.035348 | 0.026307 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.059983 | 0.017886 | 0.06288 | 0.017578 | -0.17724 | 0.033598 | SupCrit | 102.6816 | 0.026307 | 1286.7444 | 0.025238 | 2405.634 | 1286.7444 | 5063.6932 | 0.9891 | 17.7551 | 6.5575e-08 | 1.9782 | Flagged Warnings: | 1389.426 | 0.0074211 | 3616.5167 | 1389.4259 | 7840.7378 | 1.0184 | 0 | 21.4018 | 8.3929e-10 | 2.0367 | Flagged Warnings: |  |  |  | 1410.6995 | 1186.6698 | 0.97097 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:7:26 | 54446 | 54446 | 1.0021 | 1.0018 | 1.0025
77 | LL8_626_MI_r2 | 0.040467 | 0.050174 | 0.050025 | 0.0038579 | 102.8524 | 0.12625 | 0.035331 | 0.12095 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.040467 | 0.050174 | 0.043468 | 0.049754 | -0.21496 | 0.097377 | SupCrit | 102.6324 | 0.12095 | 1286.7537 | 0.10159 | 436.2736 | 1286.7537 | 784.7292 | 0.84339 | 16.3016 | 8.2389e-09 | 1.6868 | Flagged Warnings: | 1389.3861 | 0.065637 | 601.8595 | 1389.3861 | 1174.4385 | 0.91658 | 0 | 16.4591 | 2.9193e-06 | 1.8332 | Flagged Warnings: |  |  |  | 1409.9754 | 192.9302 | 1.3292 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:7:26 | 54446 | 54446 | 1.0021 | 1.0018 | 1.0025
78 | LL8_626_MI_r3 | 0.046143 | 0.76553 | 0.76552 | 0.0038451 | 102.8667 | 1.932 | 0.035336 | 1.9275 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.046143 | 0.76553 | 0.049107 | 0.84553 | -0.20393 | 1.4839 | SupCrit | 102.6467 | 1.9275 | 1286.8528 | 0.14607 | 383.1423 | 1286.8528 | 795.4894 | 0.96692 | 22.7802 | 0.056294 | 1.9338 | Flagged Warnings: | 1389.4995 | 1.922 | 1515.2429 | 1389.4995 | 1655.4822 | 0.51329 | 0 | 22.928 | 1.1695e-09 | 1.0266 | Flagged Warnings: |  |  |  | 1410.2633 | 490.4072 | 0.79854 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:7:26 | 54446 | 54446 | 1.0021 | 1.0018 | 1.0025
79 | LL8_624_r1 | 0.060528 | 0.029328 | 0.029078 | 0.0038199 | 102.903 | 0.073384 | 0.035348 | 0.064172 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.060528 | 0.029328 | 0.063423 | 0.029083 | -0.17619 | 0.05583 | SupCrit | 102.6829 | 0.064172 | 1286.3221 | 0.062664 | 1907.9522 | 1286.3221 | 3764.8859 | 0.83205 | 13.9008 | 0.32024 | 1.6641 | Flagged Warnings: | 1389.0051 | 0.013833 | 2634.8549 | 1389.0051 | 5564.9615 | 0.95411 | 0 | 17.4702 | 0.11888 | 1.9082 | Flagged Warnings: |  |  |  | 1410.2826 | 1120.4463 | 0.62595 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:7:26 | 54446 | 54446 | 1.0021 | 1.0018 | 1.0025
80 | LL8_631_b_r3 | -0.024025 | 0 | 0 | 0 | 102.6896 | 0.11194 | 0.035275 | 0.10601 |  |  | 0 | 0 | N | Below lower calibration limit |  |  | -0.024025 | 0.044546 | -0.020266 | 0.043746 | -0.3433 | 0.090241 | SupCrit | 102.47 | 0.10601 | 1286.6907 | 0.087101 | 305.2604 | 1286.6907 | 620.8776 | 0.95578 | 14.2079 | 5.7152e-09 | 1.9116 | Flagged Warnings: | 1389.1607 | 0.060433 | 508.7012 | 1389.1607 | 1021.3943 | 0.89996 | 0 | 11.0869 | 0.14198 | 1.7999 | Flagged Warnings: |  |  |  | 1410.1672 | 241.6859 | 1.2202 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:7:27 | 54447 | 54447 | 1.0021 | 1.0018 | 1.0025
81 | LL8_631_a_r1 | 0.062298 | 0.06464 | 0.064527 | 0.0038175 | 102.9075 | 0.16285 | 0.03535 | 0.15863 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.062298 | 0.06464 | 0.065187 | 0.064425 | -0.1728 | 0.12368 | SupCrit | 102.6874 | 0.15863 | 1286.3251 | 0.1416 | 292.6465 | 1286.3251 | 595.5428 | 0.94583 | 19.4551 | 0.0082179 | 1.8917 | Flagged Warnings: | 1389.0125 | 0.071492 | 455.542 | 1389.0125 | 935.9798 | 0.96511 | 0 | 15.4487 | 1.5421e-11 | 1.9302 | Flagged Warnings: |  |  |  | 1410.1974 | 164.8813 | 0.5038 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:7:27 | 54447 | 54447 | 1.0021 | 1.0018 | 1.0025
82 | LL8_631_a_r2 | 0.0031564 | 0 | 0 | 0 | 102.7582 | 0.14749 | 0.035299 | 0.1429 |  |  | 0 | 0 | N | Below lower calibration limit |  |  | 0.0031564 | 0.058579 | 0.0065291 | 0.057794 | -0.28852 | 0.11672 | SupCrit | 102.5384 | 0.1429 | 1286.5176 | 0.1233 | 278.9449 | 1286.5176 | 889.6645 | 1.1448 | 11.5376 | 0.73347 | 2.2895 | Flagged Warnings: | 1389.056 | 0.072232 | 469.5703 | 1389.056 | 909.6801 | 0.90997 | 0 | 12.2762 | 1.4224e-12 | 1.8199 | Flagged Warnings: |  |  |  | 1410.1541 | 188.8014 | 1.1793 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:7:27 | 54447 | 54447 | 1.0021 | 1.0018 | 1.0025
83 | LL8_631_a_r3 | 0.11292 | 0.10005 | 0.099977 | 0.0038174 | 103.0352 | 0.25231 | 0.035394 | 0.24929 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.11292 | 0.10005 | 0.11593 | 0.10102 | -0.077517 | 0.18472 | SupCrit | 102.8149 | 0.24929 | 1286.3261 | 0.23711 | 389.4288 | 1286.3261 | 625.3329 | 0.75129 | 10.6967 | 4.302e-11 | 1.5026 | Flagged Warnings: | 1389.141 | 0.076965 | 506.8075 | 1389.141 | 1060.9069 | 0.89107 | 0 | 13.617 | 0.29091 | 1.7821 | Flagged Warnings: |  |  |  | 1410.2954 | 288.3717 | 0.45726 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:7:27 | 54447 | 54447 | 1.0021 | 1.0018 | 1.0025
84 | LL8_631_b_r2 | 0.062298 | 0.06464 | 0.064527 | 0.0038175 | 102.9075 | 0.16285 | 0.03535 | 0.15863 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.062298 | 0.06464 | 0.065187 | 0.064425 | -0.1728 | 0.12368 | SupCrit | 102.6874 | 0.15863 | 1286.3251 | 0.1416 | 292.6465 | 1286.3251 | 595.5428 | 0.94583 | 19.4551 | 0.0082179 | 1.8917 | Flagged Warnings: | 1389.0125 | 0.071492 | 455.542 | 1389.0125 | 935.9798 | 0.96511 | 0 | 15.4487 | 1.5421e-11 | 1.9302 | Flagged Warnings: |  |  |  | 1410.1974 | 164.8813 | 0.5038 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:7:27 | 54447 | 54447 | 1.0021 | 1.0018 | 1.0025
85 | 10mol_FID_R1 | 0.12471 | 0.022472 | 0.022142 | 0.0038362 | 103.065 | 0.05588 | 0.035424 | 0.043124 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.12471 | 0.022472 | 0.12783 | 0.022521 | -0.055837 | 0.040598 | SupCrit | 102.844 | 0.043124 | 1285.5176 | 0.015462 | 5501.7109 | 1285.5176 | 14934.8955 | 1.1163 | 21.6315 | 0.38721 | 2.2326 | Flagged Warnings: | 1388.3617 | 0.040257 | 12834.811 | 1388.3616 | 27419.1004 | 0.69305 | 0 | 61.1631 | 0.95998 | 1.3861 | Flagged Warnings: |  |  |  | 1409.8583 | 2430.1636 | 1.064 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:8:13 | 54493 | 54493 | 1.0021 | 1.0018 | 1.0025
86 | 10mol_FID_R1 | 0.11905 | 0.02469 | 0.024392 | 0.0038263 | 103.0507 | 0.061558 | 0.035419 | 0.050239 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.11905 | 0.02469 | 0.12211 | 0.024749 | -0.066223 | 0.044902 | SupCrit | 102.8298 | 0.050239 | 1285.5346 | 0.019256 | 5704.4257 | 1285.5348 | 17339.9109 | 1.1014 | 63.8641 | 0.71398 | 2.2027 | Flagged Warnings: | 1388.3646 | 0.046403 | 12770.3619 | 1388.3645 | 27683.7896 | 0.69896 | 0 | 61.0138 | 0.97318 | 1.3979 | Flagged Warnings: | 1265.4757 | 4411.3419 | 3.2851 | 1409.8235 | 2763.306 | 1.2111 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:8:13 | 54493 | 54493 | 1.0021 | 1.0018 | 1.0025
87 | 10mol_FID_R1_FIN | 0.14817 | 0.016373 | 0.015903 | 0.0038942 | 103.1242 | 0.040135 | 0.035445 | 0.018788 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.14817 | 0.016373 | 0.15164 | 0.016361 | -0.013239 | 0.028681 | SupCrit | 102.9031 | 0.018788 | 1285.5157 | 0.016263 | 5417.912 | 1285.5157 | 14466.791 | 1.1004 | 14.8383 | 0.38259 | 2.2008 | Flagged Warnings: | 1388.4189 | 0.0094086 | 10684.6491 | 1388.4188 | 24144.6637 | 0.83839 | 0 | 27.1797 | 0.65219 | 1.6768 | Flagged Warnings: |  |  |  | 1409.8702 | 2057.7352 | 1.1231 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:8:13 | 54493 | 54493 | 1.0021 | 1.0018 | 1.0025
88 | 10mol_FID_R1_FIN | 0.13679 | 0.016831 | 0.016382 | 0.0038627 | 103.0955 | 0.041344 | 0.035435 | 0.021254 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.13679 | 0.016831 | 0.14007 | 0.016792 | -0.033809 | 0.029795 | SupCrit | 102.8745 | 0.021254 | 1285.5281 | 0.014402 | 5550.4703 | 1285.5283 | 15962.1584 | 1.0888 | 46.6111 | 0.60596 | 2.1775 | Flagged Warnings: | 1388.4028 | 0.01563 | 11083.8188 | 1388.4027 | 24886.1713 | 0.80377 | 0 | 37.5817 | 0.73843 | 1.6075 | Flagged Warnings: | 1265.092 | 3782.3845 | 3.2458 | 1409.8625 | 2661.9678 | 1.209 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:8:13 | 54493 | 54493 | 1.0021 | 1.0018 | 1.0025
89 | 10mol_FID_R2 | 0.1399 | 0.016425 | 0.015962 | 0.0038707 | 103.1033 | 0.040283 | 0.035437 | 0.019115 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.1399 | 0.016425 | 0.14323 | 0.016383 | -0.028173 | 0.028966 | SupCrit | 102.8823 | 0.019115 | 1285.6095 | 0.016564 | 4726.994 | 1285.6095 | 12514.9236 | 1.0714 | 20.0567 | 0.43172 | 2.1429 | Flagged Warnings: | 1388.4919 | 0.0095393 | 8605.2979 | 1388.4918 | 21410.0827 | 0.91885 | 0 | 32.6786 | 0.66353 | 1.8377 | Flagged Warnings: |  |  |  | 1409.8486 | 1904.6019 | 1.0201 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:8:13 | 54493 | 54493 | 1.0021 | 1.0018 | 1.0025
90 | 10mol_FID_R2 | 0.12877 | 0.016865 | 0.016421 | 0.0038443 | 103.0752 | 0.041442 | 0.035428 | 0.021455 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.12877 | 0.016865 | 0.13194 | 0.016795 | -0.048417 | 0.030044 | SupCrit | 102.8542 | 0.021455 | 1285.6301 | 0.017303 | 4908.7705 | 1285.6302 | 14006.8426 | 1.0452 | 43.5289 | 0.6866 | 2.0904 | Flagged Warnings: | 1388.4845 | 0.012686 | 8714.9085 | 1388.4844 | 21840.6842 | 0.90548 | 0 | 38.2282 | 0.71653 | 1.811 | Flagged Warnings: | 1265.213 | 3109.3935 | 3.1084 | 1409.8065 | 2224.4742 | 1.1785 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:8:13 | 54493 | 54493 | 1.0021 | 1.0018 | 1.0025
91 | 10mol_FIE_R1_FIN | 0.1603 | 0.016184 | 0.015699 | 0.0039346 | 103.1548 | 0.039619 | 0.035455 | 0.017643 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.1603 | 0.016184 | 0.164 | 0.016211 | 0.0084875 | 0.028055 | SupCrit | 102.9337 | 0.017643 | 1285.7241 | 0.015424 | 4697.1127 | 1285.7241 | 12386.4494 | 1.1356 | 21.4839 | 0.26017 | 2.2713 | Flagged Warnings: | 1388.6578 | 0.0085643 | 8425.2403 | 1388.6578 | 21166.8783 | 0.94594 | 0 | 36.7345 | 0.61593 | 1.8919 | Flagged Warnings: |  |  |  | 1410.0246 | 2134.6447 | 1.081 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:8:14 | 54494 | 54494 | 1.0021 | 1.0018 | 1.0025
92 | 10mol_FIE_R1 | 0.13402 | 0.02613 | 0.025844 | 0.003856 | 103.0885 | 0.065224 | 0.035433 | 0.054642 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.13402 | 0.02613 | 0.13726 | 0.026313 | -0.038852 | 0.047045 | SupCrit | 102.8675 | 0.054642 | 1285.4577 | 0.016498 | 4517.8855 | 1285.4577 | 11968.8493 | 1.0702 | 17.763 | 0.43592 | 2.1404 | Flagged Warnings: | 1388.3253 | 0.052092 | 11962.4148 | 1388.3252 | 22732.3625 | 0.60876 | 0 | 51.8831 | 0.98683 | 1.2175 | Flagged Warnings: |  |  |  | 1409.8179 | 2107.5218 | 1.1798 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:8:14 | 54494 | 54494 | 1.0021 | 1.0018 | 1.0025
93 | 10mol_FIE_R1 | 0.13128 | 0.030034 | 0.029786 | 0.0038497 | 103.0816 | 0.075172 | 0.03543 | 0.066157 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.13128 | 0.030034 | 0.13448 | 0.030274 | -0.04384 | 0.054321 | SupCrit | 102.8606 | 0.066157 | 1285.4725 | 0.025637 | 4677.8934 | 1285.4727 | 14067.0211 | 1.0506 | 67.2569 | 0.79979 | 2.1011 | Flagged Warnings: | 1388.3333 | 0.060987 | 11467.9764 | 1388.3333 | 22828.4077 | 0.63681 | 0 | 55.1863 | 0.98993 | 1.2736 | Flagged Warnings: | 1265.3841 | 4074.1999 | 3.1289 | 1409.7823 | 2551.9204 | 1.3895 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:8:14 | 54494 | 54494 | 1.0021 | 1.0018 | 1.0025
94 | 10mol_FID_R3 | 0.16134 | 0.025585 | 0.02528 | 0.0039383 | 103.1574 | 0.063801 | 0.035456 | 0.052928 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.16134 | 0.025585 | 0.16506 | 0.025943 | 0.010329 | 0.04508 | SupCrit | 102.9363 | 0.052928 | 1285.5506 | 0.049172 | 2731.3905 | 1285.5507 | 8297.014 | 1.0649 | 62.3724 | 0.79167 | 2.1297 | Flagged Warnings: | 1388.487 | 0.019581 | 5018.9216 | 1388.487 | 11956.6337 | 0.86319 | 0 | 27.4223 | 0.70986 | 1.7264 | Flagged Warnings: | 1264.6875 | 2416.4606 | 3.175 | 1409.774 | 1377.1244 | 1.3638 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:8:14 | 54494 | 54494 | 1.0021 | 1.0018 | 1.0025
95 | 10mol_FIE_R1_FIN | 0.14995 | 0.016219 | 0.015743 | 0.0038997 | 103.1287 | 0.03973 | 0.035446 | 0.017907 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.14995 | 0.016219 | 0.15345 | 0.016208 | -0.01004 | 0.028355 | SupCrit | 102.9076 | 0.017907 | 1285.7465 | 0.014156 | 4950.3445 | 1285.7467 | 14084.9919 | 1.0958 | 42.7729 | 0.56287 | 2.1917 | Flagged Warnings: | 1388.6543 | 0.010966 | 8463.1486 | 1388.6543 | 21564.613 | 0.93944 | 0 | 41.0967 | 0.66787 | 1.8789 | Flagged Warnings: | 1265.4941 | 3422.246 | 3.2422 | 1410.0074 | 2509.9195 | 1.1843 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:8:14 | 54494 | 54494 | 1.0021 | 1.0018 | 1.0025
96 | 10mol_FIE_R2 | 0.17499 | 0.017443 | 0.017281 | 0.0023725 | 103.1819 | 0.042554 | 0.035465 | 0.023467 |  |  | 0 | 0 | Y | SupCrit, Med density |  |  | 0.17104 | 0.017324 | 0.17499 | 0.017443 | 0.027558 | 0.029877 | SupCrit | 102.9607 | 0.023467 | 1285.8239 | 0.019739 | 1844.8472 | 1285.8239 | 5346.8982 | 1.1903 | 15.8584 | 0.39137 | 2.3806 | Flagged Warnings: | 1388.7846 | 0.012691 | 3106.0132 | 1388.7846 | 9143.5164 | 1.0809 | 0 | 22.0691 | 0.67767 | 2.1618 | Flagged Warnings: |  |  |  | 1410.1387 | 878.5934 | 1.2543 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:8:14 | 54494 | 54494 | 1.0021 | 1.0018 | 1.0025
97 | 10mol_FIE_R2 | 0.16353 | 0.01878 | 0.018361 | 0.0039465 | 103.163 | 0.046337 | 0.035458 | 0.029766 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.16353 | 0.01878 | 0.1673 | 0.018924 | 0.014236 | 0.032711 | SupCrit | 102.9418 | 0.029766 | 1285.8408 | 0.025149 | 1944.0014 | 1285.8409 | 5940.4888 | 1.145 | 26.9866 | 0.63274 | 2.29 | Flagged Warnings: | 1388.7828 | 0.015923 | 3123.4562 | 1388.7827 | 9440.1783 | 1.0784 | 0 | 24.5919 | 0.74661 | 2.1568 | Flagged Warnings: | 1265.8873 | 1543.164 | 3.3627 | 1410.1329 | 1172.4276 | 1.4029 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:8:14 | 54494 | 54494 | 1.0021 | 1.0018 | 1.0025
98 | 10mol_FIE_R3 | 0.1064 | 0.026579 | 0.026304 | 0.00381 | 103.0188 | 0.066384 | 0.035409 | 0.056032 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.1064 | 0.026579 | 0.10936 | 0.026589 | -0.089596 | 0.048869 | SupCrit | 102.7979 | 0.056032 | 1285.9612 | 0.026333 | 941.6668 | 1285.9612 | 2649.2339 | 1.1176 | 20.5266 | 0.48168 | 2.2352 | Flagged Warnings: | 1388.7592 | 0.049459 | 1531.6329 | 1388.7591 | 5634.2999 | 1.1712 | 0 | 36.5114 | 1 | 2.3425 | Flagged Warnings: |  |  |  | 1410.1733 | 462.7069 | 1.1694 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:8:14 | 54494 | 54494 | 1.0021 | 1.0018 | 1.0025
99 | 10mol_FIE_R2_FIN | 0.12921 | 0.017983 | 0.017567 | 0.0038452 | 103.0763 | 0.044335 | 0.035428 | 0.026596 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.12921 | 0.017983 | 0.13238 | 0.017947 | -0.047614 | 0.032123 | SupCrit | 102.8553 | 0.026596 | 1285.6344 | 0.020063 | 5649.9954 | 1285.6346 | 16532.0355 | 1.0721 | 64.8629 | 0.68679 | 2.1442 | Flagged Warnings: | 1388.49 | 0.01746 | 10339.5506 | 1388.4899 | 24790.0398 | 0.83957 | 0 | 45.2961 | 0.79009 | 1.6791 | Flagged Warnings: | 1265.3794 | 4325.9221 | 3.1873 | 1409.9054 | 2839.0976 | 1.1993 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:8:14 | 54494 | 54494 | 1.0021 | 1.0018 | 1.0025
100 | 10mol_FID_R3_FIN | 0.13973 | 0.021259 | 0.020904 | 0.0038702 | 103.1029 | 0.052756 | 0.035438 | 0.038998 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.13973 | 0.021259 | 0.14305 | 0.021361 | -0.028478 | 0.037906 | SupCrit | 102.8819 | 0.038998 | 1285.5525 | 0.035674 | 3578.2794 | 1285.5526 | 10822.1822 | 1.0719 | 63.61 | 0.76631 | 2.1438 | Flagged Warnings: | 1388.4345 | 0.015754 | 6742.4981 | 1388.4345 | 15400.8376 | 0.82677 | 0 | 24.1759 | 0.71221 | 1.6535 | Flagged Warnings: | 1264.921 | 3101.5743 | 3.1917 | 1409.9506 | 1784.5332 | 1.171 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:8:14 | 54494 | 54494 | 1.0021 | 1.0018 | 1.0025
101 | 10mol_FID_R3 | 0.1827 | 0.018385 | 0.018232 | 0.0023706 | 103.2009 | 0.04479 | 0.035471 | 0.027289 |  |  | 0 | 0 | Y | SupCrit, Med density |  |  | 0.17855 | 0.018195 | 0.1827 | 0.018385 | 0.0408 | 0.03126 | SupCrit | 102.9796 | 0.027289 | 1285.5282 | 0.022768 | 2610.886 | 1285.5282 | 6963.0167 | 1.0887 | 21.6602 | 0.40562 | 2.1774 | Flagged Warnings: | 1388.5078 | 0.015044 | 4847.52 | 1388.5078 | 11361.9865 | 0.90042 | 0 | 25.1395 | 0.56509 | 1.8008 | Flagged Warnings: |  |  |  | 1409.7805 | 803.0548 | 1.2856 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:8:14 | 54494 | 54494 | 1.0021 | 1.0018 | 1.0025
102 | 10mol_FID_R2_FIN | 0.14533 | 0.016803 | 0.016347 | 0.0038857 | 103.117 | 0.041256 | 0.035442 | 0.021071 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.14533 | 0.016803 | 0.14875 | 0.016796 | -0.018353 | 0.029542 | SupCrit | 102.896 | 0.021071 | 1285.5785 | 0.018386 | 5218.8739 | 1285.5787 | 15691.4369 | 1.1089 | 57.324 | 0.6709 | 2.2178 | Flagged Warnings: | 1388.4747 | 0.010293 | 9340.7398 | 1388.4746 | 22941.5367 | 0.90288 | 0 | 33.0987 | 0.67498 | 1.8058 | Flagged Warnings: | 1265.1817 | 3887.8947 | 3.3037 | 1409.8409 | 2715.0781 | 1.2455 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:8:14 | 54494 | 54494 | 1.0021 | 1.0018 | 1.0025
103 | 10mol_FID_R2_FIN | 0.15586 | 0.016021 | 0.015534 | 0.003919 | 103.1436 | 0.039204 | 0.035452 | 0.016701 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.15586 | 0.016021 | 0.15946 | 0.016024 | 0.00054483 | 0.027856 | SupCrit | 102.9225 | 0.016701 | 1285.5587 | 0.01467 | 5023.4485 | 1285.5587 | 13670.9306 | 1.1281 | 16.1397 | 0.36548 | 2.2562 | Flagged Warnings: | 1388.4812 | 0.0079828 | 9240.2392 | 1388.4811 | 22534.3064 | 0.91431 | 0 | 29.0592 | 0.62655 | 1.8286 | Flagged Warnings: |  |  |  | 1409.8417 | 2321.9572 | 1.1944 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:8:14 | 54494 | 54494 | 1.0021 | 1.0018 | 1.0025
104 | 10mol_FIE_R2_FIN | 0.14287 | 0.016673 | 0.016216 | 0.0038787 | 103.1108 | 0.040924 | 0.03544 | 0.02042 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.14287 | 0.016673 | 0.14624 | 0.016652 | -0.022803 | 0.029359 | SupCrit | 102.8898 | 0.02042 | 1285.6092 | 0.015646 | 5381.1059 | 1285.6092 | 14231.3162 | 1.1027 | 23.2829 | 0.35058 | 2.2053 | Flagged Warnings: | 1388.499 | 0.013122 | 10184.4653 | 1388.499 | 24361.5088 | 0.85718 | 0 | 42.9356 | 0.73595 | 1.7144 | Flagged Warnings: |  |  |  | 1409.9253 | 2449.6136 | 1.1003 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:8:14 | 54494 | 54494 | 1.0021 | 1.0018 | 1.0025
105 | 10mol_FID_R3_FIN | 0.15452 | 0.01714 | 0.016687 | 0.0039145 | 103.1402 | 0.042114 | 0.03545 | 0.022686 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.15452 | 0.01714 | 0.1581 | 0.017182 | -0.001841 | 0.029945 | SupCrit | 102.9191 | 0.022686 | 1285.5317 | 0.019431 | 3442.9798 | 1285.5317 | 9386.4741 | 1.094 | 16.1769 | 0.45446 | 2.1879 | Flagged Warnings: | 1388.4508 | 0.011707 | 6534.1092 | 1388.4508 | 14916.8455 | 0.85867 | 0 | 20.1778 | 0.61838 | 1.7173 | Flagged Warnings: |  |  |  | 1409.9245 | 1378.7921 | 1.163 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:8:14 | 54494 | 54494 | 1.0021 | 1.0018 | 1.0025
106 | 4mol_FID_R1 | 0.14499 | 0.017323 | 0.016882 | 0.0038847 | 103.1162 | 0.042606 | 0.035443 | 0.023594 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.14499 | 0.017323 | 0.1484 | 0.017333 | -0.018973 | 0.030512 | SupCrit | 102.8951 | 0.023594 | 1286.3471 | 0.021573 | 3436.2852 | 1286.3471 | 8539.9691 | 0.97574 | 18.1002 | 0.5076 | 1.9515 | Flagged Warnings: | 1389.2422 | 0.0095542 | 5250.1342 | 1389.2422 | 12917.1074 | 1.0512 | 0 | 23.9266 | 0.28074 | 2.1024 | Flagged Warnings: |  |  |  | 1410.4223 | 1317.7141 | 0.7223 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:8:15 | 54495 | 54495 | 1.0021 | 1.0018 | 1.0025
107 | 10mol_FIE_R3_FIN | 0.14442 | 0.016738 | 0.016282 | 0.0038831 | 103.1147 | 0.04109 | 0.035442 | 0.020747 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.14442 | 0.016738 | 0.14781 | 0.016725 | -0.020011 | 0.029444 | SupCrit | 102.8936 | 0.020747 | 1285.6837 | 0.016231 | 3675.2722 | 1285.6837 | 10115.4625 | 1.1641 | 19.53 | 0.31035 | 2.3283 | Flagged Warnings: | 1388.5774 | 0.012922 | 6506.3583 | 1388.5773 | 17148.6619 | 0.94165 | 0 | 36.3145 | 0.74321 | 1.8833 | Flagged Warnings: |  |  |  | 1410.0038 | 1928.6147 | 1.1129 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:8:15 | 54495 | 54495 | 1.0021 | 1.0018 | 1.0025
108 | 10mol_FIE_R3_FIN | 0.13227 | 0.017611 | 0.017184 | 0.0038519 | 103.0841 | 0.043369 | 0.035432 | 0.024955 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.13227 | 0.017611 | 0.13549 | 0.017577 | -0.042027 | 0.031354 | SupCrit | 102.8631 | 0.024955 | 1285.7078 | 0.019117 | 3874.7172 | 1285.7079 | 11695.2435 | 1.1293 | 45.8357 | 0.63637 | 2.2585 | Flagged Warnings: | 1388.571 | 0.016041 | 6558.271 | 1388.571 | 17479.6418 | 0.93112 | 0 | 37.6411 | 0.79569 | 1.8622 | Flagged Warnings: | 1265.3067 | 3179.701 | 3.3481 | 1409.9603 | 2236.3025 | 1.3036 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:8:15 | 54495 | 54495 | 1.0021 | 1.0018 | 1.0025
109 | 1mol_FIA_R1 | 0.086077 | 0.021909 | 0.021577 | 0.003801 | 102.9675 | 0.054453 | 0.035392 | 0.041295 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.086077 | 0.021909 | 0.088951 | 0.021752 | -0.12761 | 0.040698 | SupCrit | 102.7467 | 0.041295 | 1286.3236 | 0.039219 | 2523.0592 | 1286.3236 | 5393.655 | 0.86158 | 15.551 | 0.43831 | 1.7232 | Flagged Warnings: | 1389.0703 | 0.012928 | 3534.8696 | 1389.0703 | 7337.4711 | 0.97501 | 0 | 25.0392 | 5.5441e-06 | 1.95 | Flagged Warnings: |  |  |  | 1410.3241 | 1150.0692 | 0.41114 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:8:15 | 54495 | 54495 | 1.0021 | 1.0018 | 1.0025
110 | 1mol_FIA_R2 | 0.063831 | 0.01721 | 0.016781 | 0.0038156 | 102.9113 | 0.042351 | 0.035372 | 0.023241 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.063831 | 0.01721 | 0.066716 | 0.016908 | -0.16986 | 0.032185 | SupCrit | 102.6907 | 0.023241 | 1286.4844 | 0.01934 | 2137.3803 | 1286.4844 | 4842.9941 | 0.98269 | 14.2828 | 0.23592 | 1.9654 | Flagged Warnings: | 1389.1751 | 0.012887 | 3308.0208 | 1389.1751 | 7471.8945 | 1.0166 | 0 | 21.222 | 0.12976 | 2.0332 | Flagged Warnings: |  |  |  | 1410.4031 | 703.8053 | 1.5228 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:8:15 | 54495 | 54495 | 1.0021 | 1.0018 | 1.0025
111 | 1mol_FIA_R3 | 0.07951 | 0.018727 | 0.018337 | 0.0038027 | 102.9509 | 0.046277 | 0.035386 | 0.029759 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.07951 | 0.018727 | 0.082376 | 0.018503 | -0.14001 | 0.034766 | SupCrit | 102.7302 | 0.029759 | 1286.5448 | 0.025607 | 1935.5001 | 1286.5448 | 4672.3799 | 1.0169 | 19.2873 | 0.31835 | 2.0337 | Flagged Warnings: | 1389.2751 | 0.015162 | 2920.297 | 1389.275 | 6481.5274 | 1.0373 | 0 | 23.0781 | 0.015847 | 2.0745 | Flagged Warnings: |  |  |  | 1410.3903 | 5394.6808 | 0.051634 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:8:15 | 54495 | 54495 | 1.0021 | 1.0018 | 1.0025
112 | 1mol_FIB_R1 | 0.081477 | 0.0169 | 0.016467 | 0.003802 | 102.9559 | 0.041558 | 0.035388 | 0.021743 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.081477 | 0.0169 | 0.084345 | 0.016656 | -0.13629 | 0.031188 | SupCrit | 102.7351 | 0.021743 | 1285.1499 | 0.018988 | 2027.9545 | 1285.1499 | 5115.2792 | 1.0575 | 12.4564 | 0.33382 | 2.1149 | Flagged Warnings: | 1387.8851 | 0.010592 | 3029.7973 | 1387.8851 | 7321.0256 | 1.1351 | 0 | 18.5985 | 1.5053e-10 | 2.2701 | Flagged Warnings: |  |  |  | 1408.9712 | 5056.9412 | 0.056944 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:8:15 | 54495 | 54495 | 1.0021 | 1.0018 | 1.0025
113 | 1mol_FIB_R2 | 0.12327 | 0.09345 | 0.093372 | 0.0038335 | 103.0614 | 0.23564 | 0.035424 | 0.23247 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.12327 | 0.09345 | 0.12638 | 0.094575 | -0.05847 | 0.1712 | SupCrit | 102.8404 | 0.23247 | 1286.06 | 0.23172 | 45487.6592 | 1286.06 | 29431.4111 | 0.282 | 19.823 | 0.22392 | 0.564 | Flagged Warnings: | 1388.9005 | 0.018605 | 3538.4986 | 1388.9004 | 7780.7474 | 0.9416 | 0 | 28.5472 | 0.27426 | 1.8832 | Flagged Warnings: |  |  |  | 1410.2575 | 7811.6711 | 0.25051 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:8:15 | 54495 | 54495 | 1.0021 | 1.0018 | 1.0025
114 | 1mol_FIB_R3 | 0.090067 | 0.033628 | 0.033413 | 0.0038011 | 102.9776 | 0.084324 | 0.035395 | 0.076372 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.090067 | 0.033628 | 0.09295 | 0.033598 | -0.1201 | 0.0628 | SupCrit | 102.7568 | 0.076372 | 1286.3058 | 0.071755 | 1225.7354 | 1286.3058 | 2754.3918 | 0.86049 | 20.6651 | 0.56933 | 1.721 | Flagged Warnings: | 1389.0625 | 0.026152 | 1763.9373 | 1389.0625 | 3699.349 | 0.95509 | 0 | 19.1076 | 0.094494 | 1.9102 | Flagged Warnings: |  |  |  | 1410.6068 | 415.0287 | 1.2928 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:8:15 | 54495 | 54495 | 1.0021 | 1.0018 | 1.0025
115 | 4mol_FID_R3 | 0.14019 | 0.017211 | 0.01677 | 0.0038714 | 103.104 | 0.042322 | 0.035439 | 0.023085 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.14019 | 0.017211 | 0.14352 | 0.017197 | -0.027655 | 0.030419 | SupCrit | 102.883 | 0.023085 | 1286.3338 | 0.021691 | 3966.3661 | 1286.3338 | 9983.9742 | 0.9811 | 17.428 | 0.52876 | 1.9622 | Flagged Warnings: | 1389.2169 | 0.0079032 | 6122.618 | 1389.2168 | 15321.2686 | 1.054 | 0 | 26.1767 | 0.32086 | 2.1079 | Flagged Warnings: |  |  |  | 1410.3935 | 1621.4419 | 0.52208 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:8:16 | 54496 | 54496 | 1.0021 | 1.0018 | 1.0025
116 | 4mol_FID_R2 | 0.13211 | 0.018014 | 0.017598 | 0.0038515 | 103.0837 | 0.044411 | 0.035432 | 0.026719 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.13211 | 0.018014 | 0.13532 | 0.017991 | -0.042326 | 0.032109 | SupCrit | 102.8626 | 0.026719 | 1286.2327 | 0.026078 | 7053.0229 | 1286.2327 | 15731.6118 | 0.86682 | 16.8031 | 0.53627 | 1.7336 | Flagged Warnings: | 1389.0954 | 0.0058178 | 9920.8742 | 1389.0953 | 23441.7312 | 0.99653 | 0 | 28.802 | 0.31711 | 1.9931 | Flagged Warnings: |  |  |  | 1410.3693 | 2464.8462 | 0.54146 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:8:16 | 54496 | 54496 | 1.0021 | 1.0018 | 1.0025
117 | LL8_631_b_r1 | 0.0055627 | 0.079171 | 0.079072 | 0.0039707 | 102.7643 | 0.19956 | 0.035323 | 0.19598 |  |  | 0 | 0 | Y | SupCrit, low density |  |  | 0.0055627 | 0.079171 | 0.0089055 | 0.078229 | -0.28372 | 0.15766 | SupCrit | 102.5439 | 0.19598 | 1286.596 | 0.18258 | 299.3514 | 1286.596 | 531.8684 | 0.81294 | 14.3881 | 0.078117 | 1.6259 | Flagged Warnings: | 1389.1399 | 0.071236 | 443.165 | 1389.1399 | 997.9447 | 1.0577 | 0 | 16.6206 | 1.5421e-11 | 2.1155 | Flagged Warnings: |  |  |  | 1410.2825 | 215.1768 | 0.53029 | [9 empty] | July 17, 2023 | July | 17 |  |  |  |  | 15:8:17 | 54497 | 54497 | 1.0021 | 1.0018 | 1.0025