## Sheet1
| Unnamed: 0 | Corrected_Splitting | filename_x | Splitting | Diad1_Combofit_Cent | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | name_for_matching | filename_y | date | Month | Day | power (mW) | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Spectral Center | Ne_Correction | filename | Peak_Cent_SO2 | Peak_Area_SO2 | Peak_Height_SO2 | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb
0 | 0 | 102.8352 | K21-59-FI#1 | 103.0573 | 1286.0361 | 590.1835 | 1286.0361 | 599.3386 | 0.43521 | 4.0749 | 0.27286 | 0.87042 | Flagged Warnings: | 1389.0934 | 968.206 | 1389.0934 | 903.7485 | 0.39553 |  | 3.7434 | 0.30606 | 0.79106 | Flagged Warnings: | [15 empty] | K21-59-FI#1 | K21-59-FI#1.txt | October 28, 2022 | October | 28 |  | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:09:55 PM | 43795 | 1325.004 | 0.99785 | K21-59-FI#1.txt | 1151.1607 | 57.0335 | 26.5403
1 | 0 | 102.7879 | K21-59-FI#2 | 103.0107 | 1286.1575 | 227.289 | 1286.1575 | 200.2668 | 0.4097 | 3.2811 | 0.021952 | 0.8194 | Flagged Warnings: | 1389.1682 | 374.1385 | 1389.1682 | 344.0599 | 0.38815 |  | 3.6227 | 0.31896 | 0.77631 | Flagged Warnings: | [15 empty] | K21-59-FI#2 | K21-59-FI#2.txt | October 28, 2022 | October | 28 |  | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:19:53 PM | 44393 | 1325.004 | 0.99784
2 | 0 | 102.8224 | K21-59-FI#3 | 103.0462 | 1286.0742 | 570.0105 | 1286.0742 | 580.8978 | 0.4224 | 3.5854 | 0.36386 | 0.84479 | Flagged Warnings: | 1389.1204 | 888.6858 | 1389.1204 | 839.6198 | 0.39963 |  | 3.9225 | 0.31026 | 0.79926 | Flagged Warnings: | [15 empty] | K21-59-FI#3 | K21-59-FI#3.txt | October 28, 2022 | October | 28 |  | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:32:26 PM | 45146 | 1325.004 | 0.99783
3 | 0 | 103.0852 | K21-61-FI#1-rep1 | 103.3105 | 1285.4316 | 65.4838 | 1285.4316 | 81.303 | 0.57474 | 3.1099 | 2.9271e-08 | 1.1495 | Flagged Warnings: | 1388.7421 | 129.4475 | 1388.7421 | 167.5651 | 0.47906 |  | 2.391 | 0.66591 | 0.95812 | Flagged Warnings: | [15 empty] | K21-61-FI#1-rep1 | K21-61-FI#1-rep1.txt | October 28, 2022 | October | 28 |  | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:45:44 PM | 45944 | 1325.004 | 0.99782
4 | 0 | 103.0789 | K21-61-FI#1-rep2 | 103.3046 | 1285.4358 | 607.6887 | 1285.4358 | 895.5133 | 0.56832 | 3.5712 | 0.55539 | 1.1366 | Flagged Warnings: | 1388.7404 | 1147.7468 | 1388.7404 | 1426.2057 | 0.48109 |  | 4.0561 | 0.54869 | 0.96218 | Flagged Warnings: | [15 empty] | K21-61-FI#1-rep2 | K21-61-FI#1-rep2.txt | October 28, 2022 | October | 28 |  | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:50:47 PM | 46247 | 1325.004 | 0.99782 | K21-61-FI#1-rep2.txt |  |  |  | 1090.8897 | 868.2546 | 43.0351
5 | 0 | 103.1108 | K21-63-FI#1 | 103.3411 | 1285.3107 | 125.4461 | 1285.3107 | 210.388 | 0.63169 | 1.7158 | 0.61838 | 1.2634 | Flagged Warnings: | 1388.6518 | 235.7509 | 1388.6518 | 317.8537 | 0.53134 |  | 1.7677 | 0.50552 | 1.0627 | Flagged Warnings: | [15 empty] | K21-63-FI#1 | K21-63-FI#1.txt | October 28, 2022 | October | 28 |  | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:18:52 PM | 51532 | 1325.004 | 0.99777 | K21-63-FI#1.txt | 1150.5918 | 81.8654 | 56.15
6 | 0 | 103.0701 | K21-64-FI#2 | 103.301 | 1285.4076 | 520.819 | 1285.4076 | 814.8056 | 0.56238 | 3.5982 | 0.73237 | 1.1248 | Flagged Warnings: | 1388.7086 | 938.3906 | 1388.7086 | 1219.1098 | 0.50756 |  | 3.6743 | 0.52503 | 1.0151 | Flagged Warnings: | [15 empty] | K21-64-FI#2 | K21-64-FI#2.txt | October 28, 2022 | October | 28 |  | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:41:12 PM | 52872 | 1325.004 | 0.99776 | K21-64-FI#2.txt | 1150.6428 | 374.1557 | 235.8833
7 | 0 | 103.071 | K21-64-FI#6 | 103.3028 | 1285.3627 | 743.631 | 1285.3627 | 1183.6711 | 0.59187 | 4.1963 | 0.64693 | 1.1837 | Flagged Warnings: | 1388.6655 | 1382.7841 | 1388.6655 | 1815.6634 | 0.51477 |  | 4.9402 | 0.51629 | 1.0295 | Flagged Warnings: | [15 empty] | K21-64-FI#6 | K21-64-FI#6.txt | October 28, 2022 | October | 28 |  | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:55:53 PM | 60953 | 1325.004 | 0.99776 | K21-64-FI#6.txt | 1150.5926 | 656.5916 | 404.7334
8 | 0 | 103.0573 | K21-64-FI#8 | 103.2889 | 1285.3929 | 158.7003 | 1285.3929 | 249.4113 | 0.61987 | 1.4401 | 0.50067 | 1.2397 | Flagged Warnings: | 1388.6817 | 296.1307 | 1388.6817 | 390.8443 | 0.51447 |  | 1.9341 | 0.53161 | 1.0289 | Flagged Warnings: | [15 empty] | K21-64-FI#8 | K21-64-FI#8.txt | October 28, 2022 | October | 28 |  | 45 | 5 | 50 | ['0h', '3m', '46s'] | 5:05:53 PM | 61553 | 1325.004 | 0.99776 | K21-64-FI#8.txt | 1150.5967 | 119.2157 | 74.245
9 | 0 | 103.0728 | K21-61-FI#2 | 103.2995 | 1285.47 | 988.9448 | 1285.4701 | 1433.1068 | 0.55266 | 2.9183 | 0.58349 | 1.1053 | Flagged Warnings: | 1388.7696 | 1857.1373 | 1388.7696 | 2265.3205 | 0.48289 |  | 2.3782 | 0.49347 | 0.96578 | Flagged Warnings: | 1265.2024 | 102.3324 | 0.8018 | 1410.1184 | 256.9461 | 0.61087 | 1370.6551 | 32.3868 | 0.23939 | 1381.561 | 143.519 | 11.9696 |  |  |  | K21-61-FI#2 | K21-61-FI#2.txt | October 28, 2022 | October | 28 |  | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:08:21 PM | 47301 | 1325.004 | 0.9978
10 | 0 | 103.1055 | K21-61-FI#3 | 103.3335 | 1285.4092 | 815.5836 | 1285.4093 | 1225.3301 | 0.55697 | 2.3399 | 0.65399 | 1.1139 | Flagged Warnings: | 1388.7427 | 1533.6108 | 1388.7428 | 1935.8214 | 0.49311 |  | 2.7623 | 0.52752 | 0.98622 | Flagged Warnings: | 1265.2418 | 101.2478 | 0.7463 | 1410.0778 | 231.2942 | 0.71227 | 1370.3887 | 22.0784 | 0.24517 | 1381.561 | 111.417 | 12.2597 |  |  |  | K21-61-FI#3 | K21-61-FI#3.txt | October 28, 2022 | October | 28 |  | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:27:18 PM | 48438 | 1325.004 | 0.99779
11 | 0 | 103.0757 | K21-64-FI#1 | 103.3066 | 1285.4016 | 894.5773 | 1285.4017 | 1408.0364 | 0.58731 | 2.7303 | 0.638 | 1.1746 | Flagged Warnings: | 1388.7082 | 1645.3911 | 1388.7083 | 2139.7446 | 0.50495 |  | 2.5013 | 0.54277 | 1.0099 | Flagged Warnings: | 1265.1179 | 118.4871 | 0.89509 | 1410.0303 | 247.6027 | 0.6508 | 1370.3261 | 31.2616 | 0.25174 | 1381.561 | 114.2439 | 12.5875 |  |  |  | K21-64-FI#1 | K21-64-FI#1.txt | October 28, 2022 | October | 28 |  | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:37:00 PM | 52620 | 1325.004 | 0.99777 | K21-64-FI#1.txt | 1150.6515 | 690.3475 | 437.8
12 | 0 | 103.0694 | K21-64-FI#3 | 103.3007 | 1285.381 | 1350.1033 | 1285.381 | 2155.0657 | 0.58619 | 2.6061 | 0.67709 | 1.1724 | Flagged Warnings: | 1388.6816 | 2473.3053 | 1388.6817 | 3252.6606 | 0.51368 |  | 3.3755 | 0.52942 | 1.0274 | Flagged Warnings: | 1265.1417 | 225.1329 | 0.7535 | 1410.0245 | 374.4881 | 0.6536 | 1370.309 | 45.5133 | 0.25627 | 1381.561 | 239.7899 | 12.8143 |  |  |  | K21-64-FI#3 | K21-64-FI#3.txt | October 28, 2022 | October | 28 |  | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:52:14 PM | 53534 | 1325.004 | 0.99776 | K21-64-FI#3.txt | 1150.614 | 1181.4421 | 738.9198
13 | 0 | 103.0213 | K21-64-FI#4 | 103.2526 | 1285.587 | 858.6197 | 1285.587 | 1179.5102 | 0.53105 | 1.9972 | 0.54932 | 1.0621 | Flagged Warnings: | 1388.8396 | 1543.7045 | 1388.8396 | 1808.1388 | 0.46264 |  | 2.2481 | 0.49757 | 0.92529 | Flagged Warnings: | 1265.3366 | 128.6823 | 0.71513 | 1410.1444 | 210.0502 | 0.60799 | 1371.9111 | 4.559 | 0.022895 | 1382.0918 | 77.8714 | 11.4428 |  |  |  | K21-64-FI#4 | K21-64-FI#4.txt | October 28, 2022 | October | 28 |  | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:57:30 PM | 53850 | 1325.004 | 0.99776
14 | 0 | 103.0737 | K21-64-FI#5 | 103.3056 | 1285.3738 | 997.8835 | 1285.3738 | 1565.9065 | 0.59087 | 3.1782 | 0.61556 | 1.1817 | Flagged Warnings: | 1388.6794 | 1878.2329 | 1388.6795 | 2457.1984 | 0.51331 |  | 2.8087 | 0.51956 | 1.0266 | Flagged Warnings: | 1265.1098 | 140.1017 | 0.85031 | 1410.0113 | 292.2293 | 0.67182 | 1370.3244 | 31.6366 | 0.25597 | 1382.3095 | 222.7662 | 12.8017 |  |  |  | K21-64-FI#5 | K21-64-FI#5.txt | October 28, 2022 | October | 28 |  | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:51:01 PM | 60661 | 1325.004 | 0.99776 | K21-64-FI#5.txt | 1150.6097 | 840.5412 | 506.8394
15 | 0 | 103.0757 | K21-64-FI#7 | 103.3075 | 1285.3416 | 1184.5676 | 1285.3417 | 1945.2584 | 0.605 | 2.9828 | 0.66938 | 1.21 | Flagged Warnings: | 1388.6491 | 2189.3156 | 1388.6492 | 2893.3801 | 0.51158 |  | 3.1593 | 0.55165 | 1.0232 | Flagged Warnings: | 1265.1011 | 219.4737 | 0.86141 | 1410.01 | 346.2165 | 0.6713 | 1370.283 | 40.9742 | 0.25554 | 1381.561 | 184.1111 | 12.7776 |  |  |  | K21-64-FI#7 | K21-64-FI#7.txt | October 28, 2022 | October | 28 |  | 45 | 5 | 50 | ['0h', '3m', '46s'] | 5:00:34 PM | 61234 | 1325.004 | 0.99776 | K21-64-FI#7.txt | 1150.5714 | 1175.369 | 735.4809