## Sheet1
| filename | filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Split_err_abs | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | name_for_matching | Name_for_Secondary_Phases | filename_y | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_SO2 | Peak_Area_SO2 | Peak_Height_SO2 | Model_name | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Carb_Diad_Ratio | SO2_Diad_Ratio | time | preferred_values | lower_values | upper_values
0 | K21-59-FI#1_CRR_DiadFit | K21-59-FI#1.txt | 0.033914 | 0.0041954 | 0.0016089 | 0.0038746 | 102.8358 | 0.0040605 | 0.0005711 | 0.0040288 | 12.078 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.033914 | 0.0041954 | 0.036965 | 0.0028968 | -0.22774 | 0.0037182 | SupCrit | 103.0579 | 0.0040288 | 0.0054245 | 1286.0354 | 0.0035838 | 591.7924 | 1286.0354 | 605.4474 | 0.43426 | 2.9472 | 0.29886 | 0.86853 | Flagged Warnings: | 1389.0934 | 0.0018407 | 968.2271 | 1389.0934 | 909.0395 | 0.3953 | 0 | 2.4899 | 0.32159 | 0.79059 | Flagged Warnings: | 1265.6499 | 45.8887 | 0.4814 | 1410.3936 | 102.2167 | 0.43884 | [9 empty] | K21-59-FI#1 | K21-59-FI#1 | K21-59-FI#1.txt | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:09:55 PM | 43795 | 1151.271 | 49.7943 | 26.9971 | Spline |  |  |  |  | 0.032879 | 43795 | 0.99785 | 0.99784 | 0.99785
1 | K21-59-FI#2 |  | 0.015169 | 0.0060729 | 0.0046265 | 0.003934 | 102.7885 | 0.011676 | 0.00056501 | 0.011688 | 12.068 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.015169 | 0.0060729 | 0.018399 | 0.0051787 | -0.26463 | 0.0093789 | SupCrit | 103.0113 | 0.011688 | 0.016082 | 1286.1575 | 0.0099496 | 227.6553 | 1286.1575 | 198.5744 | 0.40972 | 3.2174 | 4.2267e-09 | 0.81944 | Flagged Warnings: | 1389.1689 | 0.0061325 | 374.5294 | 1389.1688 | 348.0072 | 0.38728 | 0 | 2.9583 | 0.34956 | 0.77457 | Flagged Warnings: | 1265.8358 | 170.5306 | 0.020487 | 1410.5074 | 57.0214 | 0.30201 | [9 empty] | K21-59-FI#2 | K21-59-FI#2 | K21-59-FI#2.txt | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:19:53 PM | 44393 | [9 empty] | 44393 | 0.99784 | 0.99783 | 0.99784
2 | K21-59-FI#3 |  | 0.028598 | 0.0041913 | 0.0015611 | 0.0038898 | 102.8224 | 0.0039397 | 0.00055847 | 0.0039084 | 12.064 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.028598 | 0.0041913 | 0.031694 | 0.002872 | -0.23815 | 0.0036515 | SupCrit | 103.0462 | 0.0039084 | 0.005329 | 1286.0742 | 0.0033983 | 570.2332 | 1286.0743 | 580.8993 | 0.42249 | 2.8813 | 0.36319 | 0.84497 | Flagged Warnings: | 1389.1205 | 0.0019307 | 888.7282 | 1389.1205 | 842.5951 | 0.39952 | 0 | 2.6339 | 0.31921 | 0.79904 | Flagged Warnings: | 1265.7165 | 50.3568 | 0.46828 | 1410.4667 | 103.4723 | 0.43561 | [9 empty] | K21-59-FI#3 | K21-59-FI#3 | K21-59-FI#3.txt | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:32:26 PM | 45146 | [9 empty] | 45146 | 0.99783 | 0.99782 | 0.99783
3 | K21-61-FI#1-rep1_CRR_DiadFit |  | 0.13341 | 0.013223 | 0.012649 | 0.0038545 | 103.0869 | 0.031922 | 0.00055353 | 0.031987 | 12.046 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13341 | 0.013223 | 0.13664 | 0.013041 | -0.039961 | 0.023095 | SupCrit | 103.3123 | 0.031987 | 0.042104 | 1285.4312 | 0.029323 | 66.2263 | 1285.4312 | 80.4267 | 0.57044 | 3.3021 | 5.5181e-10 | 1.1409 | Flagged Warnings: | 1388.7435 | 0.012781 | 130.2877 | 1388.7434 | 171.0788 | 0.47512 | 0 | 2.2677 | 0.71268 | 0.95023 | Flagged Warnings: | 1265.5923 | 0.89392 | 0.057626 | 1410.1393 | 19.9097 | 0.47951 | [9 empty] | K21-61-FI#1-rep1 | K21-61-FI#1-rep1 | K21-61-FI#1-rep1.txt | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 12:45:44 PM | 45944 | [9 empty] | 45944 | 0.99782 | 0.99781 | 0.99782
4 | K21-61-FI#1-rep2_CRR_DiadFit | K21-61-FI#1-rep2.txt | 0.13042 | 0.0040398 | 0.0012305 | 0.0038478 | 103.0794 | 0.0031053 | 0.00055129 | 0.0030627 | 12.03 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13042 | 0.0040398 | 0.13361 | 0.0026896 | -0.045406 | 0.0029392 | SupCrit | 103.305 | 0.0030627 | 0.004135 | 1285.4358 | 0.0027121 | 607.6474 | 1285.4358 | 895.5046 | 0.56859 | 2.7636 | 0.5542 | 1.1372 | Flagged Warnings: | 1388.7409 | 0.0014229 | 1150.21 | 1388.7408 | 1438.1169 | 0.47987 | 0 | 2.5715 | 0.5676 | 0.95974 | Flagged Warnings: | 1265.2859 | 71.6176 | 0.67464 | 1410.0804 | 164.6047 | 0.57821 | [9 empty] | K21-61-FI#1-rep2 | K21-61-FI#1-rep2 | K21-61-FI#1-rep2.txt | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:50:47 PM | 46247 |  |  |  |  | 1090.9197 | 900.8253 | 43.7345 | 0.38602 |  | 46247 | 0.99782 | 0.99781 | 0.99782
8 | K21-61-FI#2 |  | 0.12812 | 0.0039394 | 0.00086651 | 0.0038429 | 103.0736 | 0.0021868 | 0.00054453 | 0.0021226 | 12.039 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12812 | 0.0039394 | 0.13128 | 0.0025403 | -0.049602 | 0.0024732 | SupCrit | 103.3004 | 0.0021226 | 0.0028159 | 1285.4698 | 0.001928 | 990.7461 | 1285.4698 | 1441.0053 | 0.552 | 2.8944 | 0.59578 | 1.104 | Flagged Warnings: | 1388.7702 | 0.00088795 | 1864.9896 | 1388.7702 | 2295.8286 | 0.48007 | 0 | 2.7903 | 0.52683 | 0.96013 | Flagged Warnings: | 1265.2017 | 111.9498 | 0.78949 | 1410.1177 | 255.5744 | 0.60835 | 1370.6584 | 35.1332 | 0.23965 | [6 empty] | K21-61-FI#2 | K21-61-FI#2 | K21-61-FI#2.txt | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:08:21 PM | 47301 | [9 empty] | 47301 | 0.9978 | 0.9978 | 0.99781
9 | K21-61-FI#3 |  | 0.141 | 0.003985 | 0.00093575 | 0.0038736 | 103.1061 | 0.0023616 | 0.00053913 | 0.0023043 | 12.052 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.141 | 0.003985 | 0.14434 | 0.0025631 | -0.026186 | 0.0025371 | SupCrit | 103.334 | 0.0023043 | 0.003163 | 1285.409 | 0.0019736 | 818.1811 | 1285.4091 | 1234.184 | 0.55533 | 2.3638 | 0.67106 | 1.1107 | Flagged Warnings: | 1388.7432 | 0.0011893 | 1535.0861 | 1388.7431 | 1950.3942 | 0.49204 | 0 | 2.7015 | 0.54476 | 0.98408 | Flagged Warnings: | 1265.2428 | 111.5723 | 0.75643 | 1410.0774 | 223.3542 | 0.68758 | 1370.6116 | 26.0322 | 0.24572 | [6 empty] | K21-61-FI#3 | K21-61-FI#3 | K21-61-FI#3.txt | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:27:18 PM | 48438 | [9 empty] | 48438 | 0.99779 | 0.99779 | 0.9978
5 | K21-63-FI#1 | K21-63-FI#1.txt | 0.14289 | 0.0056811 | 0.0041509 | 0.0038788 | 103.1109 | 0.010476 | 0.00053324 | 0.010486 | 12.043 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14289 | 0.0056811 | 0.14626 | 0.0048436 | -0.022764 | 0.0077337 | SupCrit | 103.3412 | 0.010486 | 0.014104 | 1285.311 | 0.0093419 | 125.7603 | 1285.311 | 212.8682 | 0.63039 | 1.5961 | 0.6427 | 1.2608 | Flagged Warnings: | 1388.6523 | 0.0047619 | 235.989 | 1388.6522 | 322.1909 | 0.53111 | 0 | 1.4198 | 0.53332 | 1.0622 | Flagged Warnings: | 1265.214 | 19.9967 | 0.47543 | 1409.8332 | 45.5152 | 0.79306 | [9 empty] | K21-63-FI#1 | K21-63-FI#1 | K21-63-FI#1.txt | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:18:52 PM | 51532 | 1150.6516 | 74.0998 | 53.0388 | Spline |  |  |  |  | 0.13849 | 51532 | 0.99777 | 0.99777 | 0.99778
10 | K21-64-FI#1 | K21-64-FI#1.txt | 0.12909 | 0.0039965 | 0.0010901 | 0.003845 | 103.0761 | 0.0027512 | 0.00053426 | 0.0027049 | 12.041 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12909 | 0.0039965 | 0.13227 | 0.002627 | -0.047821 | 0.002751 | SupCrit | 103.3069 | 0.0027049 | 0.0036413 | 1285.4016 | 0.0024067 | 894.4253 | 1285.4017 | 1407.4798 | 0.58739 | 3.185 | 0.63707 | 1.1748 | Flagged Warnings: | 1388.7086 | 0.0012346 | 1646.2738 | 1388.7086 | 2156.2758 | 0.50434 | 0 | 2.5392 | 0.55934 | 1.0087 | Flagged Warnings: | 1265.1179 | 116.7731 | 0.89772 | 1410.0299 | 240.4895 | 0.65108 | 1370.3144 | 34.7182 | 0.25197 | [6 empty] | K21-64-FI#1 | K21-64-FI#1 | K21-64-FI#1.txt | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:37:00 PM | 52620 | 1150.6811 | 623.9834 | 433.1186 | Spline |  |  |  |  | 0.17509 | 52620 | 0.99777 | 0.99776 | 0.99777
6 | K21-64-FI#2 | K21-64-FI#2.txt | 0.12684 | 0.0041359 | 0.0015354 | 0.0038403 | 103.0704 | 0.003875 | 0.00053476 | 0.0038465 | 12.044 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12684 | 0.0041359 | 0.12999 | 0.002846 | -0.051931 | 0.0033909 | SupCrit | 103.3014 | 0.0038465 | 0.0051538 | 1285.4075 | 0.0034473 | 520.4204 | 1285.4076 | 816.5249 | 0.56221 | 2.5736 | 0.73595 | 1.1244 | Flagged Warnings: | 1388.709 | 0.0017065 | 939.3891 | 1388.709 | 1227.5746 | 0.50705 | 0 | 2.3085 | 0.5398 | 1.0141 | Flagged Warnings: | 1265.1976 | 87.5956 | 0.83062 | 1410.037 | 134.6098 | 0.6462 | [9 empty] | K21-64-FI#2 | K21-64-FI#2 | K21-64-FI#2.txt | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:41:12 PM | 52872 | 1150.6811 | 342.3364 | 232.5738 | Spline |  |  |  |  | 0.16748 | 52872 | 0.99776 | 0.99776 | 0.99777
11 | K21-64-FI#3 | K21-64-FI#3.txt | 0.1266 | 0.00393 | 0.0008371 | 0.0038399 | 103.0698 | 0.0021126 | 0.00053655 | 0.0020479 | 12.051 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1266 | 0.00393 | 0.12974 | 0.0025305 | -0.052377 | 0.0024412 | SupCrit | 103.301 | 0.0020479 | 0.0028224 | 1285.3809 | 0.001736 | 1351.5577 | 1285.381 | 2160.4279 | 0.58561 | 3.1109 | 0.68293 | 1.1712 | Flagged Warnings: | 1388.6821 | 0.0010865 | 2473.7582 | 1388.682 | 3286.5071 | 0.51323 | 0 | 3.3197 | 0.55106 | 1.0265 | Flagged Warnings: | 1265.1405 | 230.63 | 0.77228 | 1410.0237 | 359.9611 | 0.65284 | 1370.301 | 50.7626 | 0.25646 | [6 empty] | K21-64-FI#3 | K21-64-FI#3 | K21-64-FI#3.txt | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:52:14 PM | 53534 | 1150.6516 | 1075.7331 | 718.8957 | Spline |  |  |  |  | 0.19749 | 53534 | 0.99776 | 0.99776 | 0.99777
12 | K21-64-FI#4 |  | 0.10733 | 0.0039015 | 0.00083558 | 0.0038109 | 103.0211 | 0.0021088 | 0.00053738 | 0.0020437 | 12.06 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10733 | 0.0039015 | 0.1103 | 0.0025343 | -0.087869 | 0.0024659 | SupCrit | 103.2524 | 0.0020437 | 0.0026651 | 1285.587 | 0.0018918 | 858.2545 | 1285.5871 | 1177.0048 | 0.53105 | 2.1735 | 0.54495 | 1.0621 | Flagged Warnings: | 1388.8395 | 0.00077334 | 1547.8881 | 1388.8395 | 1820.1331 | 0.46059 | 0 | 2.0489 | 0.51542 | 0.92118 | Flagged Warnings: | 1265.3366 | 125.0321 | 0.71671 | 1410.1454 | 203.1237 | 0.60804 | 1370.3684 | 19.1042 | 0.22979 | [6 empty] | K21-64-FI#4 | K21-64-FI#4 | K21-64-FI#4.txt | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 2:57:30 PM | 53850 | [9 empty] | 53850 | 0.99776 | 0.99775 | 0.99777
13 | K21-64-FI#5 | K21-64-FI#5.txt | 0.12832 | 0.0039852 | 0.0010538 | 0.0038433 | 103.0741 | 0.0026594 | 0.00059285 | 0.0025983 | 12.072 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12832 | 0.0039852 | 0.13149 | 0.0026118 | -0.049233 | 0.0027046 | SupCrit | 103.306 | 0.0025983 | 0.0034862 | 1285.3738 | 0.0023238 | 1000.3757 | 1285.3738 | 1575.1373 | 0.58949 | 3.1759 | 0.62979 | 1.179 | Flagged Warnings: | 1388.6799 | 0.0011625 | 1878.0683 | 1388.6799 | 2486.9568 | 0.51284 | 0 | 2.8573 | 0.54466 | 1.0257 | Flagged Warnings: | 1265.1124 | 151.2958 | 0.83206 | 1410.0092 | 275.7138 | 0.67297 | 1370.609 | 32.0986 | 0.25627 | [6 empty] | K21-64-FI#5 | K21-64-FI#5 | K21-64-FI#5.txt | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:51:01 PM | 60661 | 1150.6516 | 764.7156 | 491.4817 | Spline |  |  |  |  | 0.18826 | 60661 | 0.99776 | 0.99775 | 0.99776
14 | K21-64-FI#6 | K21-64-FI#6.txt | 0.12722 | 0.004029 | 0.0012162 | 0.0038411 | 103.0713 | 0.0030693 | 0.00059642 | 0.0030176 | 12.071 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12722 | 0.004029 | 0.13037 | 0.0026833 | -0.051245 | 0.0029252 | SupCrit | 103.3032 | 0.0030176 | 0.0040946 | 1285.3626 | 0.0026486 | 742.5474 | 1285.3627 | 1180.2741 | 0.59289 | 2.7684 | 0.63881 | 1.1858 | Flagged Warnings: | 1388.6659 | 0.0014459 | 1383.7429 | 1388.6658 | 1829.1286 | 0.51459 | 0 | 2.6193 | 0.53135 | 1.0292 | Flagged Warnings: | 1265.0391 | 82.8948 | 0.74739 | 1410.0034 | 199.365 | 0.70526 | 1371.2249 | 14.8433 | 0.25717 | [6 empty] | K21-64-FI#6 | K21-64-FI#6 | K21-64-FI#6.txt | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:55:53 PM | 60953 | 1150.6516 | 596.5268 | 388.5547 | Spline |  |  |  |  | 0.19822 | 60953 | 0.99776 | 0.99775 | 0.99776
15 | K21-64-FI#7 | K21-64-FI#7.txt | 0.12914 | 0.0039755 | 0.00101 | 0.0038451 | 103.0762 | 0.0025489 | 0.00059999 | 0.0024828 | 12.067 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12914 | 0.0039755 | 0.13231 | 0.0025939 | -0.04774 | 0.002647 | SupCrit | 103.3079 | 0.0024828 | 0.0034512 | 1285.3415 | 0.0020487 | 1181.5747 | 1285.3415 | 1933.0451 | 0.60632 | 3.2916 | 0.65484 | 1.2126 | Flagged Warnings: | 1388.6495 | 0.0014025 | 2189.9025 | 1388.6495 | 2925.2452 | 0.51139 | 0 | 3.9872 | 0.57402 | 1.0228 | Flagged Warnings: | 1265.1043 | 207.7504 | 0.81415 | 1410.0098 | 342.7071 | 0.66501 | [9 empty] | K21-64-FI#7 | K21-64-FI#7 | K21-64-FI#7.txt | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 5:00:34 PM | 61234 | 1150.6221 | 1072.472 | 694.9994 | Spline |  |  |  |  | 0.22075 | 61234 | 0.99776 | 0.99775 | 0.99776
7 | K21-64-FI#8 | K21-64-FI#8.txt | 0.12179 | 0.0050015 | 0.0032155 | 0.0038309 | 103.0576 | 0.0081151 | 0.000604 | 0.0081108 | 12.058 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12179 | 0.0050015 | 0.12488 | 0.0040313 | -0.061197 | 0.006202 | SupCrit | 103.2892 | 0.0081108 | 0.010972 | 1285.3928 | 0.0071584 | 158.7535 | 1285.3928 | 250.5834 | 0.61933 | 1.2653 | 0.51096 | 1.2387 | Flagged Warnings: | 1388.6821 | 0.0038134 | 296.3997 | 1388.682 | 394.1666 | 0.51413 | 0 | 1.5516 | 0.54908 | 1.0283 | Flagged Warnings: | 1265.2632 | 16.7845 | 0.5719 | 1410.0536 | 45.7084 | 0.66486 | [9 empty] | K21-64-FI#8 | K21-64-FI#8 | K21-64-FI#8.txt | October 28, 2022 | October | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 5:05:53 PM | 61553 | 1150.6221 | 108.2799 | 71.5227 | Spline |  |  |  |  | 0.16794 | 61553 | 0.99776 | 0.99775 | 0.99776